LONDON BOROUGH OF HACKNEY

Invitation to Tender (ITT)

Framework Agreement for the

Provision of Professional Services Property Related Consultancy – Framework 2

Lot 12 prototype

Structural and Civil Engineering

V4 16th March 2018

Any queries relating to this tender should be submitted via the

ProContract e-procurement system under reference DN- - 331234

Table of Contents

1.1	Purpose of Tender Exercise	3

Overview - Introduction to Hackney	4

Structure of the Council and the Employing Directorates	4

The Project	5

General Tendering information	7

Communications	7

Issued Documents	8

Preparation of Tender	9

Tender response	9

Further questions	10

Conflicts of Interest	10

Disqualification	11

Indicative Timeline for Framework Agreement Award	11

Contract award/ Acceptance of tender	12

Standstill Period	12

TENDER EVALUATION	13

Evaluation Process	13

Evaluation Criteria	14

Quality Evaluation	14

Clarification	15

Total Scores	15

THE FRAMEWORK AGREEMENT	15

The Framework Agreement	15

SPECIFICATION	16

TENDER SUBMISSION	16

Tender Response	16

Appendix 2	19

2.	SPECIFICATION Service requirement	20

3.	Schedule of Services	22

4.	Other Specialist Services and Surveys	31

ATTACHED APPENDICES

APPENDIX 1 – FORM OF TENDER

APPENDIX 2 – TENDERING AND NON-COLLUSIVE CERTIFICATE

APPENDIX 3– SPECIFICATION

APPENDIX 4 – METHOD STATEMENT DESCRIPTIONS

APPENDIX 5 – BID BACK FINANCIAL APPENDIX

APPENDIX 6 –FRAMEWORK AGREEMENT TERMS AND CONDITIONS – BASED ON THE JCT SERVICES CONTRACT (REFERENCE)

- INTRODUCTION

## Purpose of Tender Exercise

The London Borough of Hackney is seeking to establish a Framework Agreement (Framework 2) to procure the services of experienced providers to undertake property related consultancy services in a number of lots. This ITT concerns Lot 11, multi- disciplinary building surveying led services.

It is intended to appoint 5 firms to this Lot.

The Framework Agreement will commence on 30th October 2018 and will be for a period of 4 years

Overview - Introduction to Hackney

The London Borough of Hackney (LBH), which incorporates Hackney Homes and Hackney Learning Trust, is an Inner London borough situated to the east of the capital. The London Boroughs of Tower Hamlets, Newham, Waltham Forest, Haringey and Islington border it.

Hackney stretches from Liverpool Street in the south to Stamford Hill in the north and from the River Lea in the east to Finsbury Park in the west. The London Borough of Hackney comprises the areas of Hackney, Shoreditch and Stoke Newington. These were originally separate municipal boroughs but were amalgamated in 1964 to form the London Borough of Hackney. The borough has a diverse population of mixed culture who continuously expect high quality services from the Council and its Contractors. It is also physically and socio-economically diverse, encompassing quiet residential areas with large densely populated housing estates, busy congested commercial areas and a number of bustling street markets.

Figure 1 – Map of Hackney Borough

## Structure of the Council and the Employing Directorates

## The Council is split into four directorates which provide a range of municipal services.  The directorates are:

- Chief Executive’s Directorate

- Neighbourhoods and Housing

- Children, Adults and Community Health

- Finance and Corporate Resources

The employing directorate on the Council side is Finance and Corporate Resources. This Framework Agreement will be managed by Strategic Property Services.

## The Project

The London Borough of Hackney is seeking to work in partnership with experienced Suppliers to undertake consultancy in the field of Multi-Disciplinary Building Surveying-led Services. Bidders for this tender will have qualified through a supplier qualification process (please refer to the separate Supplier Qualification Form)

The scope of the procurement exercise requires the successful Tenderer(s) to:

- Make sure Hackney Council is high performing and efficient

- Ensure best price and best value practice is achieved for Hackney

- Provide a safe, reliable and efficient service for Hackney

- Show an innovative partnering approach to working with Hackney Council.

Proposed Commercial Relationship

The Framework Agreement will be awarded by the London Borough of Hackney and managed by a dedicated Framework Management resource, based in the Corporate Procurement Section.

The Authorising department will have its own client manager for their portfolio of contracted services. The eventual Contractor(s) will provide a dedicated account manager who will be accountable for all outputs, outcomes and quality assurance.

The success of the collaborative relationship between Hackney Council and the contractor will be based on regular assessment of service delivery and performance across the contracted service(s).

Scope of this Tender

The Suppliers appointed to this Lot will provide the following services to Hackney Council:

| Reference | Lot Title | Scope |
| --- | --- | --- |
| Lot 12 | Structural and Civil Engineering | Structural and civil engineering design and analysis in construction, maintenance and repairs of the physical works (structures, temporary works, Building components, elements, roads, bridges, canals, dams, etc.) |

Figure 1

Hackney Council will seek to award the Framework Agreement on the basis of the best combinations that represent best value for money to the council. Offers on the basis of individual lots will be initially considered. These will then be compared with the offers submitted for multiple lots by Tenderers bidding for more than one lot and Hackney Council will make the decision to award the Framework Agreement to the Tendered(s) that offer the best value for money solutions(s) to the council.

Hackney Council spends in the region of £ X M per annum. Below is the estimated forecast spend for the next 4 years:

## Estimated value of commissions on this lot:

|  | 2018 | 2019 | 2020 | 2021 | TOTAL |
| --- | --- | --- | --- | --- | --- |
| Education Property (and mixed use) |  |  |  |  |  |
| Regeneration |  |  |  |  |  |
| Strategic Property Services |  |  |  |  |  |

Figure 2

Hackney Council intend to appoint 5 suppliers to this lot. All of the Contractors appointed will have demonstrated that they are committed to delivering high quality commercial and professional advice and assisting the Council to make efficiencies.

Whilst it is the Hackney Council intentions to purchase the majority of its external professional services through the Framework Agreement, this does not confer any exclusivity on the appointed organisations and Hackney Council give no undertaking that they will purchase the whole or any of their requirement for such services through this arrangement.

The Council’s requirements would be generally awarded to firms on the Framework Agreement through mini competitions.

In the interest of efficiency and company transactional costs, some of the mini competitions, will be consolidated into 6 months’ work packages.

- CONDITIONS FOR TENDERING

## General Tendering information

This procurement exercise will be operated using the Council’s new e-tendering portal ProContract. All documentation is located under reference DN 331234 and responses should be submitted in line with the requirements in this ITT and the instructions set out on Pro-Contract.

These instructions are designed to ensure that all Tenderers are given equal and fair consideration. It is important therefore that you provide all information asked for in the format and order specified on ProContract. If you have any doubt as to what is required or will have difficulty in providing the information requested, please submit a question via the messaging function of ProContract.

Please note that reference to the Council in this Invitation to Tender document and others issued along with it, means the Mayor and Burgesses of the London Borough of Hackney acting through his representative.

Whilst the information contained in this ITT is believed to be correct at the time of issue neither the Council, nor its advisors, will accept any liability for its accuracy, adequacy or completeness nor will any express or implied warranty be given. This exclusion extends to liability in relation to any statement, opinion or conclusion contained in or any omission from this ITT (including its appendices) and in respect of any other written or oral communication transmitted (or otherwise available) to any Tenderer. This exclusion does not extend to any fraudulent misrepresentation made by or on behalf of the Council. This exclusion does not extend to any fraudulent misrepresentation made by or on behalf of the Council.

The Council will not be liable for any bid costs, expenditure, work or effort incurred by the Tenderer in proceeding with or participating in this procurement, including if the procurement process is terminated or amended by the Council. The Tenderer is responsible for independently checking and satisfying himself/herself of the accuracy of the information provided in this tender.

This Invitation to Tender does not constitute an offer and the Council does not undertake to accept any tender.  The Council reserves the right to accept a Tender in part, rather than in full.

Tenders shall be submitted in accordance with these instructions.

Tenders that do not comply with any mandatory requirement (i.e. where the words “shall” or “must” are used) will be rejected.

## Communications

All formal communications (including, but not limited to, clarifications and the submission of Tenders) to the Council are to be made in writing using the Council’s e-tendering system Pro/Contract.

It is the Tenderer’s responsibility to ensure any oral queries or clarifications they generate are confirmed in writing through ProContract.  In the event of any misunderstandings reliance on oral communications will not be permissible.

No representation, explanation or statement made to the Tenderer or anyone else by or on behalf, or purportedly on behalf, of the Council as to the meaning of the Tender documents, or otherwise in explanation as aforesaid, shall be binding on the Council in the exercise of its obligations under a subsequently awarded contract.

## Issued Documents

Apart from the formal Framework Agreement between the Council and the successful Contractor(s), arising from the Council’s written acceptance of tender, the following documents referred to in these instructions as the incorporated documents forming the contract will comprise:

- This Invitation to Tender;

II.	The Form of Tender to be completed by the Tenderer;

III.	Non-collusive tendering certificate to be signed by the Tenderer;

IV.	The Terms and conditions;

V.	The Specification;

VI.	The Bid Back Financial Appendix

VII.	The Bid Back Method Statements

The Supplier Qualification document will be published with the above, but returned earlier.

Confidential Nature of Tender Documentation

Documentation in relation to this Invitation to Tender and any Tenders received by the Council in response to it shall be treated as private and confidential save where disclosure is required by law.

Other than with professional advisers or sub-contractors that need to be consulted with regards to the preparation of the Tender, Tenderers shall not:

- Disclose that they have been Invited to Tender;

- Disclose the contents of this ITT or the Tender they intend to make;

- Release any information relating to the ITT and/or the Tender that they intend to make;

- Devise or amend the content of their Tender in accordance with any agreement or arrangement with any other organisation and/or person, other than in good faith with an organisation and/or person who is a proposed partner, supplier, consortium member or provider of finance;

- Enter into any agreement or arrangement with any other organisation and/or person, other than in good faith with an organisation and/or person who is a proposed partner, supplier, consortium member, or provider of finance;

- Enter into any agreement or arrangement with any other organisation and/or person that has the effect of prohibiting or excluding that person from submitting a Tender;

#### Canvass directly or indirectly with any other Tenderer, Member or Officer of the Council (including its consultants and contractors) in relation to this procurement.

#### Attempt to obtain information from any of the employees or agents of the Council or their advisors concerning another Tenderer or Tender.

#### Pass the ITT documents to any other organisation.

Tenderers shall not canvass for the acceptance of their Tender with any other Supplier, Member of the Council or Officer of the Council.

The Council will consider only bona fide bids, which do not refer to any other bid.  It shall be entitled to disqualify any application where collusive bidding is suspected.

If a Tenderer does not observe paragraphs 2.6.1 – 2.6.4 below, the Council will reject their tender and may decide not to invite the Tenderer to tender for future work.

Details of other submissions will not be published or made available to Tenderers except as may be required by law.

## Preparation of Tender

No alteration or addition shall be made by Tenderers to any part of the Invitation to Tender except where expressly allowed.

Tenders shall not be subject to any pre-condition or otherwise qualified or accompanied by statements which might be construed as rendering the Tender equivocal.  Only unconditional Tenders will be considered.  The Council’s decision as to whether or not a Tender is in an acceptable form will be final.

A fully compliant Tender must be submitted.

Tenderers must obtain for themselves at their own responsibility and expense all information necessary for the preparation of their Tender.  Information supplied to Tenderers by the Council’s staff or contained in the Council’s publications is supplied only for general guidance in the preparation of the Tender and no warranty is given.  It is strongly recommended to Tenderers that they satisfy themselves by their own investigations as to the accuracy of such information and no responsibility is accepted by the Council for any loss or damage of whatever kind or howsoever caused arising from the use by Tenderers of such information.

Tenderers must satisfy themselves prior to submission of the Tender that any certificates demanded in the Specifications with regard to the quality and standards of the performance of the Services are appropriate in relation to those Services.

Tenders and supporting documents shall be in English and any Agreement subsequently entered into and its formation, interpretation and performance shall be subject to and in accordance with the law of England and Wales.

## Tender response

All Tenderers are requested to follow the formats set out in the issued method statements and Bid Back Financial Appendix when preparing their responses.  Please be clear and unambiguous in all narrative responses. Tenderers should ensure that responses for each criterion are tailored for each lot particularly if they are bidding for more than one Lot.

All Tenders must be submitted via the Pro Contract e-tendering system. Bids submitted through any other means (email or post) will NOT be accepted.

Tenderers should download the all ‘Tender Documentations’ from ProContract and complete the required sections. The completed document and required attachments should then be uploaded on to ProContract via the ‘Attach Document’ function

Please note bidders applying to join more than one lot should upload their specific tender for each lot to the tender box for that lot.

In order to evaluate the Tender all required information must be provided.  If any of the required documents are not submitted with any tender, the Council reserves the right to reject such tender.

All Tenders shall be submitted before 5th July 2018 at Noon

### It is the Tenderer’s responsibility to ensure that their Tender arrives in accordance with the instructions above. Subject to the following paragraph, if it appears to the Council that there is an error in the Tender (including the Tender Response Documents) the Tenderer will be invited to confirm their Tender or withdraw it within a time specified by the Council. Unless stated elsewhere in the issued documents, details of other submissions will not be published or made available to Tenderers except as may be required by law.

## Further questions

If a Tenderer is in doubt as to the interpretation of any part of the Invitation to Tender or if they consider that any of its requirements are ambiguous or conflict with any other requirements, they should contact the Council via the Council’s Tender portal https://procontract.due-north.com.

Tenderers will have the opportunity to ask further questions until 25th June 2018. The Council will use their best endeavours to respond as a matter of assistance to the Tenderer but it shall not be construed to add to, modify or take away from the meaning and intent of the proposed contract and/or the obligations and liabilities of the Tenderer.

Where an enquiry is beneficial to all Tenderers, both an anonymised copy of the clarification question and the response will be communicated to all Tenderers. If a Tenderer wishes the Council to treat a clarification as confidential and not issue a response to all Tenderers it must state this when submitting the clarification question. If, in the opinion of the Council, the clarification is not confidential, the Council will inform the Tenderer and the Tenderer will have an opportunity to withdraw it. If the clarification is not withdrawn, both the question and response will be sent to other Tenderers anonymously.

## The Council will use their best endeavours to respond as a matter of assistance to the Tenderer but it shall not be construed to add to modify or take away from the meaning and intent of the proposed contract and or the obligations and liabilities of the Tenderer.

## No representation, explanation or statement made to the Tenderer or anyone else by or on behalf, or purportedly on behalf of the Council as to the meaning of the Tender documents, or otherwise in explanation as aforesaid, shall be binding on the Council in the exercise of its obligations under a subsequently awarded contract.

## The Council reserves the right (but shall not be obliged) to seek clarification of any aspect of a Tender during the evaluation phase where necessary for the purposes of carrying out a fair evaluation. Tenderers are asked to respond to such requests promptly.

## Conflicts of Interest

It is the responsibility of the Tenderer to ensure that there are no actual or potential conflicts of interest involved in their commission.  The Council must be notified in writing providing details through the ProContract messaging Function as soon as any actual or potential conflicts of interest arise during the commission.

### Without limitation, the Council may perceive conflicts of interest to arise where a collaborative partner or sub-contractor (or any of their legal, financial, or other advisers) proposes to provide services or advice to, or is otherwise connected with, more than one Tenderer in relation to this ITT; and/or a collaborative partner or sub-contractor or any person employed or engaged by or otherwise connected with a collaborative partner or sub-contractor, or the spouse or partner of such person, is or has within the last two years been engaged or employed by, or is currently discussing matters relevant to this ITT with, the Council or has within the last two years been engaged or employed by, or otherwise connected with, the Council

The Council reserves the right to exclude Tenderers from the procurement process should actual or potential conflicts of interest be found to confer an unfair competitive advantage on one or more Tenderer or to otherwise undermine a fair and competitive procurement process and, following consultation with the Tender, such actual or potential conflicts are not resolved to the satisfaction of the Council.

## Disqualification

Tenderers should note that in the event of the below points arising the Council will be entitled to disqualify the relevant Tenderer(s):

- any breach of the requirements of this Invitation to Tender, the Form of Tender or the Tendering Certificate to be provided as part of a tender;

- the commission of any offence under the Bribery Act 2010 (or under any other legislation or at common law in respect of fraudulent acts) by a Tender or anyone employed by it or acting on its behalf (whether such breach or offence is with or without the knowledge of the Tenderer); or

- the giving of, or offering to give, any fee, reward or other consideration of any kind as an inducement for doing or not doing any act (or for showing or not showing favour or disfavour) to any person in connection with this procurement process.

## Indicative Timeline for Framework Agreement Award

The anticipated programme for the Framework Agreement award is:

| Framework 2 timeline V6 7th March 2018 | Duration in working days | Start | Finish |
| --- | --- | --- | --- |
| HPB report gives approval to start | 0d | Tue 11/07/17 | Tue 11/07/17 |
| PIN prospectus preparation | 10d | Tue 11/07/17 | Mon 24/07/17 |
| PIN published | 1d | Fri 11/08/17 | Fri 11/08/17 |
| Reasonable response time | 20d | Mon 14/08/17 | Fri 08/09/17 |
| Selection | 4d | Mon 11/09/17 | Thu 14/09/17 |
| Interviews | 3d | Tue 19/09/17 | Thu 21/09/17 |
| Analysis | 10d | Fri 22/09/17 | Thu 05/10/17 |
| Procurement document set preparation continuing | 125d | Fri 06/10/17 | Thu 29/03/18 |
| OJEU Advert placed | 0d | Thu 29/03/18 | Thu 29/03/18 |
| Bidders response time (inc safety margin) | 30d | Fri 30/03/18 | Thu 10/05/18 |
| SQ (PQQ) evaluation | 20d | Fri 11/05/18 | Thu 07/06/18 |
| Invitation to Tender (NB standstill will occur at the end of the process) | 0d | Thu 07/06/18 | Thu 07/06/18 |
| Firms preparing tenders | 20d | Fri 08/06/18 | Thu 05/07/18 |
| Tender returns | 0d | Thu 05/07/18 | Thu 05/07/18 |
| Tender evaluation | 20d | Fri 06/07/18 | Thu 02/08/18 |
| Tender evaluation completed | 0d | Thu 02/08/18 | Thu 02/08/18 |
| CPC report preparation and internal communications | 30d | Fri 03/08/18 | Thu 13/09/18 |
| Contract Award Report considered at CPC (estimated) | 1d | Fri 14/09/18 | Fri 14/09/18 |
| Standstill Period begins | 0d | Fri 14/09/18 | Fri 14/09/18 |
| Standstill with (inc safety margin) | 12d | Mon 17/09/18 | Tue 02/10/18 |
| Standstill Period expires | 0d | Tue 02/10/18 | Tue 02/10/18 |
| Contingency | 0d | Tue 02/10/18 | Tue 02/10/18 |
| Mobilisation period from | 0d | Tue 02/10/18 | Tue 02/10/18 |
| Contract Execution (in parallel) | 20d | Wed 03/10/18 | Tue 30/10/18 |
| Supplier Physical Mobilisation (in parallel) | 20d | Wed 03/10/18 | Tue 30/10/18 |
| Operational commencement | 0d | Tue 30/10/18 | Tue 30/10/18 |

Figure 3

## Contract award/ Acceptance of tender

At the conclusion of the evaluation process and subject to the provisos contained in these instructions, the Council will decide to whom the Framework Agreement will be awarded and the successful Tenderer(s) will be expected to enter into a formal agreement.

The contract award will be subject to receiving suitable references which, for the avoidance of doubt, will not be scored.

Acceptance of the Tender shall only be signified in writing under the hand of the Corporate Director, and no other purported method of acceptance (i.e. telephone call, correspondence from any other officer or site possession) shall be binding on the Council. In addition any action on the part of the successful Tenderer shall be of no contractual effect and not binding on the Council without an acceptance letter under the hand of the said officer being issued to the Tenderer.

The Council will publish an Award Notice in the Official Journal of the European Union in accordance with the Public Contracts Regulations 2015 following the contract award

## Standstill Period

## The Council as part of its process for awarding a contract to successful Tenderer(s) will apply at least a ten calendar day mandatory standstill period from the notification of the award decision to all Tenderers who participated.

Freedom of Information Act 2000 and the Environmental Regulations 2004

## As a public body, the Council is subject to the provisions of the Freedom of Information Act 2000 and the Environmental Information Regulations 2004 (the Information Legislation) in respect of information it holds (including third party information). Any member of the public or other interested party may make a request for information. The Council may receive requests for information relating to a contract and the services which, save for any right to claim an exemption under the Information Legislation, the Council may be under a statutory obligation to disclose. Tenderers will render all necessary assistance to the Council to meet its statutory obligations under the Information Legislation.

## The Council will consider the disclosure of any information, including pricing information (for both successful and unsuccessful Tenderers), subject to the exemptions / exceptions under the Information Legislation. Tenderers should be aware that attaching a blanket label of "private and confidential" or "commercial in confidence" to their proposal may not exempt / except the proposal from disclosure under the Information Legislation. Tenderers should carefully consider the impact of the Information Legislation and take their own legal advice with regard to any information/data that is intended to be submitted in support of a Tender which may be commercially sensitive and/or confidential.

## If a Tenderer considers that all or any part of its proposal and/or any specific information contained therein constitute a “trade secret”, or that information contained therein is commercially sensitive information disclosure of which would be likely to prejudice the commercial interests of any party, or believes that a duty of confidentiality applies or otherwise considers that such documents and/or information falls within any other exemption or exception set out in the Information Legislation, the Tenderer should:-

(a) 	attach information it considers to be commercially sensitive e.g. costing or a trade secret in a separate schedule marked ‘commercially sensitive information’ or ‘trade secret’ and include a time limit for the sensitivity of the information; and

(b) 	In respect of such schedule and/or specific information, identify the particular exemption/exception that the Tenderer claims applies in the particular circumstances. Tenderers should do so in full knowledge of the relevant terms of the Secretary of State’s Code of Practice (the Code) under Section 45 of the Freedom of Information Act 2000, on the handling of requests under the Freedom of Information Act 2000. This will enable Tenderers to make such claims based on reasons that address the requirements of the Code.

## Tenderers should be aware that, even when they have scheduled or identified relevant documents and/or information and seek to claim an exemption, the Council shall have complete discretion in deciding whether such documents and/or information should be disclosed under the Information Legislation.

# TENDER EVALUATION

## Wvaluation Process

The Council is committed to providing high quality, value for money services to the people who live and work in the borough. Tenders will therefore be evaluated against the criteria set out in this section of the ITT document.

Tenderers must provide information which demonstrates and supports their understanding of, and ability to meet, the specification contained within this and other appended documents.

Suppliers should complete the scored SQ form and the 10 highest scoring returns will be invited to tender for the work.

Subject to the following paragraph, if it appears to the Council that there is an error in the Tender (including the Tender Response Documents) the Tenderer will be invited to confirm their Tender or withdraw it within a time specified by the Council.

Where an error relates to the total price of the Tender as calculated from other sources, the error will be regarded as being in those other sources.  The Tenderer will be invited to confirm the total price or withdraw their Tender as above.  A Tender containing major arithmetical errors or a large number of arithmetical errors may be rejected on the ground that there is serious doubt about the competence of the Tenderer.

## Evaluation Criteria

The evaluation weighting of the Tenders will be as follows:

- Quality Score – 60%

- Finance Score – 40%

Details on the specific evaluation criteria for each Lot are contained in Section 3.3 below.

## Quality Evaluation

The method statement responses will be evaluated on the marking scheme below.

The following scoring mechanism will be used to score the method statements against each of the criteria set out in the figure below.

| No. of Points | Definition |
| --- | --- |
| 0 | Wholly unsatisfactory, fails to demonstrably meet specified requirements or not answered |
| 1 | Poor only partially demonstrably meets specified requirements |
| 2 | Satisfactory, demonstrably meets specified requirements with few omissions |
| 3 | Good, demonstrably meets specified requirements in full. |
| 4 | Excellent, demonstrably exceeds the specified requirements and provides significant added value to the Council. |

Figure 4

Each method statement has been given an individual percentage score as shown in Appendix 4.

Tenderers are expected to provide responses to all the method statement questions.

This element equates to 60% of the full mark and the scoring of each requirement will use the following scoring system as shown below in table 3.

The score awarded for each question will then be multiplied by the weighting to give the weighted score.

The following calculation will determine the scores awarded the quality.

% for each method statement = Mark for method statement       multiplied by the max percentage mark						4			for that method statement

The percentage marks for each method statement will be added together to give the quality mark for that lot

Finance Scores

Each lot has a bid back table in which the bidder inserts hourly rates and percentages to be applied to indicative quantities provided by the Council.

The total (red cell) for each table is processed as below to calculate your percentage score for finance for that lot:-

Your finance score= Lowest total for financial table     multiplied by 40%

Your total for financial table

The fees and rates quoted shall be the fully inclusive value of the services, excluding VAT, including all costs and expenses together with all general risks, liabilities and obligations set out in, or implied necessary to comply with, the Invitation to Tender, the conditions of the Contract, the specification of service requirements, all schedules and appendices thereto and all other documents forming part of the Contract.

Prices shall be upgraded by RPIX at the first and subsequent annual anniversary of commencement

The Council will not pay for a Provider’s time and expenses to attend contract review meetings with the Council.

## Clarification

Once the Tenders have been evaluated, Tenderers may be requested to provide clarification in writing via ProContract messaging portal if the Council has a minor number of points that require clarifying.

The evaluation panel will have an opportunity, collectively, to adjust scores awarded to Tenderers as a result of clarification received.

## Total Scores

## Your finance and quality scores will be added together to produce your total score

## The firms with the top 5 scores for the lot will lead to the firm being will be appointed to the lot of the framework.

Where there is a negligible difference between the scores of the tenders immediately below the 5th scoring tender the Council will take forward such number of tenders as are necessary so that there is a  gap of a minimum of a 2% difference between the last selected and the first non- selected firm.

# THE FRAMEWORK AGREEMENT

## The Framework Agreement

The successful Tenderer(s) appointed, will enter into a Framework Agreement with the Council.  It is proposed this will be entered into as a Deed under the hand of the Council’s duly authorised officer and the successful Tenderers.

The Framework Agreement will establish the fixed prices tendered by Tenderers and the overall terms and conditions and be based on the JCT Services contract, which save for adaptation to reflect its use by a public body, which will remain substantially unaltered.

# SPECIFICATION

The specification of requirements are attached in Appendix 3.

Complete the attached whole life cost sheet (s) demonstrating the prices you are able to offer under this Framework Agreement for each lot that you are bidding for.  The prices and rates quoted shall be the fully inclusive value of the services, excluding VAT, described under the relevant headings, including all costs and expenses which may be required to provide complete services together with all general risks, liabilities and obligations set out in or implied necessary to comply with the conditions of tendering, the conditions of contract, the specification, provisional method statement, all schedules and appendices thereto and all other documents forming part of the Contract.

# TENDER SUBMISSION

## Tender Response

The Council require the following distinct (i.e. separate documents not amalgamated) documents to be submitted as a Tender:

- Completed Method Statements

- Completed Bid Back Financial Spreadsheet

All Tenders must be submitted via the Pro-Contract e-tendering system. Bids submitted through any other means (email or post) will NOT be accepted.  Tenderers should download the relevant Response Document(s) ‘from ProContract and complete the required sections. The completed document(s) and required attachments should then be uploaded on to ProContract via the ‘Attach Document’ function. Tenders submitted must be named in the following format:  Project Reference- Document Name- Company name

It is the Tenderer’s responsibility to ensure that their Tender arrives in accordance with the instructions above. For the avoidance of doubt the Pro-Contract server time (shown on the Pro-Contract procurement page for tenderers) shall apply to the delivery of tenders.

Subject to the following paragraph, if it appears to the Council that there is an error in the Tender (including the Tender Response Documents) the Tenderer will be invited to confirm their Tender or withdraw it within a time specified by the Council.

Unless stated elsewhere in the issued documents, details of other submissions will not be published or made available to Tenderers except as may be required by law.

In the event that a Tenderer does not wish to participate further in this procurement exercise, the Tenderer should communicate this via the messaging function on ProContract and destroy the complete ITT document set

The Tender Document must be fully completed and signed by the Tenderer. It must be submitted in accordance with the Instructions for Tendering and by the date and time stated in Section 1.

All documents requiring a signature must be signed:-

      - where the Tenderer is an individual, by that individual;

      - where the Tenderer is a partnership, by one duly authorised partner;

      - where the Tenderer is a company, by one director or by a director and the secretary of the Company, such persons being duly authorised for that purpose.

Under the Electronic Communications Act 2000 a typed name can count as a signature if the person who typed it intended it to be treated as a signature.

  - Checklist

    - Below is a checklist (Table 4) of the documents and information that your company is required to either complete and sign or provide to the Authority in order that they may be considered eligible to participate in the tender process.  Failure to provide the requested information and / or to comply with this requirement will result in the bid being rejected.

    - Please do not supply general marketing information in response to questions asked.

Figure 5

| Document / Notes | Action Required |
| --- | --- |
| Appendix 1 - Form of Tender | Please complete and sign* as instructed. Submit via ProContract. |
| Appendix 2 - Tendering Certificate | The certificate should be signed by the same individual(s) who signed the Form of Tender. Submit via ProContract. |
| Appendix 3- Specification | Read. |
| Appendix 4 – Method Statement Descriptions | Complete and submit via ProContract. |
| Appendix 5 – Financial Bid Back Table | Complete and submit via ProContract |
| Appendix 6 - Draft Framework Agreement Terms and Conditions (based upon the JCT Services Contract Form) | Read |

Figure 5

*Please note that Under the Electronic Communications Act 2000 a typed name can count as a signature if the person who typed it intended it to be treated as a signature.

Appendix 1

Form Of Tender

Tenderers are required to express their tender in the following terms:

“To the Council of the London Borough of Hackney”

Re: Invitation to Tender for Framework 2

Having carefully examined and considered the Invitation to Tender including, without limitation, the Specification of Requirements (Appendix 2), the Instructions for Tendering and the contract terms and conditions, and in consideration of the Council considering this tender, we

Offer to carry out the work required to meet the Specification of Requirements and to enter an agreement with the Council in the form of the contract terms and conditions for the price specified in the attached Contract Price Document.

Confirm that we are able to provide the goods and services required to meet the Specification of requirements.

Confirm that, if our Tender is accepted, we will upon demand

- Produce evidence that the relevant insurances and compliance certificates with relevant legislation and policy are held and are in force and

- Execute and deliver the necessary contract documents to the Council.

Agree that this Tender shall constitute an irrevocable, unconditional offer which may not be withdrawn for a period of four (4) months from the date of this Tender.

Agree that unless and until contract documents are executed and mutually delivered between the Council and ourselves, that this Tender, together with the Council’s written acceptance of it, shall constitute a binding contract between us and the Council.

We understand that the Council is not bound to accept any Tender that it receives.

Signed for the Tenderer:

Name:

Title:

Company:

Date:

## Appendix 2

Tendering Certificate

Tenderers are required to certify their tender in the following terms (the certificate should be signed by the same individual(s) who signed the Form of Tender):

“To the Council of the London Borough of Hackney”

Re: Tender for the Framework Agreement for the Professional Services – Property Services

dated ……………………

I/We certify that this is a bona fide tender, intended to be competitive and that I/We have not (either personally or by anyone acting on my/our behalf):

- Fixed the amount of the Tender (or the rate or prices quoted) by agreement with any other person, company or organisation.

- Communicated to anyone, other than the Council, the amount or approximate amount or terms of my/our tender (other than in confidence in order to obtain quotations, professional advice or insurance necessary for the preparation of the Tender).

- Entered into any agreement or arrangement with any other person, company or organisation that they shall refrain from tendering or as to the amount of or terms of any tender to be submitted by them.

- Canvassed or solicited any Member, officer, employee or agent of the Council in connection with the award of this or any other contract with or Tender to the London Borough of Hackney.

- Offered, given or agreed to give any inducement or reward in respect of this or any other contract with or tender to the London Borough of Hackney.

Signed for the Tenderer:

Name:

Title:

Company:

Date:

Appendix 3 Specification Information

# Lot 12 – Structural and Civil Engineering Services

# .0	DESCRIPTION OF SERVICES

1.1	Consultancy support to the Council’s requirements in the field of structural and civil engineering design and analysis in construction, maintenance and repairs of the physical works (structures, temporary works, building components, elements, roads, bridges, canals, dams, etc).

2.0	OVERVIEW

2.1	The Council’s Corporate Property Portfolio is continually changing and comprises approximately 480 sites (not including land and parks) in the following property groups:

- Property Group 1. Core Corporate Estate

- Property Group 2. Other Council Premises

- Property Group 3. Libraries

- Property Group 4. Depots

- Property Group 5. VCS / Commercial

- Property Group 6. Hostels & Temporary Accommodation

- Property Group 7. Children & Young People Services (CYPS)

- Property Group 8. Parks

- Property Group 9. Reactive Only

- Property Group 10. Care Homes/Day Centres

- Property Group 11. External Clients

2.2	Property Groups 1 to 10 inclusive constitutes approximately 140 premises and represent the core estate maintained by the Council.  The remaining properties are leased to external clients who, as part of their lease, are responsible for the maintenance of their premises.  Other premises within LBH are internally managed by their respective directorates.

2.3	Due to the diverse property stock and the varied levels of responsibilities, each site is unique and the landlord/tenant relationships are different. Broadly speaking, the Council’s estate is split into the following Directorates:

- Corporate Estate;

- Housing & Regeneration; and

- Education Sector.

2.4	The Council uses contractor frameworks to deliver responsive repairs, routine planned maintenance, including public health and call centre facilities.

2.5	The Council still operates a devolved budget structure, but the long term vision is a move toward the corporate landlord model i.e. all statutory compliance, monitoring budgets being centralised. Under this framework, the Council is seeking experts in the continuous development of property strategies who will provide advice to the existing in-house team, or additional capacity to deliver on demands of the process including required change.

2.6	Recent changes in the law, in particular Health and Safety at Work Act, requires a more proactive and focussed approach to discharging landlord and tenant duties.  Here, the professional services framework consultants have a pivotal role to play.

2.7	The Council’s estate generates a regular flow of reactive, routine and planned maintenance, including capital works.  This requires an operational perspective and regular involvement in design development, hand-over and commissioning processes.

3.0	OVERVIEW OF SERVICE REQUIREMENTS

3.1	The Services listed in this Section are to be provided at each Stage of the Project:

- Prepare contributions to regular written reports covering all structural aspects of the Project with appropriate summaries and recommendations.

- In conjunction with other members of the team, assist in the preparation of relevant 'Sign-Off” documentation for the Council, in an agreed format and at agreed key stages of the Project.

- Discuss, consider and review with the Council its requirements, objectives and priorities relating to the Project.

- Agree the Structural Elements with the Council and the Architect.

- Agree the extent of the contractor’s design portion (CDP) and performance specified work on a project by project basis, thus establishing with the Council and the Architect which of the Structural Elements:

- the Consultant is to have full design responsibilities.

- the Consultant is to have ‘Advice and Assist’ related responsibilities.

- the Consultant is to have ‘Advice’ related responsibilities.

- Design the Structural Elements in line with The Council’s requirements and standard specifications.

- Agree project deliverables and associated programme.

- Making sufficient visits to the Site during the course of any geotechnical engineering investigations to see that they are carried out in accordance with the Consultant's specifications.

- Designing the Civil/Structural Elements in the light of any existing surveys and investigations and take the findings into account in the design.

- Collaborate with other Consultants in resolving any problems which may arise from the Sub-contractor's Installation Drawings and contractor’s specialist design.

- Discuss, consider and review with the Council its requirements, objectives and priorities relating to the Project.

- Prepare necessary structural information, in an agreed format, to facilitate the Council and other Stakeholders' approvals of Project proposals, at agreed key programme dates.

- Take into account feedback from Stakeholders’ approvals/ comments and advise the Council on the likely implications.

- Raise early warnings of any issues likely to affect quality, cost and programme, and work with the team and the Council towards their resolution.

- Liaise with relevant stakeholders (end users, the Council’s Representative), and prepare necessary information for reporting to the Council as required. Agree reporting dates and adhere to them.

- Provide information about the Civil/Structural Elements to the Quantity Surveyor to enable him to prepare bills of quantities and/or the Council's Requirements for the Project.

- Organise visits/studies to other projects/completed buildings, involving the Design Team and the Council’s Representative, to establish the level of quality required.

- Obtain details of the requirements of the Council for the Project, including budget and timetable and give the Council general advice on how to proceed.

- Investigate existing structures and report on their condition etc.

- Manage designers and others to ensure that technical issues are resolved without delay. Lead regular workshops at a frequency determined by the requirements of the programme.

- Work with the QS to make recommendations to the Council on the economic and financial viability of the Civil/Structural Elements.

- Assist the Project Manager in his provision to the Council of a feasibility study.

- Advise upon any part of the Civil/Structural Elements not designed or specified by the Consultant.

- Advise on the need for measured surveys, levels and plans of the Site and adjoining property.

- Advise the Council on the need for arrangements to be made for contamination investigations of the Site and adjoining property.

- Recommend to the Council any necessary remediation works required to the Site and/or any necessary protection measures required as a result of any investigations carried out by others.

- Advise the Council on the need to appoint other consultants and/or to take specialist advice.

- Assist the Council in the selection of other consultants.

- Liaise with other Consultants.

- Establish contact with other Consultants and assist the Project Manager in his preparation of a project directory and the agreement of formal communication patterns.

- Assist other Consultants in the carrying out of their services for the Council by providing any relevant information to them that is reasonably required.

- Examine any designs carried out by the Contractor or any Sub-contractor on the basis of any Consultant's performance specification or design for general compliance with the Consultant's specifications and designs.

- Monitor the performance of the Contractor or any Sub-contractor in the development of the design of the Civil/Structural Elements and the production of Coordination Drawings to meet the requirements of any design or performance specification prepared by the Consultant.

- Assist the Project Manager in his preparation, agreement and regular review of the Programme with the Council.

- Assist the Project Manager in his informing the Council and other Consultants of the need to make or give decisions, approvals or recommendations and/or to supply information in relation to the Civil/Structural Elements in good time so as to avoid delay to the Programme.

- Use reasonable endeavours to see that all relevant information to be provided by the Consultant is produced punctually so as not to cause any delay in the Programme.

- Assist the Quantity Surveyor in his agreement with the Council, revision as necessary and operation of the Cost Plan and an agreed cash flow.

- Assist the Project Manager in his providing the Council with regular (no less frequently than monthly) reports on the overall progress of the Project, the obtaining of Requisite Consents, cost management (including actual expenditure compared with the agreed Cost Plan and agreed cash flow, actual and anticipated, Changes and their impact on the agreed Cost Plan and agreed cash flow) measured against the agreed Cost Plan, agreed cash flow and the Programme.

- Assist the principal designer or the principal contractor (as appropriate) for the purposes of the CDM Regulations in relation to the information needed for the Construction Phase Plan and the Health and Safety File and in their collation of the documents they require from time to time.

- Regularly attend meetings of other Consultants and any other meetings reasonably required by the Council.

- Assist the Architect in his submission to the Council, as regularly as is reasonable in the circumstances but no less frequently than monthly, a written report as to the current status of the production of all design information.

- Advise the Council on the need to obtain any Requisite Consent in respect of the Civil/Structural Elements.

- Assist the Architect in his seeking to obtain all necessary Requisite Consents in respect of the Project in good time and so as not to adversely affect the Programme.

- Assist the Council and/or provide advice to the Council in the negotiation of the terms of planning or other obligations in relation to the Project .

- If required by the Council, supply a reasonable number of copies of plans and other materials already prepared by the Consultant for use by the Council in advertising, marketing and letting the Project.

- If required by the Council, provide drawings and information to enable lease and letting documentation to be prepared by others and assist the Architect in his preparing an ‘end user guide’ for the Project.

- Where necessary assist the Council in obtaining Requisite Consents from adjoining owners.

- Where necessary assist the Council in obtaining Requisite Consents from adjoining owners in connection with party wall matters.

- Discuss with the Council as to whether Site Staff will be required.

- The Consultant shall make reasonably frequent visits to the Project in connection with inspecting the progress and quality of the Project, the approval of such elements of the Project as may be reserved for approval by the Consultant and obtaining information necessary for the issue of any statement, notice or instruction required for the administration of the Building Contract by the Council's Agent.

3.2	In carrying out their duties, the Consultant shall have due regard to the following:

- CDM Regulations - complying with its duties and obligations and, if required by the Council, act as Principal Designer.

- Sustainability - Adhering to the environmental sustainability policy of The Council and developing energy efficient strategies relating to the M&E Elements for the Project.

- Life cycle costing – assist the QS in producing `life-cycle-costing’ and `costs-in-use’ studies to meet The Council’s aspirations for `efficient building servicing’ and `value for money’.

- Programme Planning - preparation, agreement and regular review of the Project Programme, including (but not limited) to the Design Programme, with the Council prepare and update any sub-programmes as required.

- Risk Management - Contributing to and assisting in the maintenance of a detailed risk register

- Value Management – committed to the principle of understanding what constitutes value for this project

- Health & Safety (“H&S”) Management - Complying fully with Health and Safety requirements, legal and good practice.

- Construction Skills Certification Scheme (CSCS) - to the appropriate level.

- Meetings – as agreed/required by the Contract Administrator

- Communication - to comprehensively ensure that all interested parties are aware of the Project and that it can be adequately discharged

- Project Set Up - advising the Council on how its objectives will be best delivered

- Delivery Strategy - Advise and assist in the recommendations on methods of procurement and general project delivery to achieve project objectives.  Advise on the need for and scope of additional and/or specialist consultants' services including site staff and the conditions of their appointment.

3.3	Typically work exposed to mini competitions could be for one or more of the stages below in the lifecycle of a project.

4.0	STAGE 0 – PROJECT OUTLINE BRIEF

4.1	(Preparation of a Project Outline Brief confirming (but not limited to) project objectives, including quality objectives and project outcomes, consultation outcomes, sustainability aspirations, project budget, other parameters or constraints etc.  Identification of procedures, organisational structure and range of the project team and others to be engaged in connection with the Project).

5.0	STAGE 1 – FEASIBILITY PLAN

5.1	(Preparation of a Feasibility Plan summarising the feasibility of the project’s outline proposals, as born out of the Project Outline Brief, including (but not limited to) site assessment, brief development and consultation, design evolution, outline proposals, interface with other projects and associated impacts, cost summary, risks, sustainability, statutory requirements, programme etc).

5.2	Visit the Site, carry out an initial appraisal and advise the Council on the findings which may affect the Project.

5.3	Seek from the Council all relevant data and information to allow the Consultant to seek the Council's Project Outline Brief confirming key objectives and constraints.

5.4	Contribute to preparation of Project Outline Brief, Feasibility Plan and site information report.

5.5	Provide sufficient preliminary information in relation to the Project in the form of advice, sketches, reports or outline specifications to enable the Lead Consultant if appointed to prepare his outline proposals and assist any Other Consultant to prepare the outline Cost Plan.

5.6	Outline the effects of any limitations of the Site on the Civil/Structural Elements caused by topography and any reasonably identifiable previous uses and the presence or possible presence of contaminants as a result of such uses where such matters are apparent from any data and information reasonably obtainable by the Consultant or provided by the Council.

5.7	Advise the Council on further investigations required to be carried out to obtain information about the Site, adjoining ownership, local infrastructure and any other matters which may affect the Project.

5.8	Advise the Council on any limitations on road and public transport access to the Site, both during construction and on completion of the Project which may affect design options.

5.9	Obtain information on the existence and extent of public services such as water, gas, electricity, sewerage, culverts, tunnels and telecommunications services and comment to the Council on any effect that these may have on the Civil/Structural Elements, both during construction and on completion of the Project.

5.10	Prepare a desk study of the Site. If necessary, and with the Council's agreement, bring forward from the next stage a full site investigation.

5.11	Liaise with and assist the  Highways Engineer regarding any limitations on road and public transport access to the Site both during construction and on completion of the Project which may affect design options.

5.12	Advise the Council on the need for any surveys and investigations to be carried out including geotechnical investigations, land quality statements, soil investigations, topographical surveys, dimensional surveys, measured surveys, environmental investigations/surveys and any other special investigations and/or surveys including surveys to obtain details of construction in existence on or adjacent to the Site. If and when authorised by the Council for such surveys and investigations to be undertaken, arrange for them to be undertaken as agent for the Council and advise the Council on the results of such surveys and investigations.

5.13	Report and advise on any surveys obtained by the Council.

5.14	Assist the Quantity Surveyor in his advising the Council on methods of procuring the construction of the Project.

5.15	Advise on the need for specialists to design and carry out parts of the Project.

5.16	Review with the Council alternative design and construction approaches and assist the Quantity Surveyor in advising the Council on the cost implications.

5.17	Develop the requirements of the Council for the Project.

5.18	Assist the Project Manager in his carrying out studies to determine the feasibility of the requirements of the Council for the Project.

5.19	Assist the Architect in his preparation of the Feasibility Plan.

5.20	Seek instructions from the Council to proceed with the next Stage.

6.0	STAGE 2 - CONCEPT DESIGN

6.1	(Prepare a stage 2 report following the Project Outline Brief and Feasibility Plan stages; prepare concept design, including (but not limited to) proposals for structural design, building services systems, acoustics, fire strategy, lighting strategy, validation outcomes, outline specifications, review of the procurement route, preliminary cost information, relevant project strategies etc in accordance with the Project Programme).  The Services in this Stage are to be provided in addition to those described in the previous Stages.

6.2	Prepare Concept Design for structural design in accordance with the Project Outline Brief and Feasibility Plan and assist lead designer with preparation of Design Programme.

6.3	Provide information for preparation of cost information for the quantity surveyor.

6.4	Analyse and where necessary revise the requirements of the Council for the Project.

6.5	In conjunction with the Council and other Consultants prepare the outline proposals for the Project for the approval of the Council in connection with the Civil/Structural Elements.

6.6	Study data and information relating to the Project and relevant to the Civil/Structural Elements which are reasonably accessible to the Consultant, and consider reports relating to the Civil/Structural Elements which have either been prepared by the Consultant or have been prepared by others and made available to the Consultant by the Council.

6.7	Consult any local or other authority about matters of principle in connection with the design of the Civil/Structural Elements.

6.8	Consider alternative outline solutions for the Civil/Structural Elements.

6.9	Assist the Quantity Surveyor in his review of the methods of procuring the construction of the Project.

6.10	Assist the Quantity Surveyor in his submission of the outline proposals and estimate of the construction cost to the Council.

6.11	Provide sufficient preliminary information in relation to the Civil/Structural Elements in the form of advice, sketches, reports or outline specifications to enable other Consultants to prepare their outline proposals and the Quantity Surveyor to submit the outline proposals and to prepare an estimate of the construction cost to the Council.

6.12	Collaborate with the Architect and any Other Consultants to prepare the detailed proposals for presentation to the Council, drawing attention to any significant differences from the previously agreed requirements for the Project.

6.13	Seek instructions from the Council to proceed with the next Stage.

7.0	STAGE 3 – DEVELOPED DESIGN

7.1	(Prepare a stage 3 report for the Developed Design following the stage 2 report, including (but not limited to) coordinated and updated proposals for structural design, building services systems, acoustics, fire strategy, lighting strategy, validation actions, outline specifications, cost information and project strategies etc in accordance with the Project Programme. Application for detailed planning approval).  The Services in this Stage are to be provided in addition to those described in the previous Stages.

7.2	Prepare coordinated and updated proposals for structural design in accordance with the Design Programme and assist lead designer with preparation of Design Programme.

7.3	Provide information for preparation of cost information for the quantity surveyor.

7.4	In conjunction with the Council and other Consultants assist the Project Manager and Architect complete the development of the Developed Design.

7.5	Visit the sites as necessary and study the Feasibility Plan/Concept Design report data and other information relating to the Project and relevant to the works which are reasonably accessible.

7.6	Advise the Council through the Lead Consultant on the need for arrangements to be made for and define the extent of structural surveys of the Site, surveys to obtain details of construction in existence on or adjacent to the Site, special investigations or model tests. Arrange as agent for the Council when authorised by him for such works to be undertaken, certify the amount of any payments to be made by the Council to the persons or firms carrying out such works, and advise the Council on the results of such works.

7.7	In conjunction with the Council and other Consultants prepare the detailed proposals from the approved outline proposals showing spatial arrangements, materials and appearance for presentation to the Council, drawing attention to any significant differences from the previously agreed requirements for the Civil/Structural Elements.

7.8	Consult any local or other authorities about matters of principle in connection with the design of the Project.

7.9	Liaise as may be necessary with the Architect and any Other Consultants to agree a programme for the whole of the design and construction of the Project.

7.10	Develop the design of the detailed proposals for the Project in collaboration with the Architect other Consultants and end-users. Allow for a reasonable number of design alterations before a preferred solution is agreed.

7.11	Prepare such representative sketches, drawings, specifications, and/or calculations in respect of the Project as are necessary to prepare the Cost Plan.

7.12	Incorporate into the structural design any structural planning requirements for the engineering services (if provided by other members of the Design Team) including locations and approximate sizes of plant rooms, major items of plant, major ducts and service runs.

7.13	Assume a pro-active role in advising the Council and team on value engineering/cost reduction options against various Project brief alternatives.

7.14	Advise on structural design implications of proposed phasing and delivery of the Project, including any decanting and re-location of existing functions within existing buildings.

7.15	Assist the team in the development of an optimum delivery strategy, aimed at meeting the Project brief requirements in the most economically advantageous manner.

7.16	Assist the Architect in his submission of the application and any necessary resubmissions for detailed planning permission and application for all necessary Requisite Consents in respect of the Project.

7.17	Seek instructions from the Council to proceed with the next Stage.

8.0	STAGE 4 – TECHNICAL DESIGN

8.1	Prepare technical design package to include (but not limited to) structural services information, specialist subcontractor design and specifications etc in accordance with the developed design and Project Programme for co-ordination of all components and elements of the Project).  The Services in this Stage are to be provided in addition to those described in the previous Stages.

8.2	Prepare Technical Design for structural work and assist lead designer with preparation of Design Programme.

8.3	Provide information for preparation of cost information for the quantity surveyor.

8.4	Liaise with specialist subcontractors as necessary.

8.5	Assist the Architect in his preparation of the final proposals for the Project from the approved detailed proposals sufficient for co-ordination of the Civil/Structural Elements with the architectural and M&E elements.

8.6	Assist the Architect in his integration into the design of the architectural and M&E elements of the Project any requirements of the Contractor or any Sub-contractor in relation to the Civil/Structural Elements.

8.7	Assist the Architect in his preparation of the final proposals for presentation to the Council, drawing attention to any significant differences from the previously agreed requirements for the Civil/Structural Elements.

8.8	Incorporate Builders' Work information provided.

8.9	Assist the Quantity Surveyor in his revision of the Cost Plan and Programme.

8.10	Assist the Quantity Surveyor in his advising the Council as to the appropriate method of procuring the construction of the Project (giving consideration to sectional completion), the appropriate form and content of the construction documentation (giving consideration to insurance matters, liquidated damages, warranties, bonds and guarantees) and liaise with the Council's legal advisers generally.

8.11	Assist the Quantity Surveyor in his explaining to the Council his obligations under the Building Contract.

8.12	Assist the Quantity Surveyor in his advising the Council on the need for and method of pre-ordering of materials, negotiating or tendering for specialist or major works packages and pre-construction work to comply with the requirements of the Council and the Programme.

8.13	Assist the Architect in his consultations with the statutory authorities on the developed design proposals.

8.14	Assist the Architect in his submission of the type of construction, quality of materials and standard of workmanship to the Council and assist the Quantity Surveyor in his submission of a revised Cost Plan to the Council.

8.15	Assist the Quantity Surveyor in his carrying out of a value engineering exercise and submission of a report to the Council.

8.16	Integrate into the design of the Project any requirements of any Sub-consultant, the Contractor or any Sub-contractor.

8.17	Collaborate with the Lead Consultant and other Consultants to prepare the final proposals for presentation to the Council, drawing attention to any significant differences from the previously agreed requirements for the Project.

8.18	Prepare pre-tender documents and drawings as necessary.

8.19	Prepare any further drawings and schedules necessary to enable the Contractor to carry out the Project, but excluding Coordination Drawings and drawings and designs for temporary works, formwork and shop fabrication details. In the case of reinforced concrete work, general arrangement drawings and drawings of nonstandard details should be prepared with sufficient information to enable the Contractor to prepare standard details and bar bending schedules for the Project.

8.20	Where necessary, prepare revised pre-tender documentation to obtain revised quotations in line with the Project budget.

8.21	Seek instructions from the Council to proceed with the procurement stages.

9.0	STAGE 5 – CONSTRUCTION

9.1	(Letting the Building Contract, appointing the Contractor. Issuing of production information to the Contractor. Arranging site handover to the Contractor. Administration of the Building Contract up to and including Practical Completion. Provision to the Contractor of further information as and when reasonably required).  The Services in this Stage are to be provided in addition to those described in the previous Stages.

9.1	Assist the Quantity Surveyor in his negotiation with a tenderer and/or the Contractor.

9.2	Acting objectively, assist the Quantity Surveyor in his submitting recommendations to the Client on the appointment of the Contractor and/or specialists for the construction of the Project.

9.3	Advise the Client on the need for and, if appropriate, on the duties of Site Staff.

9.4	Examine the Civil/Structural Elements of the Contractor's Proposals for the Project and report to the Quantity Surveyor.

9.5	Assist the Project Manager in his review of the Contractor's programme as against the Programme.

9.6	Assist the Quantity Surveyor in his preparation of the Building Contract.

9.7	Assist the Quantity Surveyor in his agreeing with the Contractor the programme procedures and requirements and establishing reporting procedures regarding progress of the Project, seeing that potential delays of which the Consultant is aware are fully reported to the Client and monitoring design information flow and seeing whether the Programme requirements are being achieved.

9.8	Assist the Quantity Surveyor in his checking that systems are established to see that the Project is carried out in accordance with the Building Contract and that quality control procedures, testing and other performance criteria are maintained as set out in the Building Contract.

9.9	Assist the Client's Agent in his providing the production information required for the Building Contract and for construction.

9.10	Provide to the Client's Agent all necessary information and assistance required by him to administer the terms of the Building Contract up to and including Practical Completion.

9.11	Assist the Client's Agent in his providing the Client with regular (no less frequently than monthly) reports confirming the Contractor's compliance with the Building Contract in respect of the matters for which the Consultant is responsible.

9.12	Assist the Quantity Surveyor in relation to his interim and final measurement and valuation of the Project, valuation of draft instructions proposed to be issued to the Contractor, investigation, recording and verification of claims by the Contractor for extensions of time and loss and expense and negotiation and agreement of all accounts with the Contractor.

9.13	Attend all meetings concerning the Project as reasonably required by the Client.

9.14	Make periodic visits to the Site as appropriate to the stage of construction or as otherwise agreed to assist in monitoring that the Project is being executed generally in accordance with the contract documents and with good engineering practice and advise on the need for instructions to the Contractor. The number of periodic visits by the Consultant shall be agreed between the Client and the Consultant.

9.15	Provide to the Client's Agent all necessary information and assistance required by him to prepare and issue any instructions and information required under the terms of the Building Contract.

9.16	During the construction stage, the Consultant is to proactively drive the Contractor and/or the Sub-contractors for solutions to Site issues (and not reactively wait for information).

9.17	Examine detailed designs, shop fabrication drawings, standard details, bar bending schedules and specifications submitted by the Contractor and Sub-contractors for the Project or parts thereof, in respect of conformity with the Consultant's design and in particular in respect of general dimensions, structural adequacy of members and connections and compliance with performance criteria.

9.18	Examine any designs carried out by the Contractor or a Sub-Contractor on the basis of a performance specification for general compliance with the specification.

9.19	Assist in examining the Contractor’s and/or the Sub-contractors' proposals as may be required by the Building Contract for the Project submitted by the Contractor and/or Sub-contractors.

9.20	Provide such further detailed design and production information for the Civil/Structural Elements as is necessary for the purposes of the Building Contract.

9.21	Provide to the Contractor a response to any question raised by the Client's Agent concerning any design information in relation to the Civil/Structural Elements.

9.22	If the Consultant thinks it necessary and the Client agrees, visit the sites of the extraction, fabrication and assembly of materials and components, inspect such materials and workmanship and report the Consultant's findings to the Client before delivery to the site.

9.23	Inspect materials delivered to the Site, inspect progress and quality, observe the conduct and examine the results of tests on or off site and report to the Client.

9.24	Advise the Client on sample taking and carrying out tests of materials, components, techniques and workmanship and examine the conduct and results of such tests whether on or off site.

9.25	Advise the Client on the opening up of completed work to determine that its quality is compliant with the Building Contract.

9.26	Assist the Quantity Surveyor in his preparation of valuations of work carried out and completed.

9.27	Assist the Quantity Surveyor in his review of the Contractor's applications for payment.

9.28	Assist the Quantity Surveyor in his checking compliance with the rules for the valuation of offsite materials.

9.29	Assist the Quantity Surveyor in his agreement of the cost of any Change with the Contractor.

9.30	At regular intervals appropriate to the stage of construction inspect the progress and quality of the Project to ascertain that construction and quality in relation to the Civil/Structural Elements are generally in accordance with the Building Contract.

9.31	Prepare and issue reports at no greater than monthly intervals to the Client with copies to the Client's Agent setting out the Consultant's findings as to any items of inadequate quality of materials and/or workmanship in respect of the Civil/Structural Elements or general non-compliance with the terms of the Building Contract by the Contractor and recommendations of action to be taken and stating whether or not in the opinion of the Consultant the Civil/Structural Elements are practically complete.

9.32	Review and agree the schedule of defects and/or snagging occurring as a result of non-standard workmanship and/or materials not in accordance with the Building Contract.

9.33	At the appropriate time, inspect the Project and provide a written statement to the Client and the Client's Agent confirming:

- that to the extent to which the design of the Civil/Structural Elements has been carried out by the Consultant, it complies with the Building Contract,

- whether or not a certificate, statement or notice of Practical Completion can be issued and if not, why not.

9.34	At the appropriate time, provide the Client and the Client's Agent with a written statement confirming that the Civil/Structural Elements comply with the Building Contract and that a certificate, statement or notice of Practical Completion can be issued.

9.35	Assist the Contractor in his providing the Client with 2 sets (plus 1 set on CD Rom) of the following:

- the Record Drawings;

- the latest revisions of the as-built structural engineering drawings including those prepared by the Contractor and any Sub-contractor;

- precast or fabricated component manufacturers' details; and

- all relevant test certificates relating to the Civil/Structural Elements.

9.36	Obtain and comment on all operating instructions, maintenance manuals and planned maintenance schedules relating to the Civil/Structural Elements prepared by the Contractor and/or Sub-contractors and check that they are complete and comprehensive.

9.37	At Practical Completion of the Project deliver to the Client's Agent 2 sets of each of the final drawings and/or specifications supplied by the Consultant to the Contractor for the purpose of constructing the Civil/Structural Elements together with written confirmation that no Prohibited Material has been specified or approved by the Consultant for use in the Project.

9.38	Assist the Quantity Surveyor in his providing the Client with an insurance valuation of the Project at Practical Completion.

9.39	Provide technical advice on certificates for payment to the Contractor in respect of the Project and provide technical information to the Other Consultants to enable accounts for the Project to be agreed.

9.40	Perform any services which the Consultant may be so required to do under any contract for the execution of the Project including where appropriate the witnessing of any specified tests.

9.41	Attend the Site whenever reasonably requested to do so to assist in resolving difficulties with construction.

9.42	Comment on the maintenance and operational manuals prepared by the Contractor or others.

10.0	STAGE 6 – HANDOVER AND CLOSE OUT

10.1	(Administration of the Building Contract after Practical Completion. Making final inspections and settling the final account).  The Services in this Stage are to be provided in addition to those described in the previous Stages.

10.1	Provide all necessary information and assistance requested by the Client's Agent to assist him in the administration of the terms of the Building Contract after Practical Completion.

10.2	Assist the Client's Agent in his preparation of schedules of defects and other faults in the Project which appear after Practical Completion or which are outstanding at Practical Completion or which appear during the rectification period under the Building Contract.

10.3	Provide all necessary information and assistance in the preparation of schedules of defects and other faults which appear after Practical Completion and assist in the inspection of the rectification of omissions, defects or other faults in the Project which are outstanding at Practical Completion or which appear during the rectification period under the Building Contract and issue reports at regular intervals to the Client with copies to the Client's Agent.

10.4	At the appropriate time, inspect the Project and provide a written statement to the Client and the Client's Agent confirming:

- that to the extent to which the design of the Civil/Structural Elements has been carried out by the Consultant, it complies with the Building Contract,

- whether or not a certificate, notice or statement of Completion of Making Good can be issued and if not, why not.

10.5	At regular intervals appropriate to the stage of construction inspect the progress and quality of the Project to ascertain that construction and quality is generally in accordance with the Building Contract in respect of the Civil/Structural Elements.

10.6	Prepare and issue reports at no greater than monthly intervals to the Client with copies to the Client's Agent setting out the Consultant's findings as to any items of inadequate quality of materials and/or workmanship in respect of the Civil/Structural Elements or general non-compliance with the terms of the Building Contract by the Contractor and recommendations of action to be taken and stating whether or not in the opinion of the Consultant any defects in the Civil/Structural Elements have been made good.

10.7	Review and agree the schedule of defects and/or snagging occurring as a result of non-standard workmanship and/or materials not in accordance with the Building Contract.

10.8	Provide all necessary information and assistance requested by the Quantity Surveyor to assist him in his checking of the Contractor's final account, his advising on it, negotiating and agreeing the totals with the Contractor.

10.9	Assist the Quantity Surveyor and/or Project Manager in his advising the Client on the arrangements for a programme for the maintenance of the Project and on the arrangement of maintenance contracts.

10.10	Assist in the settling of any dispute or difference relating to the Project after Practical Completion between the Client and the Contractor subject to payment of an additional fee if the matter is the subject of adjudication or litigation.

10.11	If required by the Client and subject to agreement of an additional fee assist the Quantity Surveyor in his preparation of life cycle analyses and running cost estimates of the proposed or existing buildings to determine their likely cost in use.

Appendix 4

| Method Statement Descriptions – Lot 12 | Marks Available |
| --- | --- |
| Method Statement 1 Detail your understanding of the services outlined within the specification and the quality required. Include in your response: A demonstration of your understanding of the overall aims of this framework; How you will bring added value to the process. | 12% |
| Method Statement 2 Provide an explanation of the proposed approach and any methodologies you will work to in delivering services on this framework. You should address the following in your response: The methodology you would use when providing advice on Civil/Structural elements that have not been designed or specified by your company; The processes you put in place to monitor the performance of any Contractor or any Sub-contractor in the development of Civil/Structural Elements; Explain the innovations you are able to bring to the delivery of this service; Your understanding of some of the risks associated with the above advice, and an explanation of how they might be mitigated to ensure high quality service delivery; Information on how you would ensure that services provided throughout the life of the contract will be continuous and consistent; | 12% |
| Method Statement 3 Demonstrate how you will assess the viability of different options, and how you analyse to evidence a recommended approach. Specifically describe: How you evaluate options, and analyse the evidence before developing options; How you evidence the rationale behind the preferred approach; How you demonstrate solutions to be both financially robust and likely to gain stakeholder support | 12% |
| Method Statement 4 Provide details of how your organisation will resource the commissions within this framework in such a way that the right skills are available at the right time. Include the following in your response: Details of how you will align the skills, experience and qualifications of your staff to the delivery of the services; | 12% |
| Method Statement 5 1 Tenderers are asked to confirm in their method statement that they will ensure a minimum commitment of 1 full term apprentice* per £1 million of Contract expenditure *Full term apprentice= a modern apprentice who completes their course Pass = providing the required confirmation Fail = failure to provide the required confirmation 2 Tenderers are asked to confirm in their method statement that they will ensure the employment of at least one previously registered unemployed or economically inactive people employed, per £1 million Contract spend. Pass = providing the required confirmation Fail = failure to provide the required confirmation 3 Tenderers are asked to confirm in their method statement that they will ensure a minimum commitment of 1 work experience or training opportunity per £1 million of Contract expenditure Pass = providing the required confirmation Fail = failure to provide the required confirmation 4 Tenderers are required to confirm their willingness to actively participate in any Hackney apprentices initiative which might be in place from time to time Pass = providing the required confirmation or where the Tenderer is unable to participate in the NSA project the Tenderer should provide details of how their Employment and Skills Plan will contribute to Hackney's labour objectives and achieve or exceed the Housing and Communities Agency's benchmarks for the KPIs set out in Appendix A. Fail = failure to provide the required confirmation or where the Tenderer has confirmed that it is will not participate in the NSA project and will not contribute to Hackney's labour objectives by other means. 5 Tenderers are to confirm that they will commit to paying all their staff engaged on this contract and living in London at an hourly rate not below the London Living Wage (LIW) at the applicable age rate, . Pass= confirmation received Fail= confirmation not received Written Submission Please describe how you would maximise the social value delivered from your working on the contract including the above factors 10% | 12% |

Appendix 5 Financial Bid Back Spreadsheet

Appendix 6- JCT Services Contract