**ITT Schedule 6 Attendances:**

|  |  |  |  |
| --- | --- | --- | --- |
|  |  | **Provided By** |  |
|  | **Attendance** | **By Sub-contractor** | **By Advance** | **N/A** | **Comments** |
| **1** | **STATUTORY HEALTH & WELFARE** |  |  |  |  |
|  | Statutory health and welfare facilities will be provided by Advance in line with CDM regulations |  | √ |  |  |
| **2** | **LIGHTING, POWER & FUEL** |  |  |  |  |
|  | .1 General Lighting | √ |  |  |  |
|  | .2 Task Lighting | √ |  |  |  |
|  | .3 110V to agreed location. | √ |  |  |  |
|  | .4 Extension leads, cables, leads etc | √ |  |  |  |
|  | .5 Generators & fuel specific to s/c works | √ |  |  |  |
|  | .6 Special temp/permanent power supply, ie 3 phase | √ |  |  |  |
| **3** | **SCAFFOLDING** |  |  |  |  |
|  | .1 Main Standing scaffold |  | √ |  | If designed, S/C must provide copies of PI insurance |
|  | .2 Any other high level access requirements | √ |  |  | By Sub-contractor if required |
|  | .3 Edge protection | √ |  |  | By Sub-contractor if required |
|  | .4 Debris Mesh | √ |  |  | By Sub-contractor if required |
|  | .5 Guard Rails | √ |  |  | By Sub-contractor if required |
|  | .6 Safety Netting | √ |  |  | By Sub-contractor if required |
|  | .7 Alloy towers & platforms | √ |  |  | By Sub-contractor if required |
| **4** | **HOISTING & LIFTING** |  |  |  |  |
|  | .1 Static Hoist | √ |  |  | By Sub-contractor if required |
|  | .2 Crane | √ |  |  | By Sub-contractor if required |
|  | .3 Forklift / Telehandler |  | √ |  |  |
|  | .4 Scissor lift / platform lift / MEWPs | √ |  |  | By Sub-contractor if required |
| **5.** | **PROVISION OF SMALL TOOLS** | √ |  |  |  |
| **6.** | **WATER** |  |  |  |  |
|  | .1 Supply of water, stand pipes etc. |  | √ |  | Stand Pipe  |
|  | .2 Water Distribution *incl hosepipes* | √ |  |  |  |
| **7.** | **SETTING OUT & MINOR WORKS** |  |  |  |  |
|  | .1 Grid Lines and Datum Levels Each Floor | √ |  |  |  |
|  | .2 From Grid Lines and Datum Level | √ |  |  |  |
|  | .3 Setting Out Chases, Holes, Cast-in Fixings | √ |  |  |  |
|  | .4 Forming holes up to 150 dia and chases and secondary support | √ |  |  |  |
|  |  | **Provided By** |  |
|  | **Attendance** | **By Sub-contractor** | **By Advance** | **N/A** | **Comments** |
| **8** | **UNLOADING** |  |  |  |  |
|  | .1 Delivery control & recording of information | √ |  |  |  |
|  | .2 Hand Unloading | √ |  |  |  |
|  | .3 Mechanically Assisted Unloading | √ |  |  |  |
|  | .4 Banksman | √ |  |  |  |
| **9.** | **DISTRIBUTION** |  |  |  |  |
|  | .1 From Stack or Store | √ |  |  |  |
|  | .2 Hoisting and placing in position (vertically) | √ |  |  |  |
|  | .3 Distributing across site (horizontally) | √ |  |  |  |
| **10.** | **STORAGE** |  |  |  |  |
|  | .1 Sub-contractor’s Requirements for Storage | √ |  |  |   |
|  | .2 Security of materials/ plant etc | √ |  |  |  |
| **11.** | **REGULAR CLEANING** |  |  |  |  |
|  | .1 To central location or skip | √ |  |  |  |
|  | .2 Provision of skips |  | √ |  |  |
|  | .3 General housekeeping of the s/c works | √ |  |  |  |
|  | **NOTE: Pallets, cable drums, stillages and the like are NOT general waste – to be returned to supplier** |
| **12.** | **PROVISION OF SAFETY BARRIERS** |  |  |  |  |
|  | .1 Main site |  | √ |  | Main site boundary only |
|  | .2 For designated area of the s/c works | √ |  |  |  |
| **13.** | **PROTECTION** |  |  |  |  |
|  | .1 Temporary Protection | √ |  |  |  |
|  | .2 Weather Protection | √ |  |  |  |
| **14.** | **GENERAL** |   |  |  |  |
|  | .1 Signing & acceptance of materials and plant | √ | v |  |  |
|  | .2 Hardstanding | √ |  |  |  |
|  | .3 General prelims, I.e phone, IT equipment & stationary | √ |  |  |  |
| **15.** | **ANY OTHER BUSINESS** |  |  |  |  |

|  |
| --- |
| **Comments / Site Specific Issues** |
|  |