**SPECIFICATION ADDENDUM – C13062**

**Design Notice – European Code & Standard BS EN81-20 / 50:2014**

This specification has been developed to include the requirements of BS EN81-20/50:2014, encompassing all of the amendments from BS EN81-1/2:1998 + A3:2009. These improvements are exhaustive, therefore it is not our intention to detail these individually within this specification, but where any lift has a design compliance CE certification for BS EN81-20/50:2014, these requirements shall be included in their entirety.

Therefore provision shall be included within the lift contractors tender documents relative to all costs and programme periods associated for the new lifts to achieve full compliance to BS EN81-20/50:2014, ensuring that any design compliance CE certification indicates the new lifts compliance, and that the requirements of BS EN81-20/50:2014 shall be included in their entirety for any new lift handed over (Practical Completion).

Where any new lifts are handed over before midnight on the 31st August 2017., they can effectively remain compliant to BS EN81-1/2:1998 + A3:2009 where this has been agreed by the engineer or client, unless all of the requirements of BS EN81-20/50:2014 have been achieved.

It shall remain the responsibility of the lift contractor to ensure that all of the appropriate requirements of EN81-20/50 have been achieved before any new lift can be handed over for service following 31st August 2017.

Any declaration of conformity certificate issued during the handover process must clearly indicate which code & standard regulation the lift complies.