**Appendix XXX - Current CCTV equipment**

**Please note that several cameras have been replaced since this list was drawn up and those IP/Hybrid cameras are referred to in Section three of the specification.**

***Location – Main Control Room/Torquay Town Hall***

11 – NEC 40” LCD monitors

7 – Samsung 19” High Spec LCD monitors

4 – Pelco Spectra min PTZ cameras

1 – Solaris PTZ

1 – Pelco/Synectics Protocol Convertor

4 – Pecan Col Fixed cam

4 – 16 CH 8TB Bosch 700 DVR

2 – 8 CH 8TB Bosch 700 DVR

Photoscan 64 Way Matirx

Photoscan 64 Way Matrix PSU

Photoscan KBD interface

Photoscan Text Generator

2 – Photoscan Dimplus KBD

2 – Photoscan KBD PSU’s

Synectics 32 Way Matrix

Synectics Text Overlay

Synectics Net 8

Synectics Matrix Manager

Synectics/Forward Vision Protocol Convertor

Synectics/Mark Mercer Protocol Convertor

Synectics KBD

Mark Mercer 485 Expander

5 – Panasonic AG6730 VCR’s

3 – Samsung Quad’s

***Town Centre Cameras Site 1 (Torquay, Paignton, Brixham & St Marychurch)***

Cameras -

4 – PTZ Bosch Mic 400

4 – PTZ Mark Mercer D500

45 – PTZ Photoscan

(All require Cherry Picker access)

***Location – Site 2 (Beacon Key/Torquay Harbour)***

Cameras -

2 – PTZ Mark Mercer D250

2 – PTZ Photoscan

1 – Fixed Bosch DN Dome

2 – Fixed dennard 2010 with col cameras

Controls -

Photoscan 16 Way Wall Box

Photoscan Dimplus KBD

2 - Photoscan Telemetry Priority Unit

Samsung Quad

Mark Mercer 485 Expander

Mark Mercer/Photoscan Protocol Convertor

Samsung 40” LCD Monitor

BOSCH 600 DVR 16 Way 4 TB

2 – 19” tft monitor

***Location – Site 3 (Terrace Car Park)***

Cameras -

1 – PTZ Mark Mercer D150

5 – PTZ Photoscan

10 – Fixed col Cameras

Controls -

Photoscan 16 Way Matrix

Samsung Quad

9 Way DM Sprite 2 Netvu

Mark Mercer/Photoscan Protocol Convertor

BOSCH 600 DVR 16 Way 4 TB

***Location – Site 4 (Union Square Car Park)***

Cameras -

13 – PTZ Photoscan

3 – Fixed Lift cameras

Controls -

Photoscan 16 Way Matrix

3 – Samsung Quad

2 – Photoscan Telemetry Priority Units

Tecton 16 Way Multiplex

NVT 4 way Transmitter

3 – NVT Receivers

***Location – Site 5 (Lower Union Lane Car Park)***

Cameras –

2 – PTZ Bosch mici 400

4 – Fixed lift cams

3 – Col Fixed Vandal Resistant Cams

20 – PTZ Photoscan

Controls -

Photoscan 32 Way Matrix

2 - BOSCH 600 DVR 16 Way 4 TB

3 – Samsung Quad

NVT 4 Way transmitter

4 – NVT Receivers

***Location – Site 6 (Town Hall, Torehill Hill House and Abbey Road)***

Cameras -

6 – PTZ Photoscan

6 – Fixed cams

4 PTZ Pelco Spectra Mini

1 – Siemens solaris ptz

Controls -

Photoscan 32 Way Matrix

Fibre Cards -

4 Dual video Receive Cards

4 Dual video Transmit Cards

2 Video/Data Transmit Cards

2 Video/Data Receive Cards

16 slot Rack Mount Card Cage with PSU

***Location – Site 7 (Victoria Car Park)***

Cameras -

3 – Fixed Cams

3 – Lift Cams

5 – PTZ Mark Mercer D250

11 – PTZ Photoscan

Controls -

Photoscan 32 Way Matrix

2 – Tecton 16 Way Multiplex

4 – Samsung Quad

Mark Mercer/Photoscan Convertor

Mark Mercer 485 Expander

NVT 4 Way Transmitter

3 – NVT Receivers

***Location – Site 8 (Brixham Central Car Park)***

Cameras -

4 – PTZ Photoscan

Controls –

Photoscan 32 Way Matrix

Samsung Quad

***Location - Site 9 (Brixham Harbour)***

Cameras -

2 – PTZ Bosch mic 400

1 – PTZ Mark Mercer D250

2 – 360Vision Redvision (warranty until Sept 2016)

4 – PTZ Photoscan

4 – Col Fixed Cam

Controls -

4 TB Samsung 16 Way DVR

Synectics 32 Way Matrix

Synectics Remote Manager

Synectics Net X 8

Synectics/Forward Vision Protocol Convertor

Syenctics/Mark Mercer Protocol Convertor

Synectics/Pelco D Protocol Convertor

2 – Synectics KBD

3 – 20” Sanyo TFT monitors

17” Vista TFT Monitor

***Location – Oldway Mansion Paignton***

Cameras -

3 – Photoscan PTZ

1 – Col Fixed

Controls -

16 Way Synectics Matrix

Synectics matrix manager

Synectics/Photoscan Protocol Convertor

Samsung Quad

8 Way Tecton Mplex

***TBC Torre Station***

Cameras -

1 – Mici 400

1 – Fixed col camera

***TBC File Store***

Cameras –

3 – Fixed col cameras

Controls -

1 – 8 way Samsung 8way dvr

***Paignton HUB***

Cameras -

11 Siemens Solaris PTZ

10 Fixed col mini domeCameras

Controls -

2 - Siemens SiStore 16 way DVR

1 – Siemens V3i Matrix 32 way

2 – 19” Siemens TFT monitor

1 – Bewater KBD

***Parkfield (leisure park)***

Cameras -

10 - Col fixed mini dome

2 – PTZ Redvsion & Solaris

Controls –

16 way Bosch 650 DVR 1TB

2 - Bosch 19” col TFT

***Tore Hill House***

Cameras -

2 – non branded ext PTZ

11 – internal fixed col dome cameras

Controls -

Samsung SRD1653 DVR

***Torquay Libary***

Cameras –

15 – Fixed internal col dome cameras

Controls –

Bosch 670 DVR

***Brixahm Library***

Cameras –

8 – Fixed internal col dome cameras

Controls –

Bosch 650 DVR

***Children Services (87Abbey Road)***

Cameras –

3 – Internal Fixed col dome

1 – External Fixed col dome

Controls –

Samsung SRD1650 DVR

***Paignton Harbour (stand alone system)***

Cameras –

1 – Redivsion PTZ – hoist required

Controls –

Samsung SRD470 DVR