Appendix F – General Rules & Preambles

Version: 6.3

Volume 2: Schedule of Rates Medium Descriptions

Published by M3 Housing Ltd, Three Kings, 23 Commonside East, Mitcham, Surrey, CR4 2QA

m3nhfsor@m3h.co.uk

www.m3h.co.uk

ISBN: 978-1-908409-00-3	M3NHF Schedule:Responsive Maintenance and Void Property Works

© Rand Associates Consultancy Services Ltd.

Version 6.3 revised and updated in April 2014 by Rand Associates Consultancy Services Ltd. and Anthony Collins Solicitors LLP.

Incorporating the NHF Form of Contract 2011 (Rev 3:2015)

ISBN: 978-1-908409-26-3

All rights reserved. No part of this publication may be reproduced, stored in a retrieval system, or transmitted, in any form or by any means, electronic, mechanical, photocopying, recording or otherwise, without the prior permission of M3 Housing Ltd.

CONTENTS

STANDARD ABBREVIATIONS USED IN THE M3NHF SCHEDULE OF RATES DESCRIPTIONS	1

GENERAL RULES	3

MEASUREMENT RULES	6

MEASUREMENT PREAMBLES	7

Generally	7

Excavation and Earthwork	9

Drainage	10

Concrete Work	11

Plumbing and Heating	12

# STANDARD ABBREVIATIONS USED IN THE M3NHF SCHEDULE OF RATES DESCRIPTIONS

VERSION 6.3

It should be noted that the following information is provided as guidance only, and not all items may be covered.

(BOT) Bottom

(BS) Both Sides

(OS) One Side

2L Two layer

3L Three layer

A Amp

AA Anodised aluminium

AC Alternating current

BASEC British Approvals Service for Cables

BCC British Coal Corporation

BCMC British Cable Manufacturers Confederation

BF Both faces

BS British Standard

Btu British thermal unit

BWF British Woodworking Federation

CA Client Representative

CCTV Closed circuit television

CCU Consumer control unit

CI Cast Iron

CLG Ceiling

CM Cubic metres

CORGI Council for Registered Gas Installers

CP Chromium Plated

CT/ct Coat

CWST Cold water storage tank

DC Direct current

dia diameter

DIR Direct

DP Double Pole

dpc Damp proof course

dpm Damp proof membrane

EC7 Economy 7

EP Ethylene propylene

EPDM Ethylene Propylene Diene Monomer

F&E Feed and expansion

FL&B Framed, ledged and braced

FLR Floor

GC Gas chimney

GRP Glass fibre reinforced polyester

GWCG Georgian wired cast glass

GWPP Georgian wired polished plate

HO Home Office

HOFR Heat, oil and flame retardant

horizon horizontal

HP High performance

HR )

Hr ) Half round or hour depending on context

hr )

HRC High rupturing cartridge

HT Height

HTR Heater

HW Hardwood

IEE Institute of Electrical Engineers

IND Indirect

IT Per Item i.e. comprising the whole of the works as detailed

KG Kilogram

Kw Kilowatts

L Layer(s)

L&B Ledged and braced

LM/M Linear metres

LTR Litres

LV Low voltage

MCB Miniature circuit breaker

MDF Medium density fibreboard

MICC Mineral insulated copper cable

MM Millimetres

MS Mild steel

ne not exceeding

NICEIC National Inspection Council for Electrical Installation Contracting

NS Natural stone

OCC Occupancy

PCC/pcc Precast concrete

PM Purpose Made

PR Pair

PVC Polyvinyl Chloride

PVCU/PVCu Unplasticised Polyvinyl Chloride

RCD Residual current device

RS Reconstructed stone

SAA Satin anodised aluminium

SEC Security

SM Square metres

STD Standard

SW Softwood

T and E Twin and earth

T, G and V Tongued, grooved and V jointed

TV Television

UPVC Unplasticised Polyvinyl Chloride

V Volts

W Watt

WC/wc Water closet

WH Wash hand

WHB Wash hand basin

WK Week

WP/wp Waterproofing

# GENERAL RULES

Schedule of Rates Descriptions

001	There are three levels of description for each Schedule of Rates item.  Each of these, in particular, the Medium Description set out in the scope of Works envisaged for an Order for that item.

002	Each item has a 6 character numeric code reference and a single character alpha priority code reference:

Example:

125001	E	Chimney: Ball chimney flue, clear obstruction and 		IT    	34.39

clean up including all associated work, and remove

waste and debris, - [as an emergency priority (see below)]

Items are grouped in the following sections:

- Foundations;

- Groundworks;

- Fencing and Gates;

- Drainage;

- Brickwork;

- Masonry;

- Roofing;

- Carpentry and Joinery;

- Plasterwork and other Finishes;

- Wall and Floor Tile and Sheet Finishes;

- Painting and Decorating;

- Cleaning and Clearance;

- Glazing;

- Plumbing;

- Heating;

- Electrical;

- Disabled Adaptations and Minor Works; and

- Specialist Treatments

- Maintenance Works to Energy Efficiency Appliances and Components.

The single character priority code references are as follows:

e.g.	Priority E – Emergency

Priority U – Urgent

Priority R – Routine

Priority X – User defined

All Works are to be completed within the Response Periods indicated in Contract Details.

003	Each item in the Schedule of Rates represents the entire work content of the particular repair set out in the Schedule of Rates item.  The Service Provider is deemed to have included for all ancillary items that are necessary to achieve the particular repair even though those items not specifically referred to in the Schedule of Rates item.

004	Descriptions in the Schedule of Rates may have minor inconsistencies in terminology between relative items and also between the three levels of Description for each item contained within the Contract Documents. This is due to the computer field size limitations and Order application of the Client's computer system. Where the context requires, minor omissions of text should not be taken to mean that work in connection with a particular repair and maintenance item in the Schedule of Rates can be left incomplete.

005	In the Schedule of Rates the following definitions of measurement units are applicable:

HR  –  per hour

NO  –  per number or each

IT   –  per item i.e. comprising the whole of the Works as detailed

LM  –  per linear metre

SM  –  per square metre

CM  –  per cubic metre

PR  -   per pair

006	The following definitions apply in the Schedule of Rates:

| “approved”, “directed” or “selected” | means as approved, directed or selected by the Client Representative whose decision shall be final. |
| --- | --- |
| “ease” | means make minor adjustments to moving parts of the stated component to achieve a good fit in both open and closed positions and ensure free movement in relation to fixed surrounds, unless stated otherwise and make good as necessary; |
| “make good” | means carry out local remedial work to components, features and finishes which have been disturbed by other, previous Work under this Contract and leave in a sound and neat condition. The replacement of components or parts of components and redecoration of adjacent surfaces is not included; |
| “patch” | refers to a net area of under 1m2; |
| “remove” | means disconnect, dismantle (as necessary) and remove the stated element, work or component and all associated accessories, fastenings, supports, linings and bedding materials, and dispose of unwanted materials including all removal and replacement required to gain access for the work. The removal of associated pipework, wiring, ductwork and/or other services is not included unless otherwise stated; |
| “renew” | means remove the existing item, supply and fix or fit the appropriate new replacement item(s) including all fitting, piecing out and preparatory work. All items include the supply and fixing of all materials required unless specifically referred to as supplied by others, "fix only" or "free issue"; |
| “repair” | means carry out local remedial works to component features and finishes as found in the existing building, secure or refix, touch up/make good decorations as necessary and leave in a sound and neat condition. The replacement of components or parts of components and redecoration of adjacent surfaces is not included; |
| “replace” | means remove the stated existing components, features and finishes, provide and fit matching (or other specified) new components, features or finishes and make good as necessary; |
| “to match existing” | means use products, materials and methods to match closely all visual characteristics and features of the existing work, with joints between existing and new work being as inconspicuous as possible, all to the approval of the Client Representative; |
| “fix”, “install” or “lay” | means supply and fix new Materials including all preparatory work; |

007	The Schedule of Rates contains composite items which are designed to cover a number of potential repairs to a particular component or installation e.g Overhaul WC pan. When a composite item for repair is ordered the Service Provider is required to carry out all necessary repairs as may be required to the component or installation in order to effect a complete repair.  If there is a subsequent fault to the same component or installation and such fault is, in the reasonable opinion of the Client Representative, deemed to be an integral part of the composite repair item which should have been attended to at the previous visit, then the Service Provider shall carry out such further remedial repairs as are necessary as a recall and at no extra charge to the Client.

008	The Schedule of Rates contains both elemental and composite items for particular repair, maintenance and renewal items.  For example there are composite items for complete roof covering renewals which includes for tiles (including eaves, ridge tiles, verges,vents), underfelting, battens , renewal of flashings, soakers etc., and there are individual Schedule of Rates items covering these separate components.  Where a complete repair/renewal is required such as a roof renewal then the cost chargeable will be based on the composite Schedule of Rate item(s) and not by adding together the individual Schedule of Rate items for each separate component part.

009	The selection of the Schedule of Rates codes to be used in the evaluation of any Works Order shall be at the sole and absolute decision of the Client Representative.

# MEASUREMENT RULES

The rules for the measurement of items included in this Schedule of Rates will be those detailed within the All Trade Preambles and this Appendix as follows:

.1	For items in the Schedule of Rates which are measured (indicated in LM/SM/CM), the Client will reimburse the Service Provider for works on the following basis.

The use of an item and the usage rate is less than 1 (one) the charge shall be as for 1 (one) whole. Where however, more than 1 (one) whole is used reimbursement shall be pro-rata the item schedule rate i.e. 1.27 LM, SM, or CM = 1.27 to two decimal places, (multiplied) by the unit schedule rate.

.2	For Items in the Schedule of Rates where the Unit of Measure is per No. (Number) or IT (Item), then the charge shall be as for 1 (one) whole multiplied by the unit schedule rate.

.3	For Items in the Schedule of Rates where the Unit of Measure is per HR (Hour) then the charge shall be to two decimal places, recorded to the nearest 15 mins, irrespective of whether more or less than 1 (one) whole i.e. 0.50, 1.25 etc., multiplied by the unit schedule rate.

Specific rules for the measurement of scaffolding, only where reimbursable by operation of the provisions contained in the Price Framework are as follows:

.1	General scaffolding is designated in ranges of girth and height. The girth shall mean the horizontal length measured along the face of the structure to which access is required. The height shall mean the vertical height measured from average scaffold base plate level to the upper surface of the top working platform. In the case of a scaffolding with top working platforms at differing levels the average height shall be used.

.2	Scaffold towers is itemised and designated by vertical height irrespective of plan dimensions. The height shall mean the vertical height measured from the tower base plates/wheels as appropriate to the upper surface of the top working platform. The items are deemed to include for providing towers of any suitable dimensions to suit access available.

.3	Chimney scaffolding is itemised and designated by height above ground level, irrespective of the girth. The height shall mean the vertical height measured from ground level to the upper surface of the working platform.

.4	Working platforms to general scaffolding are deemed to be four boards wide and shall be measured per linear metres of platform.

.5	For any type of scaffolding the additional height above working platforms due to handrails, screens, gantries and the like is deemed to be included.

# MEASUREMENT PREAMBLES

The following are provided as indicative examples only and should be reviewed and adapted as necessary by the Client, prior to incorporation into any tender or other Contract documentation, to ensure that they are fully compatible with the maintenance service to be provided and the particular Schedule of Rates with which they are to be used.

## Generally

Generally Rates Deemed to Include

A.	Rates for all Schedule of Rates items in all trades generally are deemed to include as appropriate for the following:

.1	All work that can reasonably be deemed to be included either as good workmanship, including the provision of materials and plant, or accepted practice whether or not specifically referred to in this document, the Client Representative’s decision on this will be final.

.2	Clearing away all arisings, redundant materials, debris, rubbish etc., from site including damping down to reduce dust, loading into skips at ground level, skip hire or equivalent, transport and landfill and other waste disposal charges including any recycling costs.

.3	The removal and disposal of all non regulated asbestos containing materials eg artex, vinyl floor tiling.

.4	Working in conjunction with all non regulated asbestos containing materials eg artex, vinyl floor tiling.

.5	Scaffolding, staging, towers, hoists, cradles and access ladders etc., as required up to and including second storey eaves level above ground level (including chimneys, gables, dormers and the like to two storey structures and below), including maintaining in accordance with appropriate safety regulations, clearing away on completion and making good all work damaged or disturbed.

.6	Temporary supports, shoring or hoarding to existing structure including maintaining, adapting and clearing away on completion and making good all work damaged or disturbed.

.7	Temporary dustproof, weatherproof and security screens, etc., as required complete with doors including maintaining, adapting and clearing away on completion and making good all work damaged or disturbed.

.8	All setting and marking out, including provision and removal of temporary profiles.

.9	Taking up any necessary boarding, de-nailing timbers, relaying boarding and punching in nail heads.

.10	Taking off and re-fixing gutters, downpipes, TV/radio aerials, satellite dishes, electricity, TV, British Telecom cables and the like to facilitate the renewal or repair of any component.

.11	Removing all screws, nails, plugs and the like associated with the removal of any item.

.12	Setting aside, storing, cleaning and subsequently re-fixing items described as re-fixed.

.13	Setting aside, protecting and reinstating tenants’ goods, chattels, fixtures, fittings and other property and clearing roof space where necessary to undertake the works ordered.

.14	Fixing to any surface with nails, screws, blocks, glue, bolts etc., as required including drilling, packing and scribing.

.15	Jointing and or finishing new materials including additional material where required.

.16	Jointing and or finishing new materials to existing including additional material where required.

.17	Matching all materials to existing.

.18	Making good existing structure, finishings etc., as necessary.

.19	Protecting the whole of the works.

.20	Seeking the approvals of the Client and or Client Representative in respect of any Works including any reasonable waiting or other down time whilst awaiting approval.

The Service Provider is to allow in his tender for any additional costs that he considers may be necessary.

## Excavation and Earthwork

Excavaton and Earthwork Rates Deemed to Include

A.	Rates for excavation and earthwork are additionally deemed to include as appropriate for the following:

.1	Clearing all site vegetation, lifting turf for preservation, storing, maintaining and subsequently preparing ground, relaying and watering and application of weedkiller.

.2	Grubbing up vegetation, roots, uncharted drains and services, etc., that may be encountered.

.3	Working in or next to existing buildings.

.4	Working next to public footpaths, roads and the like.

.5	Working next to or around existing services, maintaining and protecting as required.

.6	Levelling and compacting formation level, backfilling and compacting selected material and disposal of all surplus excavated material from site.

.7	Excavating by hand or mechanical means, no additional cost will be entertained if it is found that the proposed method is impractical.

.8	Multiple handling of excavated material.

.9	Breaking up any material encountered including concrete, brickwork, stonework or rock.

.10	Earthwork support including everything necessary to uphold the sides of the excavations.

.11	Allowances for working space as necessary to accommodate formwork, brickwork, rendering, tanking or similar work including additional excavation, earthwork support, backfilling and disposal.

.12	Blinding surfaces of hardcore beds and filling to excavations with approved fine material.

.13	Disposal of ground and surface water, including by pumping if necessary.

.14	Temporary barriers, warning signs and the like, watching and lighting.

The Service Provider is to allow in his tender for any additional costs that he considers may be necessary.

## Drainage

Drainage Rates Deemed to Include

A.	Rates for drainage are additionally deemed to include as appropriate for the following:

.1	Clearing all site vegetation, lifting turf for preservation, storing, maintaining and subsequently preparing ground, relating and watering and application of weedkiller.

.2	Excavation by hand or machine as necessary and appropriate for the location of the work.

.3	Working in or next to existing buildings.

.4	Working next to public footpaths, roads and the like.

.5	Working next to or around existing services, maintaining and protecting as required.

.6	Levelling and compacting formation level, backfilling and compacting selected material and disposal of all surplus excavated material from site.

.7	Earthwork support including everything necessary to uphold the sides of the excavations.

.8	Allowances for working space as necessary for formwork, brickwork, rendering, tanking or similar work including additional excavation, earthwork support, backfilling and disposal.

.9	Blinding surfaces of hardcore beds and filling to excavations with approved fine material.

.10	Disposal of ground and surface water.

.11	Breaking up and removing concrete, brickwork, blockwork, rock and other obstructions.

.12	Sulphate resisting cement where required.

.13	Formwork and temporary support to concrete where required.

.14	Temporary diversion of existing drains, maintaining flow and subsequently reinstating on completion of the works.

.15	Stopping off ends of redundant drains.

.16	Jointing new drains to existing.

.17	Vertical expansion boards to concrete surrounds at pipe joints.

.18	Coring, cleaning and flushing all drains, gullies and manholes etc., on completion.

.19	Testing all drainage, commissioning and providing all certificates required by the relevant authorities, bodies or the Client.

The Service Provider is to allow in his tender for any additional costs that he considers may be necessary.

## Concrete Work

Concrete Work Rates Deemed to Include

A.	Rates for concrete work are additionally deemed to include as appropriate for the following:

.1	Sulphate resisting cement where required.

.2	Ordinary and fair face formwork and temporary supports to all concrete where required.

.3	Filling into or on to formwork and well tamping around reinforcement.

.4	Tamped, trowelled or any other surface finish to concrete beds etc.

.5	Forming all holes, mortices, chases and the like.

.6	Rolling margins on all reinforcing bar.

.7	Cutting, bending or forming reinforcement to required shape and for all hooks, tying wire, spacers, chairs and the like.

.8	Reinforcement to cast insitu concrete (where required) and all precast concrete.

.9	Laps, tying wire and temporary supports to fabric reinforcement.

.10	Provision of a polythene DPC laid on sand blinding for all internal solid floor constructions or repairs, whether specifically stated or not.

.11	Welted and sealed laps and turn ups/downturns to damp-proof membranes.

.12	Lintels, cills and the like including the provision of all cast-in fixing blocks, slips or strips as required.

.13	Bedding precast concrete lintels, padstones etc., in cement or cement lime mortar and pointing as required.

.14	Provision of all cast-in fixing blocks, slips or strips required by other trades into cast insitu and precast components.

.15	Provision of hand or machine mixed concrete as appropriate to the nature and circumstances of work being undertaken.

The Service Provider is to allow in his tender for any additional costs that he considers may be necessary.

## Plumbing and Heating

Plumbing and Heating Rates Deemed to Include

A.	Rates for plumbing and heating are additionally deemed to include as appropriate for the following:

.1	Stripping out redundant or defective pipework, fittings and the like not specifically referred to in the priced Schedule of Rates descriptions.

.2	Cutting or forming holes, mortices, chases and the like in the existing structure and making good all work disturbed.

.3	Renewing, installing or repairing any valves, taps, cocks, fittings, sanitaryware and the like shall include for shutting any external or internal valves to isolate the relevant circuit or sub-circuit and draining any residual water from the circuit or sub-circuit pipework.

.4	Draining down any or part of any water services installations and subsequently refilling, venting adjusting and setting temperature and controls.

.5	Removing and subsequently replacing or renewing insulation, access panels, floor boarding, shelving and the like in order to gain access to the work.

.6	Extending, altering and adapting existing pipework to suit any new work including all directional changes, providing any additional pipework, fittings or other materials required.

.7	All fittings, angles, ends, stop ends, swannecks, outlets, brackets, clips, spacers, etc., all joints and connections including adaptors, joints to existing and to drains.

.8	Knotting, priming, stopping, filling and painting two undercoats and one gloss finishing coat of oil colour on all new woodwork replaced in connection with this section to match existing decoration.

.9	Priming and painting two undercoats and one gloss finishing coat of oil colour on all new exposed pipework or radiators to match existing decorations.

.10	Labelling pipe runs, valves, stopcocks and other similar fittings.

.11	Items of sanitaryware include for all accessories such as overflow, waste, chains, plugs etc., sealing joints between fitting and adjacent surfaces with a neat bead of anti-mould jointing silicone, and leaving the fitting in pristine condition and full working order.

.12	Cleaning of all sanitaryware and other fittings, upon completion to remove all marks and leave in a pristine condition.

.13	Removal of all swarf and foreign matter from storage tanks, cisterns, cylinders and the like on completion, thoroughly flushing throughout to clean and resetting any valves, ballvalves and the like to ensure correct water level.

.14	Installing, repairing or renewing cisterns, tanks and cylinders and the like include where appropriate for the transfer of any functional electric immersion heater from the existing to new component.

.15	Rates for grab bars, grab rails, shower curtains, shower head riser rails and all like accessories are deemed to include for provision of all necessary brackets, flanges, pattresses and similar items where specifically stated or not in Schedule of Rates descriptions.

Plumbing and Heating Rates Deemed to Include

A.	Rates for plumbing and heating are additionally deemed to include as appropriate for the following (Cont’d)

.16	Overhauling any item is to include for removing, dismantling and replacing any work or defective part, greasing or oiling where appropriate, reassembling to leave in perfect working order and refixing.

.17	Earthing and bonding all plumbing and associated metalwork in conjunction with Schedule items whether specifically stated or not in Schedule of Rates descriptions.

.18	Testing all services, fittings, appliances, etc., commissioning and providing all certificates required by the relevant gas, oil, water or electrical authorities, bodies or the Client.

The Service Provider is to allow in his tender for any additional costs that he considers may be necessary.