# CDM 2015

# REQUIRED HEALTH & SAFETY MANAGEMENT, CONTROLS and

# PRE-CONSTRUCTION

# INFORMATION

for

External Repairs & Decorations

At

Lydiard House

Lydiard Park

Swindon

CLIENT:

Swindon Borough Council

July 2019

CONTENTS

SECTION 1		-		DESCRIPTION OF PROJECT

SECTION 2		-		CLIENT’S CONSIDERATIONS AND MANAGEMENT					REQUIREMENTS

SECTION 3		-		SIGNIFICANT DESIGN AND CONSTRUCTION												HAZARDS

SECTION 4		-		ENVIRONMENTAL RESTRICTIONS AND

EXISTING ON-SITE RISKS

SECTION 5		-		HEALTH & SAFETY FILE

|  | Name | Date |
| --- | --- | --- |
| Prepared By | Des Allen | 07:10:2019 |
| Reviewed by |  |  |

Amendment Schedule

| Change no. | Date | DETAILS | By |
| --- | --- | --- | --- |

# CONSTRUCTION (DESIGN AND MANAGEMENT) REGULATIONS 2015

# PRE-CONSTRUCTION INFORMATION

# 1.	Description of Project

A.	Details and Location of Construction Work

|  | Render& Masonry Repairs & Redecorations. Lydiard House, Lydiard Park , Swindon SN5 3PA. Lydiard House is a Grade 1 Listed Building. |
| --- | --- |

i.	Key Dates																																																										ii.	Mobilisation

|  | Planned Start Date : Apr 2020 Planned Finish Date: Nov 2020 Project Duration: 30 Weeks |  | Minimum time for mobilisation after appointment of the Principal Contractor: 3/4weeks |
| --- | --- | --- | --- |

B.	Contact Details

i.	Client Details

|  | Swindon Borough Council Euclid Street Swindon SN1 2JH |
| --- | --- |

ii.	Principal Designer Details

|  | Desmond Allen Tel: 01793 463029 email: dallen@swindon.gov.uk Swindon Borough Council Wyvern House Theatre Square Swindon SN1 1QN |
| --- | --- |

iii.	Client Project Manager Details

|  | Des Allen Tel 01793 463029 email: dallen@swindon.gov.uk Swindon Borough Council Wyvern House Theatre Square Swindon SN1 1QN |
| --- | --- |

ii.	Name, Address and Telephone Number of Lead Architect

|  | N/A |
| --- | --- |

iii.	Name, Address and Telephone Number of Consulting Structural Engineer

|  | N/A |
| --- | --- |

iv.	Name, Address, and Telephone Number of Mechanical Engineer

|  | N/A |
| --- | --- |

v.	Name, Address, and Telephone Number of Electrical Engineer

|  | N/A |
| --- | --- |

viii.	Other Consultants Details

|  | N/A |
| --- | --- |

C.		Will the structure be used as a workplace, taking into account the Workplace (Health, Safety and Welfare) Regulations 1992?

|  | Yes |
| --- | --- |

D.	Extent and Location of existing Records & Plans

|  | The following documents / information was included within the tender documents Drawings Photographs Site Plan |
| --- | --- |

2. 	Client’s Considerations and Management Requirements

A						Arrangements for:

i.	In conjunction with Reg 13. Planning and managing the construction work, including the health & safety goals for the project

|  | In line with the general principles of prevention, The health and safety objective is to complete the project on time and as specified with due regard to the health, safety and welfare of the Principal Contractor’s employees, other Contractor’s employees, Client’s employees, visitors and uninvited members of the public. A hazard identification and hierarchy of risk control system will be required by the Principal Contractor to eliminate, reduce, isolate or control any risks from hazards identified throughout the project to achieve the safety goals Hazards which are identified throughout the project are to be managed and controlled by the Principal Contractor by the creation of specific work task risk assessments and method statements to reduce risks. The Principal Contractor will appoint a competent person (i.e. who has attained the CITB Site Manager Safety Training Sceme or similar) who has responsibility for the daily management of the project In addition, the Principal Contractor shall set out in his Construction Phase Plan specific proposals to reduce accidents/incidents. These proposals shall identify: The most likely types of hazards (i.e. Working at height (on roof), lifting operations, etc) on the project The control measures proposed Target accident levels for the project (which should be set to give a clear improvement on current company statistics) Procedures for training, monitoring, review and audit Whether workforce incentive schemes are appropriate, and if so, the details How the above is to be ‘sold’ to all on site, particularly the subcontract labour The Principal Contractor shall implement a comprehensive monitoring regime to ensure that risks to his employees, other contractors, and anyone else who could be effected are adequately controlled. The Principal Contractor must instigate a suitable regime of formal site safety inspections. Inspections are to be recorded and made available for inspection by the Client, his representative and the Principal Designer |
| --- | --- |

i.	Planning and managing the construction work, including the health & safety goals for the project (continued)

|  | The Principal Contractor is required to submit a Construction Phase Plan which adresses significant hazards such as: Segregation of existing site users, public and unauthorised persons Manual Handling Lifting operations Working from Height (Methods/equipment used) Work equipment (PAT tested/storage/daily visual inspections) Protection against utility hazards Plant and vehicle movement to ensure safe segregation for pedestrians Risk form Leptospirosis Risk of burns from working with lime and cement Hot works from lead working The Principal Contractor is to include, as a minimum, the following Site Rules that will apply to the project: Management commitment Project detail Appropriate PPE to be worn at all times Mobile phones only to be used within the site welfare facilities, except if needed for an emergency No radios, ipods or similar No smoking All operatives will wear identification at all times No wearing of shorts No swearing Keep a tidy and secure work area (no work equipment is to be left unattended). This includes welfare facilities and storage areas Emergency access/egress routes to be kept clear at all times. All operatives and visitors to sign in and out of the site when arriving or leaving |
| --- | --- |

ii. 			Arrangements for communication and liaison between Client and others

|  | The Principal Contractor is to attend meetings with any third parties as requested, (i.e, Contract Administrator, Principal Designer, Project Manager) If requested, the Principal Contractor shall attend a weekly meeting with the SBC Project Manager to advise on progress and significant works that may affect their undertaking. Agenda items should include: Principal Contractor Work agenda for forthcoming week Special deliveries Unusual/hazardous activities Details of any accidents/incidents Non-contract health and safety concerns Project Management Project amendments Special activities At design meetings, the Principal Contractor is to present a programme to enable adequate control of health and safety issues, such as special hazards identified by designers and permit to work requirements, etc. Design/progress meetings are to be identified by the Project Manager/ Principal Designer. All meetings are to be attended by the Principal Contractor The Principal Contractor shall communicate to the Principal Designer any additional design work and/or unforeseen eventualities necessitating changes to the design which could affect the Construction Phase Plan. Any changes required as a result of design changes shall be agreed with the Lead Designer. This document will remain live and will be amended and distributed as required. |
| --- | --- |

iii 	Arrangements for security of the site

|  | All contractors’ personnel are to be monitored by signing in and out at all times. Site access and egress should be managed by a suitable and sufficient controlling and monitoring system to prevent unauthorised access by any third party. Banksmen must be provided at all times at construction site access / egress point to ensure safe plant movements The Principal Contractor shall set out his specific proposals for site set up in the Construction Phase Plan. |
| --- | --- |

iv.     Arrangements for welfare provision

|  | It is the Principal Contractor’s responsibility to ensure that the welfare facilities are of a standard laid down in Schedule 2 and Reg. 4,13 & 15 of the Construction (Design and Management) Regulations 2015 or better for the anticipated number of persons that will be using them, and that they are adequetly maintained and cleaned according to conditions and amount of use. It is proposed that the site compound is located close to the public car off the main entrance drive. This will be agreed and confirmed with the successful contractor. If necessary he shall enhance the facilities to ensure he is providing welfare facilities which are truly reflective of an employer that is seriously committed to raising standards. This should manifest itself in the standard of provision (space, repair, and decor), consumables (towels, soaps) and cleanliness (separation of dirty areas, cleaning frequency). The Principal Contractor shall set out his specific proposals regarding quantity and location of welfare facilities in his Construction Phase Plan. |
| --- | --- |

B.	Requirements relating to the health & safety of the Client’s employees or customers or those involved in the project

i.	Site hoarding and segregation requirements

|  | The external site protection to prevent unauthorised access will be as agreed between the Client, Principal Designer and PC This temporary works must be designed and managed by the Principal contractor A site plan showing the location of waste, storage, office and welfare facilities must be included as part of the Principal Contractor’s Construction Phase Plan. |
| --- | --- |

ii.	Special on site transport arrangements or vehicle movement restrictions

|  | All vehicle and plant movement in relation to works on the construction site must be controlled and supervised by a competent banksman. Part of the courtyard provides access to the main house and also a fire exit route. All vehicles and plant must be appropriately secured when not in use. |
| --- | --- |

iii.     Client permit to work systems

|  | The Principal Contractor will be required to implement a permit to work system for hazardous activities (i.e. hot works, utility and ground works) Details regarding the permits to work system must be included as part of the Principal Contractor’s Construction Phase Plan. |
| --- | --- |

iv.					Fire Precautions

|  | The construction phase plan must include an initial Fire Risk Assessment which identifies compliance with HSG168. PC must obtain a copy of fire plans During construction, an easily accessible fire information pack is to be available for emergency services during silent hours. Information must include detail of all flammable materials, contact details, storage areas, firefighting equipment etc. Particular care must be taken where hot works are proposed these must not be carried out in situ but in a safe location away from the premises and then lifted and fixed in position when cooled. These works must be monitored. |
| --- | --- |

v.							Emergency procedures and means of escape

|  | During the period of this project, there must be a suitable and sufficient emergency plan in place to protect against potential emergency situations. Systems to be operational include: A means of raising an audible alarm in the case of a fire from the Where reasonably practicable to install fire detection during construction Means of escape – with all on site made explicitly aware Suitable types and numbers of firefighting equipment Coordination, communication and agreement of all emergency plans must be between all other relevant parties (i.e. school management & Principal Contractor). The Main Fire and Rescue station is: Drove Road Swindon Wiltshire SN1 3AD All calls for emergency assistance must be by 999 The Principal Contractor must keep all people on site informed at all times of any changes to temporary means of escape before they are implemented. The Principal Contractor must agree all temporary means of escape with the Local Authority where proposed circulation and escapes routes may affect access for the Emergency services. Drawings must be maintained to show all temporary means of escape routes for both the existing site occupants, visitors and construction workers during the construction phase. All temporary means of escape must be kept clear of obstructions at all times and provided with adequate lighting and signage at regular intervals on long routes and changes of directions. Suitable signage should be located where they are clearly visible and must be securely fixed. |
| --- | --- |

v.							Emergency procedures and means of escape (continued)

|  | The Principal Contractor will be responsible for developing proposals and providing signage for the construction site to cover day-to-day access, information and emergency matters. The Principal Contractor must provide suitably trained first aid personnel and adequate equipment as appropriate for the health and safety hazards and maximum number of operatives working on the project at any one time Any RIDDOR notifications must be communicated (brief details) to the site management, Project Manager and the Principal Designer as soon as practical after the accident/incident. All RIDDOR notifications are to be recorded, and information regarding any investigation and subsequent actions are to be reviewed at progress meetings. The nearest A&E department is located at: Great Western Hospital Marlborough Road Swindon SN3 6BB Tel: 01793 604020 |
| --- | --- |

vi.    “No go areas” or other authorisation requirements

N/A

vii.    Confined Spaces

viii.			Smoking and Parking restrictions

|  | Smoking is not permitted on the site and therefore must be external of the construction site Parking of contractor vehicles must not impede on existing parking facilities under any circumstance (unless by prior agreement) |
| --- | --- |

Ix.  			Other requirements

|  | None |
| --- | --- |

3.     Significant design and construction hazards

A      Significant design assumptions and suggested work methods, sequences or other control measures

|  | No significant hazards have yet been identified that would not normally be encountered by a competent contractor. The contractor should be aware that any hot works (lead soldering) should not be carried out in-situ but on a suitable platform/working area and fixed in position when cooled. Existing paint work is to be prepared by sanding, no hot work stripping of paint is permitted. |
| --- | --- |

B.    Arrangements for Co-ordination of on-going design work and handling design

changes

|  | Should site conditions or additional works require the design to be revised, the Principal Contractor shall bring this to the attention of the Contract Administrator and the Principal Designer. They will then notify members of the project team as appropriate. Where a significant health and safety issue arises this shall be discussed with the Principal designer. The Contractor shall pass the Construction Phase Plan to the Principal designer prior to commencement of the works. At the end of the contract, the Principal Contractor shall pass the revised Construction Phase Plan, including modifications, to the Lead designer. |
| --- | --- |

C.     Information on significant risks identified during design

|  | Both the Initial and current Design Team have not at this stage reported on any significant risks identified during the design stage that would not normally be encountered by a competent contractor. On appointment, the design team must create and maintain a suitable risk register to identify significant health and safety risks and guidance to control those risks. The Principal designer will support and provide guidance regarding the creation of the register. The risk register must incorporate all risks associated with The Construction Phase Future cleaning and maintenance |
| --- | --- |

D.     Materials requiring particular precautions

|  | The Design Team must identify any materials to be used that would require any special or specific precautions that would not normally be known by a competent Principal Contractor. Detail of any special / significant hazards (i.e. weights or special lengths of materials must be identified by design disciplines and communicated to all. The manufacturers’ or suppliers’ safety data sheets for any hazardous materials and products, should be obtained and appropriate precautions observed. If any substance identified to be used during the progression of these works has a Working Exposure Limit (WEL) as defined by the COSHH Regulations, a full risk assessment must be completed. The Principal Contractor shall ensure that the exposure is either prevented or, where not reasonably practicable, is adequately controlled. The Principal Contractor should also ensure that all persons affected by the work are informed of the Working Exposure Limit and the method of control, and that the operative is given appropriate instruction, training and supervision to ensure that the work can be carried out safely. |
| --- | --- |

4.						Environmental restrictions and existing on-site hazards

A.     Safety hazards including:

i. 	Boundaries and access, including temporary access

|  | The roads to the site are accessible for general construction traffic although they are regularly used by parents and children attending Tregoze school located off Hay Lane. The main Lydiard house visitors’ car park is located off the main drive. The main entrance to the house, conference centre & stable block café and offices is located at the North West end on the main drive and is very well used by guests, visitors and the general public. Vehicles must be carefully controlled in this area. Deliveries of plant and materials should be arranged wherever possible between 7:30 and 9.00am Bridges – None identified within the vicinity Height restrictions – None identified within the vicinity Weight restrictions – None identified within the vicinity . |
| --- | --- |

ii.	Restrictions on deliveries, waste collection or storage

|  | Access to the site will be via the main drive off Hay Lane (limited parking ) The Principal Contractor to ensure a competent banksman is always available to supervise deliveries/collections. A Suitable and safe segregation between vehicles / plant movement and pedestrian management and control system must be created Primary and secondary lighting must be provided where natural light is assessed by contractor as not sufficient Clear Access for emergency vehicles to be provided at all times. PC to manage deliveries / collections to ensure no impact on peak traffic movements of local residents. |
| --- | --- |

iii. 	Adjacent Land Uses and Related Restrictions

|  | Railways – None within the vicinity Water- Ornamental lake and dam Other construction sites – None known within the vicinity Industrial sites –None The North courtyard is used as a fire escape route from the service corridor and also the main entrance to the museum area of the mansion. The rear garden area is also a fire exit route exiting via gate onto the drive leading from the visitor car park. |
| --- | --- |

iv. 				Existing storage of hazardous materials

|  | The Principal Contractor is to ensure any hazardous materials are managed in a legally compliant manner to reduce risks of Fire, Spills / contamination All ground workers must wear suitable PPE to reduce risks from “absorption” of animal waste when working in adjacent to drains |
| --- | --- |

v. 						Location of existing services (Underground, overhead and concealed)

|  | The PC must ensure all contractors are made aware of surveys and that any ground breaking activities are complimented at least by CAT scanning and hand digs where assessed necessary. In addition to the survey reports, the Principal Contractor must also ensure a local scan is undertaken prior to any excavations / ground works. |
| --- | --- |

vi. 		Ground conditions, underground structures or water courses (that may affect works)

|  | PC must ensure suitable PPE used for any grounds works to protect workforce against any contaminants. (i.e. cloth gloves not acceptable) Note – no specific contaminants Geotech survey and soil investigation not required |
| --- | --- |

vii. 		Information about existing structures (stability, structural form, fragile or hazardous materials, or anchorage points for fall arrest systems)

|  | unknown |
| --- | --- |

viii. 		Previous structural modifications (including weakening or strengthening)

|  | unknown |
| --- | --- |

ix. 			Fire Damage, Ground shrinkage, movement or poor maintenance which may have affected the structure

|  | None identified |
| --- | --- |

x. 					Difficulties relating to plant or equipment in the premises

|  | N/A |
| --- | --- |

xi. 	Health and safety information contained in earlier design, construction or as built drawings

|  | No unusual Hazards or risks have yet been identified |
| --- | --- |

xii.			Temporary / False Works

|  | All enabling, false or temporary works must comply with either BS 5975:2008 or BS EN 12812 : 2004 The Principal Contractor must identify the Temporary Works Designer within the Construction Phase Plan, who will manage and control any temporary or false works. (Detail must include competence of the responsible person) When Scaffolding is to be included as temporary works and must comply with either TG:20 or have a specific designs available for review. |
| --- | --- |

xiii.							Additional safety hazards

All appointed contractors must be competent and well resourced to undertake the project work awarded. They are expected to have full awareness of the inherent hazards associated with construction activities within their own specialist areas, and have the ability to manage those risks to current legal standards and industry best practice.

B.     Health Hazards, including:

i.       Asbestos, including results of surveys

|  | The Work areas will have a the latest management survey All operatives must still have received asbestos awareness training, in line with the CAR 2012. The Principal designer will provide full contact detail of Asbestos company who has specific knowledge of site and is recommended by client as Asbestos specialist Initial Contact detail Swindon Borough Council asbestos team. Contact Chris Harvey 07818 510458 No work shall commence on site until a suitable and sufficient management survey has been provided to the PC All contractors must comply with CAR 2012 with special attention to Reg 10 If any new Asbestos Containing Materials (ACM) identified or presumed, work must stop immediately and be referred to the Borough’s Asbestos Team for appraisal and action to enable suitable work plan to be created. Any removal works are to be completed under licenced and competent contractors. All works must be completed as required by best practice and HSE guidance. Asbestos register to be updated at all times and amendments recorded. |
| --- | --- |

ii.      Existing hazardous materials

|  | None expected, however the Principal Contractor is to review prior to full commencement on site. The Principal Contractor is to ensure any hazardous materials are managed in a legally compliant manner to prevent any contamination by Inhalation, Absorption, Ingestion or Injection. Discussion should be held with onsite manager to understand hazards |
| --- | --- |

iii.     Contaminated land including results of surveys

|  | None identified to date |
| --- | --- |

iv.     Existing structures containing hazardous materials

|  | unknown |
| --- | --- |

v.     Health risks arising from clients activities

|  | None |
| --- | --- |

vi.							Additional health hazards

N/A

5.						Health & Safety File

Format and content

|  | In line with Regulation 12, Designers and the Principal Contractor should provide relevant information regarding significant and unusual H&S hazards associated with the project, to the Principal designer. The File will be structured as detailed in Appendix D The information required in section (A) must be provided to the Principal designer as the construction phases progress The file in conjunction with the O&M’s is to be created on site throughout the build period of the project between the Principal contractor and the Principal designer Instructions to amend the file will be communicated by the Principal designer. Information must be provided continually throughout the project, and finally, two weeks prior to practical completion of the works. Initially, it is required that two hard and two electronic copy will be provided on completion of the project. |
| --- | --- |

6.	Miscellaneous Items