# Pre-Construction Information

# And

# Health & Safety Plan

For:

External & Internal Planned, Decoration and associated minor works to council Housing & Sheltered Stock within the Borough of Swindon.

- Bob May Court

- Midwinter Gardens

- Mountbatten House

- Harold Thorpe Gardens

- Elizabeth House

- Herbert Harvey Court

- Elsie Hazel Court

- Chilton Gardens

CLIENT:

Swindon Borough Council

CONTENTS

SECTION 1		-		DESCRIPTION OF PROJECT

SECTION 2		-		CLIENT’S CONSIDERATIONS AND MANAGEMENT					       REQUIREMENTS

SECTION 3		-		SIGNIFICANT DESIGN AND CONSTRUCTION												HAZARDS

SECTION 4		-		ENVIRONMENTAL RESTRICTIONS AND

EXISTING ON-SITE RISKS

SECTION 5		-		HEALTH & SAFETY FILE

Appendix a		-

Appendix b	          -

Appendix c		-

|  | Name | Date |
| --- | --- | --- |
| Prepared By | J Wilkins | 18th June 2019 |
| Reviewed by |  |  |

Amendment Schedule

| Change no. | Date | DETAILS | By |
| --- | --- | --- | --- |
| 0 | 18/06/19 | Initial distribution of Issue 01(Tender) | JW |

# CONSTRUCTION (DESIGN AND MANAGEMENT) REGULATIONS 2015

# PRE-CONSTRUCTION INFORMATION

# 1.	Description of Project:

A.	Details and Location of Construction Work

|  | External Planned Maintenance, Concreting and associated minor works to the Council Housing stock situated within the Borough of Swindon: This document is to enable the Principal Contractor to develop and manage the Construction Phase Plan in accordance with the CDM Regulations 2015 throughout the construction phase of the project following the successful tender process. The information contained within this document may be enhanced as the project progresses and future gathered information will be communicated to all relevant parties involved. |
| --- | --- |

i.	Key Dates																																																										ii.	Mobilisation

|  | Planned Start Date: August 19 TBC Planned Finish Date: March 31st 2021 TBC Project Duration: 104 weeks |  | Minimum time for mobilisation after appointment of the Principal Contractor: 4 weeks |
| --- | --- | --- | --- |

B.	Contact Details

i.	Client Details

|  | Swindon Borough Council Gerry O’Conner Tel: 01793 463441 email: goconner@swindon.gov.uk Wyvern House Swindon Borough Council Theatre Square Swindon SN1 1QN |
| --- | --- |

ii.	Principal Designer Details

|  | SBC Property Services Team James Wilkins Tel: 07786 020837 Swindon Borough Council email: jwilkins@swindon.gov.uk Wyvern House Swindon SN1 1QN |
| --- | --- |

iii.	Client Project Manager Details

|  | James Wilkins Tel: 07786 020837 Wyvern House email: jwilkins@swindon.gov.uk Swindon Borough Council Theatre Square Swindon SN1 1QN |
| --- | --- |

ii.	Name, Address and Telephone Number of Lead Designer

|  | Liam OFlynn Tel: 01793 463441 email: loflynn@swindon.gov.uk Swindon Borough Council Wyvern House Theatre Square Swindon Wilts SN1 1QN |
| --- | --- |

iii.	Name, Address and Telephone Number of Health and Safety Advisor

|  | Karen Kent Tel: 07467440689 Swindon Borough Council Email: kkent3@swindon.gov.uk Wyvern House Theatre Square Swindon SN1 1QN |
| --- | --- |

iv.	Name, Address, and Telephone Number of Principal Contractor

|  | To be determined |
| --- | --- |

v.	Name, Address, and Telephone Number of Electrical Engineer

|  | N/A |
| --- | --- |

viii.	Other Consultants Details

|  | Not known at present |
| --- | --- |

C.		Will the structures be used as a workplace, taking into account the Workplace (Health, Safety and Welfare) Regulations 1992?

|  | YES |
| --- | --- |

D.	Extent and Location of existing Records & Plans

|  | The following documents / information was included within the tender documents: |
| --- | --- |

2. 	Client’s Considerations and Management Requirements

| A Arrangements for:. In conjunction with Regulation 13. Planning and managing the construction work, including the health & safety goals for the project | In line with the general principles of prevention, The health and safety objective is to complete the project on time and as specified with due regard to the health, safety and welfare of the Principal Contractor’s employees, other Contractor’s employees, Client’s employees, visitors and uninvited members of the public. A hazard identification and hierarchy of risk control system will be required by the Principal Contractor to eliminate, reduce, isolate or control any risks from hazards identified throughout the project to achieve the safety goals Hazards which are identified throughout the project are to be managed and controlled by the Principal Contractor by the creation of specific work task risk assessments and method statements to reduce risks. The Principal Contractor will appoint a competent person (i.e. who has attained the CITB Site Manager Safety Training Scheme or equivalent) who has responsibility for the daily management of the project In addition, the Principal Contractor shall set out in his Construction Phase Plan specific proposals to reduce accidents/incidents. These proposals shall identify: The most likely types of hazards (i.e. Working at height, lifting operations, Coshh, etc.) on the project. The control measures proposed Target accident levels for the project (which should be set to give a clear improvement on current company statistics) Procedures for training, monitoring, review and audit Whether workforce incentive schemes are appropriate, and if so, the details How the above is to be communicated to all on site, particularly any subcontract labour. The Principal Contractor shall implement a comprehensive monitoring regime to ensure that risks to his employees, other contractors, and anyone else who could be effected are adequately controlled. The Principal Contractor must instigate a suitable procedure of formal site safety inspections. Weekly site Inspections are to be recorded and made available for monitoring by the Client, his representative and the Principal Designer. |
| --- | --- |

i.	Planning and managing the construction work, including the health & safety goals for the project (continued)

|  | The Principal Contractor is required to submit a Construction Phase Plan which adresses significant hazards such as: Segregation of existing site users and unauthorised persons Manual Handling Lifting operations Working from Height (Methods/equipment used) Work equipment (PAT tested/storage/daily visual inspections) Protection against utility hazards Plant and vehicle movement to ensure safe segregation for pedestrians The Principal Contractor is to include, as a minimum, the following Site Rules that will apply to the project: Management commitment Project detail Appropriate PPE to be worn at all times Mobile phones only to be used within the site welfare facilities, except if needed for an emergency No radios, ipods or similar No smoking All operatives will wear identification at all times Wearing of shorts by special agreement only. No swearing Keep a tidy and secure work area (no work equipment is to be left unattended). This includes welfare facilities and storage areas Emergency access/egress routes to be kept clear at all times. All operatives and visitors to sign in and out of the site when arriving or leaving |
| --- | --- |

ii. 			Arrangements for communication and liaison between Client and others

|  | The Principal Contractor is to attend meetings with any third parties as requested, (i.e. Project manager, Principal Designer. Project Coordinator ) If requested, the Principal Contractor shall attend a weekly/monthly meeting with the SBC Project Manager to report on progress and significant works that may affect their undertaking. Agenda items should include: Principal Contractor Work agenda for forthcoming week Special deliveries Unusual/hazardous activities Details of any accidents/incidents Non-contract health and safety concerns Project Management Project amendments Special activities At progress meetings the Principal Contractor is to present a programme to enable adequate control of health and safety issues, such as special hazards identified by designers and permit to work requirements, etc. Progress meetings are to be identified by the Project Manager/ Principal Designer. All meetings are to be attended by the Principal Contractor The Principal Contractor shall communicate to the Principal Designer any additional design work and/or unforeseen eventualities necessitating changes to the design which could affect the Construction Phase Plan. Any changes required as a result of design changes shall be agreed with the Project Manager. This information will be recorded. |
| --- | --- |

iii 	Arrangements for security of the site

|  | No Staff, operatives or sub-contractors shall be allowed onto site until they have undergone site induction. All contractors’ personnel are to be monitored by signing in and out at all times. Site access and egress should be managed by a suitable and sufficient controlling and monitoring system to prevent unauthorised access by any third party. Banksmen must be available at all times at construction site access / egress point to ensure safe plant movements The Principal Contractor shall set out his specific proposals for site set up in the Construction Phase Plan. |
| --- | --- |

iv.     Arrangements for welfare provision

|  | It is the Principal Contractor’s responsibility to ensure that the welfare facilities are of a standard laid down in Schedule 2 and Reg 4, 13 & 15 of the Construction (Design and Management) Regulations 2015 or better for the anticipated number of persons that will be using them, and that they are adequetly maintained and cleaned according to conditions and amount of use. If necessary he shall enhance the facilities to ensure he is providing welfare facilities which are truly reflective of an employer that is seriously committed to raising standards. This should manifest itself in the standard of provision (space, repair, décor), consumables (towels, soaps) and cleanliness (separation of dirty areas, cleaning frequency). The Principal Contractor shall set out his specific proposals regarding quantity and location of Welfare facilities in his Construction Phase Plan. |
| --- | --- |

B.	Requirements relating to the health & safety of the Client’s employees or customers or those involved in the project

i.	Site protection and segregation requirements

|  | The external site protection to prevent unauthorised access will be as agreed between the Client, Principal Designer and Contractor. This temporary works must be designed and managed by the Principal contractor for specific sites within this document. A site plan showing the location of waste, storage, office and welfare facilities must be included as part of the Principal Contractor’s Construction Phase Plan. |
| --- | --- |

ii.	Special on site transport arrangements or vehicle movement restrictions

|  | All vehicle and plant movement in relation to works on the construction site must be controlled and supervised. All vehicles and plant must be appropriately secured when not in use. |
| --- | --- |

iii.     Client Permit to work systems

|  | The Principal Contractor will be required to implement a permit to work system for hazardous activities (i.e. hot works, utility and ground works, confined spaces) Details regarding the permits to work system must be included as part of the Principal Contractor’s Construction Phase Plan. |
| --- | --- |

iv.					Fire Precautions

|  | Enhanced Fire management of the construction site must be in conjunction with the existing site specifics, if there is any existing. If there is no existing plan, then Principal Contractor must provide one. |
| --- | --- |

v.							Emergency procedures and means of escape

|  | During the period of this project, there must be a suitable and sufficient emergency plan in place to protect against potential emergency situations. Systems to be operational include: A means of raising an audible alarm in the case of a fire. Means of escape – with all on site made explicitly aware Suitable types and numbers of fire-fighting equipment Coordination, communication and agreement of all emergency plans must be shared between all relevant parties. The main Swindon Fire and Rescue station is: Drove Road Swindon SN1 3AD Tel: 01793 401240 (for Fire safety advice only) All calls for emergency assistance must be by 999 or 112 The Principal Contractor must keep all people on site informed at all times of any changes to temporary means of escape before they are implemented. The Principal Contractor must agree all temporary means of escape with the Local Authority where proposed circulation and escapes routes may affect access for the Emergency services. Drawings must be maintained to show all temporary means of escape routes for both the existing site occupants, visitors and construction workers during the construction phase. All temporary means of escape must be kept clear of obstructions at all times and provided with adequate lighting and signage at regular intervals on long routes and changes of directions. Suitable signage should be located where they are clearly visible and must be securely fixed. |
| --- | --- |

v.							Emergency procedures and means of escape (continued)

|  | The Principal Contractor will be responsible for developing proposals and providing signage for the construction site to cover day to day access, information and emergency matters. The Principal Contractor must provide suitably trained first aid personnel and adequate equipment as appropriate for the health and safety hazards and maximum number of operatives working on the project at any one time Any RIDDOR notifications must be communicated (brief details) to the site management, Project Manager and the Principal Designer as soon as practical after the accident/incident. All RIDDOR notifications are to be recorded, and information regarding any Investigation and subsequent actions are to be reviewed at progress meetings. The nearest A&E department is located at: Great Western Hospital Marlborough Rd Swindon SN3 6BB Tel: 01793 604020 |
| --- | --- |

vi.    “No go areas” or other authorisation requirements

|  | Any ”no go areas” will be identified during site inductions. |
| --- | --- |

vii.    Confined Spaces

|  | None identified at pre construction stage. |
| --- | --- |

viii.			Smoking and Parking restrictions

|  | Smoking is not permitted on the site and therefore must be external of the construction site boundaries and out of sight of local residential premises. Parking of contractor vehicles must not impede on existing parking facilities under any circumstance (unless by prior agreement) |
| --- | --- |

ix.  		Other requirements

|  | None |
| --- | --- |

3.     Significant design and construction hazards

A.      Significant design assumptions and suggested work methods, sequences or other control measures

|  | No significant hazards have yet been identified that would not normally be encountered by a competent contractor (See below 4B) |
| --- | --- |

B.    Arrangements for Co-ordination of on-going design work and handling design

changes

|  | Should site conditions or additional works require the design to be revised, the Principal Contractor shall bring this to the attention of the Principal Designer who will then notify members of the project team as appropriate for actions. Where a significant health and safety issue arises this shall be discussed with the Principal designer. The Contractor shall pass the Construction Phase Plan to the Principal designer prior to commencement of the works. At the end of the contract, the Principal Contractor shall pass the revised Construction Phase Plan, including modifications, to the Lead designer. |
| --- | --- |

C.     Information on significant risks identified during design

|  | Both the Initial and current Design Team have not at this stage reported on any significant risks identified during the design stage that would not normally be encountered by a competent contractor. On appointment, the design team must create and maintain a suitable risk register to identify significant health and safety risks and guidance to control those risks. The Principal designer will support and provide guidance regarding the creation of the register. The risk register must incorporate all risks associated with The Construction Phase Future cleaning and maintenance Future demolition or dismantling |
| --- | --- |

D.     Materials requiring particular precautions

|  | The Design Team must identify any materials to be used that would require any special or specific precautions that would not normally be known by a competent Principal Contractor. Detail of any special / significant hazards (i.e. weights or special lengths of materials must be identified by design disciplines and communicated to all. The manufacturers’ or suppliers’ safety data sheets for any hazardous materials and products should be obtained and appropriate precautions observed. If any substance identified to be used during the progression of these works has a Working Exposure Limit (WEL) as defined by the COSHH Regulations, a full risk assessment must be completed. The Principal Contractor shall ensure that the exposure is either prevented or, where not reasonably practicable, is adequately controlled. The Principal Contractor should also ensure that all persons affected by the work are informed of the Working Exposure Limit and the method of control, and that the operative is given appropriate instruction, training and supervision to ensure that the work can be carried out safely. |
| --- | --- |

4.						Environmental restrictions and existing on-site hazards

A.     Safety hazards including:

i. 	Boundaries and access, including temporary access

|  | To be advised at Site inductions |
| --- | --- |

ii.	Restrictions on deliveries, waste collection or storage

|  | The Principal Contractor to ensure a competent banksman is always available to supervise any extraordinary deliveries/collections. A Suitable and safe segregation between vehicles / plant movement and pedestrian management and control system must be created Primary and secondary lighting must be provided where natural light is assessed by contractor as not sufficient Clear Access for emergency vehicles to be provided at all times Principal Contractor to manage deliveries / collections to ensure no impact on peak traffic movements of local residents. |
| --- | --- |

iii. 	Adjacent Land Uses and Related Restrictions

|  | Areas are normally fairly restricted due to close proximity of houses and resident’s parked vehicles. |
| --- | --- |

iv. 				Existing storage of hazardous materials

|  | None expected to affect project works; however the Principal Contractor is to review prior to full commencement on site. The Principal Contractor is to ensure any hazardous materials are managed in a legally compliant manner to reduce risks of Fire / Spills / contamination There are no unusual or direct health hazards from the undertakings within the site that have been initially identified. |
| --- | --- |

v. 						Location of existing services (Underground, overhead and concealed)

|  | A full utilities survey is to be provisioned by the Principal Contractor, who must ensure all operatives are made aware of any services. Any ground breaking activities are to be complimented by hand digs where assessed necessary. In addition to the survey reports, the Principal Contractor must also ensure a local CAT scan is undertaken prior to any excavations / ground works. |
| --- | --- |

vi. 		Ground conditions, underground structures or water courses (that may affect  works)

|  | PC must ensure suitable PPE used for any grounds works to protect workforce against any contaminants. (i.e. cloth gloves not acceptable) Note – no specific contaminants identified for site, although arsenic is a known contaminant in sporadic pockets within the Swindon area. |
| --- | --- |

vii. 		Information about existing structures (stability, structural form, fragile or hazardous materials, or anchorage points for fall arrest systems)

|  | To be confirmed at Site inductions. |
| --- | --- |

viii. 		Previous structural modifications (including weakening or strengthening)

|  | N/A |
| --- | --- |

ix. 		Fire Damage, Ground shrinkage, movement or poor maintenance which may have affected the structure

|  | N/A |
| --- | --- |

x. 					Difficulties relating to plant or equipment in the premises

|  | N/A |
| --- | --- |

xi. 	Health and safety information contained in earlier design, construction or as built drawings

|  | No unusual Hazards or risks have been identified at this time. |
| --- | --- |

xii.			Temporary / False Works

|  | All enabling, false or temporary works must comply with either BS 5975:2008 or BS EN 12812 : 2004 The Principal Contractor must identify the Temporary Works Designer within the Construction Phase Plan, who will manage and control any temporary or false works. (Detail must include competence of the responsible person) When Scaffolding is to be included as temporary works and must comply with either TG20 or have a specific designs available for review. |
| --- | --- |

xiii.							Additional safety hazards

All appointed contractors must be competent and well resourced to undertake the project work awarded. They are expected to have full awareness of the inherent hazards associated with construction activities within their own specialist areas, and have the ability to manage those risks to current legal standards and industry best practice.

- Health Hazards, including:

i.       Asbestos, including results of surveys

|  | All operatives must have received asbestos awareness training, in line with the CAR 2012. A full asbestos register is available on site via premises manager. (For sheltered homes and other shared premises). An appropriate asbestos survey ie dependent on the type or nature of works, will be provided by the client prior to commencement of any works. Initial Contact detail in event of emergency: Swindon Borough Council; Chris Harvey; Tel 07818 510458 No work shall commence on site until a suitable and sufficient asbestos survey has been provided to the Principal Contractor (where required under CAR 2012 Reg.5) All contractors must comply with CAR 2012 with special attention to Reg.10 If any new Asbestos Containing Materials (ACM) identified or presumed, work must stop immediately and be referred to the Asbestos contractor for appraisal and action to enable suitable work plan to be created. Any removal works are to be completed under licenced and competent contractors. All works must be completed as required by best practice and HSE guidance. Asbestos register to be updated at all times and amendments recorded. |
| --- | --- |

ii.      Existing hazardous materials

|  | None expected, however the Principal Contractor is to review prior to full commencement on site. The Principal Contractor is to ensure any hazardous materials are managed in a legally compliant manner to prevent any contamination by Inhalation, Absorption, Ingestion or Injection. |
| --- | --- |

iii.     Contaminated land including results of surveys

|  | None identified to date |
| --- | --- |

iv.     Existing structures containing hazardous materials

|  | None identified specifically |
| --- | --- |

v.     Health risks arising from clients activities

|  | None |
| --- | --- |

vi.							Additional health hazards

None

5.						Health & Safety File

Format and content

|  | In line with Regulation 12, Designers and the Principal Contractor should provide relevant information regarding significant and unusual H&S hazards associated with the project, to the Principal designer. The File will be structured as detailed in Appendix D The information required in section (A) must be provided to the Principal designer as the construction phases progress The file in conjunction with the O&M’s is to be created on site throughout the build period of the project between the Principal contractor and the Principal designer Instructions to amend the file will be communicated by the Principal designer. Information must be provided continually throughout the project, and finally, two weeks prior to practical completion of the works. Initially, it is required that one hard and one electronic copy will be provided on completion of the project. |
| --- | --- |

6.	Miscellaneous Items