ASHFORD BOROUGH COUNCIL, CORPORATE PROPERTY AND PROJECTS

EXTERNAL REPAIRS, REDECORATION AND ASSOCIATED WORKS

CONTRACT NO. TMDEC/17/1

# Form of Tender

We are willing to contract for and hereby undertake to carry out the works included in the Specification, and drawings, (if any), prepared by or in collaboration with P.McKenner, and to his entire satisfaction, for the sum of:

| Tender Sum | £ |  |
| --- | --- | --- |
|  |  | + |
| Contingency | £ | 1,600.00 |
|  |  | = |
| Total Tender | £ |  |

The Total Tender submitted is to remain valid for a period of 120 days from the date of tender submission.

1.	For the use of a Registered Company

| *For and on behalf of |  |
| --- | --- |
| To be signed by duly authorised officers on behalf of the company |  |
| Address of Registered Office |  |

2.	For the use of a Partnership or Sole Trader

Names must be in full Christian and Surnames and in the case of a partnership, all members of the firm must sign

| Name: |  | Signature: |  |
| --- | --- | --- | --- |
| Name: |  | Signature: |  |
| Name: |  | Signature: |  |

| Trading as: |  |
| --- | --- |

| Address: |  |
| --- | --- |

| Date: |  |  |
| --- | --- | --- |

3.	For the use of a Direct Services Organisation or other Organisation

To be signed by duly authorised Officers on behalf of Direct Services Organisation or other Organisations

| Name: |  | Signature: |  |
| --- | --- | --- | --- |
| Name: |  | Signature: |  |

Notes:	(a)	Ashford Borough Council do not bind themselves to accept the lowest or any tender.

(b)	No tender will be considered where the tenderer in any way alters the conditions of tendering. Secretaries of Registered Companies are requested to insert the full name of the Company after the words "for and on behalf of" when signing the Form of Tender.

COLLUSIVE TENDERING CERTIFICATE

TO:	Ashford Borough Council

Civic Centre

Tannery Lane

Ashford, Kent

TN23 1PL

We certify that this is a bona fide tender, and that we have not fixed or adjusted the amount of the tender by or under or in accordance with any agreement of arrangement with any other person.  We also certify that we have not done and we undertake that we will not do at any time before the hour and date specified for the return of this tender any of the following acts:

(a)	communicate to a person (outside this organisation) other than the person calling for those tenders the content of the proposed tender, except where the disclosure, in confidence, of the approximate amount of the tender was necessary to obtain insurance premium quotations required for the preparation of the tender.

(b)	enter into any agreement or arrangement with any other person (outside this organisation) that they shall refrain from tendering or as to the amount of any tender to be submitted.

(c)	offer or pay or give or agree to pay or give any sum of money or valuable consideration directly or indirectly to any person for doing or having done or causing or having caused to be done in relation to any other tender or proposed tender to the said work any act or thing of the sort described above.

In this certificate, the word 'person' includes any persons and body or association, corporate or unincorporated; and 'any agreement or arrangement' includes any such transaction, formal or informal, and whether legally binding or not.

| Signed: |  | Name: |  |
| --- | --- | --- | --- |

(in BLOCK CAPITALS)

| In the capacity of: |  |
| --- | --- |

duly authorised to give such certificate for and on behalf of

| (in block capitals) |  |
| --- | --- |

| Telephone No: |  |
| --- | --- |

| Fax No: |  |
| --- | --- |

| Email: |  |
| --- | --- |

| Address: |  |
| --- | --- |

ASHFORD BOROUGH COUNCIL, CORPORATE PROPERTY & PROJECTS

THE EQUALITIES ACT 2010

In accordance with Section 18 of the Local Government Act 1988 this form duly completed and signed MUST be returned with your tender.  Failure to return the form may result in your tender not being considered for acceptance.

| Question | Answer |
| --- | --- |
| Is it your policy as an employer to comply with your statutory obligations under the Equalities Act 2010 and, accordingly, your practice not to treat one group of people less favourably than others because of their colour, race, nationality or ethnic origin in relation to decisions to recruit, train or promote employees? |  |
| 2. Is your policy on discrimination set out: (a) in instructions to those concerned with recruitment, training and promotion; (b) in documents available to employees, recognised trade unions or other representative groups or employees; (c) in recruitment advertisements or other literature? |  |
| Do you observe as far as possible the Commission for Racial Equality's Code of Practice for Employment, as approved by Parliament in 1983, which gives practical guidance to employers and others on the elimination of racial discrimination and the promotion of equality of opportunity in employment, including the steps that can be taken to encourage members of the ethnic minorities to apply for jobs or take up training opportunities? |  |
| In the last three years, has any finding of unlawful racial discrimination been made against your Organisation by any court or industrial tribunal? |  |
| In the last three years, has your Organisation been the subject of formal investigation by the Commission for Racial Equality on grounds of alleged unlawful discrimination? |  |
| If the answer to question 4 is in the affirmative or, in relation to question 5 the Commission made a finding to your Organisation, what steps did you take in consequence of that finding? |  |

| Signed: |  |
| --- | --- |

| Company: |  |
| --- | --- |

| Date: |  |
| --- | --- |

ASHFORD BOROUGH COUNCIL, CORPORATE PROPERTY

AND PROJECTS

###### CONDITIONS OF TENDER

EXTERNAL REPAIRS, REDECORATION AND ASSOCIATED WORKS

CONTRACT NO. TMDEC/17/1

- The Tender Sum must provide for all costs associated with the Description of Works in the Preliminaries and for satisfying all other obligations as set out in the Preliminaries and Specification.

- The Total Tender must be exclusive of VAT, but in addition to the Total Tender the Contractor shall be entitled to claim from the Employer the amount of VAT properly chargeable on the component parts and service provided by him in the performance of the Contract.

- The tender is to be priced in accordance with current legislation and the Instructions to Tenderers.

- The essence of selective tendering is that the Employer shall receive bona-fide competitive Tenders from all persons tendering.  In recognition of this principle, the Tenderer is to complete and return with his Tender the Collusive Tendering Certificate.  Failure to do this may result in the disqualification of his Tender.

- The Tenderer (whether his Tender is accepted or not) shall treat all documents relating to this Tender as confidential and in the event of a Tender not being submitted, all the enclosed documents must be returned to the Employer.  The documents must not be passed or shown to any other person without the Employer's written consent.

- The Employer shall not be bound to accept the lowest or any Tender and reserves the right to accept a Tender in part only.

- The Employer shall not be responsible for, nor pay for, any expenses or losses which may be incurred by the Tenderer in the preparation of his Tender, or in respect of any cost associated therewith.

- The Tender is to remain open for acceptance for 120 days from the date of submission of Tenders.

- On submission of a Form of Tender duly completed and returned to the Employer in accordance with the provisions hereof a Tenderer will be deemed to have offered to carry out the services.

- No Tender shall be deemed to have been accepted unless notified in writing.

The Tenderer shall in addition to the Form of Tender, fully price the Specification and Collection Sheet.  Failure by the Tenderer to fully complete and return the Tender documentation may result in the Tender not being considered for acceptance.

- The Total Tender is to include the contingency sum of £1,600.00 which is to be expended only upon written instructions from the Contract Administrator.

- The Contractor’s Tender Including the Form of Tender together with all documentation supplied by the Employer to the Tenderer, must be duly completed and submitted to Ashford Borough Council through the e:tendering portal the Kent Business Portal by no later than 14:30hrs on Friday 15th December 2017.  Any tender submitted after such date may not be considered for acceptance.

- If the Tenderer is a Local Authority the Form of Tender MUST be accompanied with a signed statement in respect of Work undertaken by the Local Authority/DSO for bodies pursuant to the Local Authorities (Goods and Services) Act 1970 and under Section 111 of the Local Government Act 1972.  The Statement must contain a general description of all Works undertaken by the DSO identifying.

  - Whether such Work is undertaken for the DSO Authority of some other body and, if some other body, the name of that body and the value of the Works.

  - The Value of each aspect of Work.

  - The Percentage (by value) of all Work undertaken for bodies other than the DSO Authority in relation to the total value of the Work undertaken by the DSO.

Failure to provide such a statement in a clear and readily understandable format may render the tender invalid.

INSTRUCTIONS TO TENDERERS

IMPORTANT – PLEASE READ BEFORE PRICING THIS TENDER

- The Conditions of Contract shall be the JCT Agreement for Minor Building Works 2011 Edition (incorporating Amendment 1) and amended as set forth in the Schedule of Insertions/Deletions in the Contract. In addition the following provision shall be deemed incorporated. Where an appropriate Agrèment, British Standard Specification or British Standard Code of Practice issued by the British Standard Institution or a recognised body of any member state of the EC is current at date of the tender, all goods and services used or supplied and all workmanship shall be in accordance with that Agreement and/or Standard.

- The Tenderer is advised to visit the sites before tendering to ascertain all relevant local conditions, the full extent and character of the operation the accessibility of the site, the dimensions of the work and facilities for obtaining any special articles, and obtain generally his own information on all matters affecting the execution of the works.  No claims arising for his failure to do so will be considered. Should the Tenderer wish to inspect individual properties, at least 24 hours written notice must be given if requested by the tenant, in order to comply with the Council's tenancy conditions.

- At any time before a date fourteen days before the date specified in 13 hereof a tenderer may by communication to the Employer request information or raise any query in connection with the proposed contract or these Conditions of Tender.

- No alteration, deletion or insertion shall be made by the Tenderer to the text or prices of the Tender documents and if any are so made, they will be invalid and Tenders may be rejected.

- Where the Specification includes detailed schedules of work, the scheduled items are to be individually priced and the whole document returned with the Tender.

- The Tenderer must specify at the time of tendering any additional guarantees he is prepared to offer.

- The prices entered by the tenderer shall include for all cost including (but not restricted to) all labour, materials, transport, plant, tools, machinery costs, expenses, overheads and profit necessary to properly execute and complete the Work in accordance with this contract.

- No claim for extra costs due to the rates being inadequate will be allowed, and self-measurement where necessary is deemed to be included.

- The prices entered should allow for access and working platforms as necessary to be used during the course of works up to two metres high.

1.00	PRELIMINARIES

1.01	TENDER DOCUMENTS:

Form of Tender

Collusive Tendering Certificate

Race Relations Declaration

Conditions of Tender

Preliminaries

Specification

Preliminary Costs

Collection Sheet

Appendices;

Appendix A – plans

Appendix B – pre construction phase health & safety plan

Appendix C - ps540 solignum architectural water based data

Appendix D – torkill fungicidal solution & solignum architectural os

Tender Evaluation Criteria

1.02	NAMES OF PARTIES:

EMPLOYER

Ashford Borough Council, Civic Centre, Tannery Lane, Ashford, Kent, TN23 1PL

CONTRACT ADMINISTRATOR

P. Mckenner (or his duly authorised representative)

Ashford Borough Council, Civic Centre, Ashford, Kent, TN23 1PL	Tel. No. (01233) 331111

PRINCIPAL DESIGNER

Ashford Borough Council, Civic Centre, Ashford, Kent, TN23 1PL 	(Contact: Mr J Murray)

Tel. No.  (01233) 330268

  - DEFINITIONS

Contract means: Form of Contract, Form of Tender, Collusive Tendering Certificate, Race Relations Declaration, Conditions of Tender, Preliminaries, Specification, Preliminary Costs, Collection Sheet, Tender Evaluation Criteria, Appendices; Plans; site plan, site plan showing are for contractors compound, parking area etc, Pre Construction Health & Safety Plan, Technical Data

Contractor means: 	The person, whose tender is accepted by the Employer.

Total Tender means:	The total sum, set forth in the Form of Tender annexed hereto.

Reference in these contract documents to ‘Ashford Borough Council’ or ‘the Council’ will be deemed to mean ‘the employer’ as stated in 1.02 above unless the context shows that it is obviously different.

  - SITUATION OF SITES

Tenterden, Kent.

1.05	DESCRIPTION OF WORKS

Localised timber repairs to the external timber cladding and external redecoration

# 1.06	DEFINITIONS AND INTERPRETATION

The following definitions shall be used for the purpose of interpreting the contract and all documents relating thereto:-

Contract means: 	the Form of Agreement, JCT Agreement for Minor Building Works 2011, Form of Tender, Collusive Tendering Certificate, Race Relations Declaration, The Conditions of Tender, The Specification, The Schedule of Rates, The Appendices, Contractor’s Method Statement.

Contractor means: 	the tenderer whose tender has been formally accepted by the Employer.

Contract Period means:	the period commencing 5th February to 16th March 2018.

Current Regulations

means: 			 those in force at the time of tendering.

Dayworks means: 	a pricing mechanism for works not covered by the Schedule of Rates. Comprises all hourly rates for operatives plus the net cost for materials and plant, uplifted by a tendered percentage. Defined in RICS publication.

Existing Structures

means: 	The building or buildings owned by the Employer and in  which the Works are to be carried out.

Materials means: 	all materials, fixtures, fittings and ancillary items used by the Contractor and incorporated into the finished work.

## Normal working

## hours means:    	08.00 to 17.30 inclusive Monday to Friday excluding Bank Holidays

Plant means: 	items of specialist equipment needed to carry out the works but shall not include those items that could, in the opinion of the Contract Administrator, reasonably be expected to be regularly used by the Contractor.

Plant shall only be used on those works that warrant the use of specialist equipment.  If in doubt the Contractor shall clarify whether an item will be treated as “plant” with the Contract Administrator before hiring the same.

Weekday means: 	Monday to Friday inclusive (excluding English bank holidays)

Work means: 	the matters described in Item 1.05 of the Preliminaries including any goods or materials to be supplied by the Contractor and any variations or additions thereof arising under the Contract.

1.07	FORM OF CONTRACT

The form of Contract shall be the Minor Works Building Contract issued by the Joint Contracts Tribunal Ltd. 2011.

1.08 	AMENDMENTS TO FORM OF CONTRACT

Recitals

1st  Recital	After the words “the Employer wishes the following work carried out” insert “The provision of a Localised Repairs to External Timber Cladding and External Redecoration Contract.” After the words “to be carried out under the direction of” insert “Mr P Mckenner, Head of Corporate Property and Projects.” The words “the Architect” shall be deleted. The words "drawings numbered" (hereinafter called "The Contract Drawings") shall be deleted.

2nd Recital	delete [all reference to “Contract Drawings”]

3rd  Recital	 delete “or Work Schedules”

4th  Recital	delete

5th  Recital	delete

Articles

Article 2	delete

Article 3	insert “Paul Mckenner, Contract Administrator”

Article 4	delete

Article 5	delete

Contract Particulars

Fourth Recital and Schedule 2	(Base Date) - Insert “16th November 2017”

Fourth Recital and Clause 4.2	delete “is a ‘contractor’”

Fifth Recital	delete “is not notifiable”

Article 7	delete “do not apply”

1.1 – CDM Planning Period	insert the words “from award of Contract until commencement of construction” after the words “shall mean the period”

Clause 1.8	shall be inserted: All materials shall conform and work shall be done to the standards required for compliance with the regulations, standards and codes of practice in force at the time of installation or execution.

Clause 2.2	delete and substitute with; “the contract period shall be the period commencing 5th February 2018 and end on 16th March 2018”

Clause 2.2	Date for Commencement of the Works - Insert “5th February 2018”

Clause 2.2	Date for Completion: Insert “6 weeks after commencement”

Clause 2.2	delete “may” and substitute with “shall”

Clause 2.4	reference to Contract Drawings shall be deleted.

1.08 	AMENDMENTS TO FORM OF CONTRACT (contd.)

Clause 2.8	Delete the first sentence and substitute with the following: If the works are not completed by the Date for Completion stated in the Contract Particulars or by any later Date for Completion fixed under Clause 2.7 then the Contractor shall pay to the Employer liquidated damages at the rate of (F x D) + (A x U) per week for every week during which the work remains uncompleted where:

F = £277.30

A = £ 33.45

U = The number of units in respect of which works remain uncompleted

Clause 2.10	 After the words “Rectification Period” insert “twelve months from completion of all properties on the contract”

Clause 3.7	delete

Clause 4.2	delete

Clause 4.3.2	delete

Clause 4.5	delete “14 days” and insert “28 days”

Clause 4.8.2	delete “14 days” and insert “28 days”

Clause 4.11 and Schedule 2	Delete

Clause 5.3.2	Insert “10 million”

Clause 5.4A	delete

Clause 6.6	 add the following; "The Employer shall be entitled to cancel the contract and to recover from the Contractor the amount of any loss resulting from such cancellation:

- If the Contractor shall have offered or given or agreed to give any person any gift or consideration of any kind as an inducement or reward for doing or forbearing to do or for having done or forborne to do any action in relation to the obtaining or execution of the Contract or any other Contract with the council, or for showing or forbearing to show favour or disfavour to any person in relation to the Contract or any other contract with the council or if the like acts shall have been done by any person employed by him or acting on his behalf (whether with or without the knowledge of the Contractor), or if in relation to any Contract with the council, the Contractor or any person employed by him or acting on his behalf shall have committed any offence under the Prevention of Corruption Acts 1889 to 1916, or shall have given any fee or reward the receipt of which is an offence under Section 117 (2) of the Local Government Act 1972.

- If the Collusive Tendering Certificate shall be found to be untrue in any respect.

Clause 5.4B	delete and substitute with by the following: “The Employer shall insure against loss or damage to the existing structures by fire, lightning, explosion, storm, tempest and such other risks as the Employer shall consider expedient”

Clause 6.4	delete and substitute with the following: “If the Contractor without reasonable cause (in the absolute opinion of the Contract Administrator) fails to proceed diligently with the Work in strict accord with the Specification or wholly or partially suspends the carrying out of the Work, the Contract Administrator may give notice to the Contractor which specifies the default and requires it to be ended.

Clause 6.4.2	delete

1.09	CONTRACT ADMINISTRATOR

The Contract Administrator or her nominated representative(s) shall act on behalf of the Council for the purpose of the Contract and shall have the authority to issue instructions to the Contractor on matters relating to the performance of the Contract.

## 1.10	DOCUMENTS MUTUALLY EXPLANATORY

The Contract is formed from several documents and shall be taken as being mutually explanatory of each other, any anomalies or discrepancies shall be referred to the Contract Administrator for clarification. Any such clarification shall be confirmed to the Contractor in writing by the Contract Administrator.

1.11	TENDER RATES

Nothing contained in the Tender documents shall modify, affect or override the interpretation or application of any paragraph in the Specification.

The Tendered rates in the Form of Tender and “Schedule of Rates/Dayworks/Preliminary Costs/Schedule of Dwellings” shall be fixed for the duration of the Contract, and include for all expenses to properly execute and complete the works.

The Tendered rates should include for all costs including (but not restricted to) all labour, material, transport, plant tools, machinery costs, expenses, overheads and profit necessary to properly execute and complete the work.  No claim for extra costs due to the tendered rates being inadequate will be allowed.

1.12	PERIOD OF CONTRACT

The period of Contract will be 6 weeks from commencement.

1.13	PROGRAMME OF WORK

Within fourteen days of the date of the Form of Agreement the Contractor shall submit to the Contract Administrator for approval a Programme of Work.  The programme shall detail on a week by week basis the order in which the Contractor proposes to undertake the Works to all the properties listed in the Schedule of Dwellings.

## 1.14	CONTACT POINT

The Contractor shall ensure that sufficient business telephone lines are available for the purpose of receiving incoming calls in respect of this Contract during normal working hours. This telephone number must be provided to the Contract Administrator at least 2 weeks prior to the commencement of the Contract.

The Contractor shall also ensure that all supervisors and key personnel employed on the Contract are provided with mobile phones, details of which are to be supplied to the Contract Administrator prior to commencement of the contract.

1.15	CONTRACT SUPERVISION

The Contractor shall ensure that a competent and qualified full time foreman is in attendance during ‘normal working hours’ to oversee and organise the progress of the Works. Such foreman shall be expected to be on site during the works and must be able to receive and act upon (on behalf of the Contractor) all instructions, directions or orders issued by the Contract Administrator.  Instructions issued to the foreman will be deemed to have been issued to the Contractor.  The foreman must liaise regularly with the tenants of the properties where works are in progress, preferably the day before, but in no case later than 9.30 a.m. on the day. Tenants must be aware if operatives are to be expected and if so what work will be carried out. The Contractor shall also ensure that the foreman is supplied with a mobile phone.  The foreman will conduct their own snag of the works and; have any appropriate remedial works carried out before declaring the works ready for inspection by the Contract Administrator.  Any subsequent defects identified shall be completed by the contractor within 7 days of notification.

1.16	EXTENT OF THE WORKS

The quantity and extent of the works specified will be at the Contract Administrator’s discretion and no minimum or maximum amount of work to each property is guaranteed.

1.17	SCHEDULE OF RATES

Nothing contained in the Schedule of Rates shall modify, affect or override the interpretation or application of any provision contained elsewhere in the Contract documents.

The tendered prices in the Schedule of Rates shall be fixed for the duration of all Contracts awarded.

The tendered Schedule of Rates prices and Dayworks rates, shall be deemed to include for all costs including (but not restricted to); all labour, material, transport, plant, tools, machinery costs, expenses, overheads and profit necessary to properly execute and complete the Works.  No claim or extra costs due to the tendered sums being inadequate will be allowed.

The Contractor shall provide all materials necessary for the execution of any work he is required to carry out under the contract and shall be responsible for the safe storage of such materials on site.

  - NON-SCHEDULE OF RATES ITEMS

Where there is no item in the Schedule of Rates for any part or parts of the Works it shall be valued by the Contract Administrator on a fair and reasonable basis having first regard to the tendered Schedule of Rates where applicable on a pro rate basis.

In the event of the Contract Administrator approving the use of Dayworks the Employer will pay to the Contractor the appropriate Tendered Daywork rates.

  - DAYWORKS

The Prime Cost of Dayworks shall be defined under the “Definition of Prime Cost of Daywork Carried out Under a Building Contract”, as published by the Royal Institution of Chartered Surveyors and the Building Employers Confederation dated 1st December 1975. The percentage adjustment in the schedule of rates for materials and plant will be the percentage adjustment to the prime cost to cover incidental costs, overheads and profit as defined in Section 6 of the Definition of Prime Cost of Daywork Carried out Under a Building Contract.

1.20	WORK RECORDS AND TIMESHEETS

The Contractor shall keep proper work records and time sheets, showing the time worked by the people in his employ in and about the execution of the Contract and produce such whenever required for inspection by any person authorised by the Employer.

1.21	PERFORMANCE OF WORK

The Contractor will confirm with the tenant, as soon as practicable, dates and times for the execution of the Works, providing at least seven days’ notice of commencement to ensure access when required. Once arrangements have been made with the tenant, the Contractor must confirm with the Contract Administrator the dates prior to commencement of the Works. Any problems with obtaining access should be reported to the Contract Administrator immediately. Every effort is to be made by the Contractor during the course of the Work to ensure that the continuity of services is maintained. The Contractor shall give a card to the tenant giving his name, address and telephone numbers for both in office hours and out of office hours.

The Contractor will only be allowed to advertise in a manner approved by the Contract Administrator.

The Contractor shall inform the Contract Administrator when existing hidden work is exposed. Such work is not to be covered prior to an inspection by the Contract Administrator.

The contractor will be expected and encouraged to maintain a consistent team of operatives dedicated to this and any continuation contracts. This is important to ensure good communications between contractor and employer and mutual understanding of expected levels of workmanship and methods of performing the works. It is in the contractor’s interest to provide a consistent team as agreed methods working practices and standards of workmanship etc. conveyed to the foreman verbally or in writing will be expected to be disseminated to all operatives and applied thereafter across all properties. No exemptions will be given to new operatives on site who are not familiar with the agreed site practices.

If the Contractor is unable to complete the Works within the specified period he shall immediately notify the Contract Administrator stating the reasons/events for delay and the extent of the delay. Consideration will be given to an extension of time calculated in accordance with the contract.

1.22	TEMPORARY SUPPLIES

The Contractor shall provide and include for any temporary water supply or temporary lighting and power he may require for the Works and pay all fees and charges in connection therewith and remove the same on completion. Alternatively the Contractor should allow in his prices the costs of reimbursing the tenants if their power supplies are used.

1.23	MANAGEMENT ON SITE

Adequate site storage facilities and skips for materials and plant must be provided and sited in a position approved by the Contract Administrator.  The storage of materials in the individual properties will not be acceptable.

The Contractor is to maintain excellent communications with the tenant and provide at least 24 hours’ notice of his need for access to undertake work each day in order to comply with the Council's tenancy conditions.

The Contractor is requested to provide an ‘outside normal working hours’ contact telephone number for emergencies or call outs.

The Contractor shall be responsible for all damage or loss caused by or arising from the work including tenants' fixtures, fittings and possessions.

Care is to be observed when placing ladders, etc., against roofs, walls, etc., and the Contractor will be required to put right any subsequent damage or disturbance to decorations, structure and grounds caused.

As a minimum the Contractor shall provide all personnel employed by him or engaged upon the work with a form of identification approved by the Contract Administrator which must contain the following details:

(1)	Photograph of Operative

- Operative's Name

- The Contractor's Name, Address and Telephone Number

This identification card shall always be worn clipped to the overalls when calling at tenants premises.

The Contractor is to protect all trees, shrubs and flowers except those that must be removed to enable the works to be executed and to replace any that become damaged at his own expense.

The Contractor will be responsible for finding suitable locations for skips and storage etc., approved by the Contract Administrator, and obtaining licences where required.

Plant, materials and waste should be stored in a tidy manner to keep obstruction and/or nuisance to a minimum.  No materials are to be stored in the open.

On completion of the works the Contractor is to thoroughly clean the site and remove all splashes, debris, rubbish and accumulated materials relating to the works.

The Contractor is to maintain and protect public roads and footpaths, including statutory services and similar undertakings, and is to make good or pay for any reinstatement of all damage thereto.

Any water used shall be potable.

Welfare facilities and storage on site

The Contractor will be required to provide (in accordance with the Construction Regulations) and properly maintain in use the site facilities shown below. Their location is to be agreed with the Contract Administrator and (with the exception of skips) must be contained within one site compound fixed for the duration of the contract period unless otherwise directed by the Contract Administrator:

- Site Hut (heated) – to provide temporary site office and mess facilities, to include the provision of table; chairs; washing facilities including hot and cold (or warm water), basin or bucket, waste water collection/disposal, soap and towels.

- Materials Storage Container – central storage for unfixed materials on site and plant

- Portaloo

- Skip (separate skip for Asbestos waste as required – must be within compound)

- Recycling Storage

‘Compound’ will be deemed to mean an area fenced off with 2m high proprietary galvanised wire fencing panels.

The cost of these facilities is to be included in the Schedule of Rates under “Preliminaries”. The contractor is to assume there will be no charge for the land occupied by the site compound.

1.24	PARTY WALL ACT AND ENCROACHMENT

The Contractor to notify the Contract Administrator immediately if the proposed works necessitate a notice to be served

If the execution of Works requires that workmen must enter upon property adjoining the Works, the necessary permission must first be obtained by the Contractor.  The Contractor shall indemnify the Employer against any claim or action for damages on account of any trespass or other misconduct of his employees.  Workman will be allowed only into such parts of the site and buildings as may be necessary to execute the Works.

1.25	MATERIALS AND WORKMANSHIP

Unless otherwise specified where an appropriate Agreement, Standard Specification or Standard Code of Practice issued by either the British Standards Institution or a recognised body of any member state of the E.C. is current at the date of tender, all goods and services used or supplied and all workmanship shall be in accordance with that Agrément and/or Standard, free from flaws of defects.  The Contract Administrator shall have full power to reject any materials or workmanship which in his opinion are unsuitable for the purpose for which they are intended or are not in accordance with the specification. Any materials and workmanship rejected shall be removed from the site and proper materials or workmanship substituted therefore at the Contractor's expense.

1.26	DEFECTIVE MATERIALS OR IMPERFECT WORK

If at any time the Contract Administrator shall disapprove of any of the materials employed, the Contractor is to forthwith remove such materials from the site and to substitute others of approved quality and where any portion of the Works executed shall be considered defective or imperfect, or not in accordance with the terms of the Contract, such defective or imperfect Works shall be forthwith removed and the Works re-executed in an approved manner at the Contractor’s own cost.

If the Contractor fails to remove or make good any defective or unsatisfactory work within seven days of notification, the Contract Administrator shall, at his discretion, have the power to complete or rectify the work using an alternative Contractor and shall, in so doing, have an overriding duty to mitigate his loss.  Any costs involved in the rectification of the work, shall, at the Contract Administrator’s discretion, be re-charged to the original Contractor and the amount deducted from any monies outstanding to the original Contractor.

For avoidance of doubt this includes snagging items.  The Contractor is expected to conduct his own snag of the works in accordance with clause 1.15.  If any defective items are noted at the sign-off inspection by Contractor and C.A. they must be rectified within 7 days.

Should any claim for payment be rejected by the Contract Administrator due to defective workmanship or materials, the Contractor will be required to carry out remedial works at his own expense within seven days of notification by the Contract Administrator of defective work.  Once completed the Works will be subject to re-inspection following receipt of the re-submitted invoice.

1.27	INVOICE AND PAYMENT

Prior to the submission of an invoice a joint visit will be required to agree the schedule of rates used and any additional works.

To avoid the risk of rejected invoices necessitating re-submission and inherent delay, the process for invoicing and payment will be; applications for payment, agreement of figures, invoices and pay. Described as follows:

Application for payment: the contractor submits his draft account of completed works to date itemising all the SOR items and the relevant measures for each property and in accordance with the contract. The valuation and payment process will run on a 28 day cycle in accordance with the contract.

Agreement: The Contract Administrator will check the application for payment for correctness and confirm the figures are correct or identify discrepancies within 7 days. Once the figures are agreed the contractor is to submit his invoice to reflect the agreed amounts.

Invoice and payment: Once the invoice is received it will be processed immediately for payment, subject to all other conditions for payment (e.g. supporting documents, certificates provided etc.) having been met. Invoices must show the correct date of submission or else risk being rejected. The Councils’ finance team operate a weekly cycle of payments. Payment certificates are processed on a Thursday morning. Payments into suppliers/contractors accounts are made on a Tuesday. Payment will be made by BACS on the Tuesday that falls on or immediately before 14 days after the interim valuation due date. Payments can only be made when in receipt of a valid VAT compliant invoice.

Invoices will only be processed for payment if supported by; a detailed breakdown of the amount claimed and approved, all relevant electrical certificates (include. Part P certification of compliance), Gas safety certificates where applicable and a Tenants Satisfaction Note.

Valuations for payment will be determined using the  actual measured quantities fitted on site (priced in accordance with the tendered rate in the appropriate Schedule of Rates item. No additional payments will be made for product wastage unless it is in excess of that which is considered to be normal for this type of work and this will be at the Contract Administrator’s absolute discretion.

Paid measurements will be in whole units with measures =/> 0.5 rounded up.

No payment in respect of any individual property will be made unless all the Works detailed in a specified item in the Schedule of Rates and all Works listed to be carried out have been duly completed to the reasonable satisfaction of the Contract Administrator.

No valuation will include any element for unfixed materials stored on site unless specifically agreed with the Contract Administrator prior to their delivery.

Should any sum of money become payable by the Contractor to the Employer, then such sum or part thereof may be deducted by the Employer from any monies due to the Contractor whether arising from this contract or otherwise.

The Employer’s Deputy Chief Executive may require information and documents relating to accounts/invoices in order than an audit may be undertaken prior to any payment.

1.28	VARIATIONS

Where the Contract Administrator issues variations to the works, the Contractor must detail and price such in the application for payment invoice.

Any addition to, omission from, or any other change to the works, may be made by the Contract Administrator at any time.  Where this involves delay consideration will be given to extending the contract period.

1.29	STATUTORY OBLIGATIONS, NOTICES, FEES AND CHARGES

The Contractor shall comply with and give all notices required by statute, or any statutory instrument, rule or order or any regulation or by-law applicable to the works and shall pay all legally demandable fees which will be deemed to be included in the tendered rates.

  - EFFECT OF CERTIFICATES

No certificate of the Contract Administrator shall of itself be conclusive evidence that any work, materials or goods to which it relates are in accordance with this Contract except where and to the extent that any of the particular qualities of any materials or goods or any particular standard of an item of workmanship was described expressly in the Specification or Schedules of Work or in any instruction issued by the Contract Administrator to be for the approval of the Contract Administrator or to be to the satisfaction of the Contract Administrator.

1.31	VALUE ADDED TAX

The sum or sums due to the Contractor under the Contract are exclusive of value added tax and the Employer shall pay to the Contractor any value added tax properly chargeable by the Commissioners of Customs and Excise.

1.32	HEALTH AND SAFETY

The Contractor shall at all times during the Contract period comply with the requirements and provisions of the Health  and Safety at Work Act 1974 and further at his own cost must provide and maintain welfare and safety measures up to the standard outlined in the (including latest amendments of) Construction  (General  Provisions)  Regulations 1961 S.1 1580,  as amended S.I  1988  No. 1657  and S.I 1989 No.635 the Construction  (Lifting Operations)  Regulations 1961 S.I  1581,  as amended by S.I 1989 1141 the Construction (Working Places) Regulations 1966 S.94, The Construction (Health and Welfare) Regulations 1996 S.95,  as amended by S.I 1980 No.1248 and  S.I 1981 No.917 and where applicable the Work Place Health Safety and Welfare Regulations 1992, and The Factories Act 1961, Electricity at Work Regulations 1989 No.653 1990 both as regards his own work people and for the work people of the sub-contractors or specialist firms employed on the site under the supervision of the Contractor, also occupants of premises, or the public using premises, or employees  of the Employer visiting the premises which are the site of works order under this Contract.

The Contractor shall allow for suitable, heated, welfare facilities, serviced with hot and cold running water and WC facilities.  There should be a rest area and means of heating food and drying clothes etc.  The Contractor must allow for providing and maintaining power services and to relocate the facilities as necessary to be conveniently accessed, as the contract progresses from area to area.

In the carrying out of the work or services under this Contract the Contractor, and all his employees' sub-contractors and any other person working to his order shall observe all provisions statutory or otherwise.

The Pre-Construction Information (annexed hereto) is a compilation of information regarding the significant health and safety risks relating to the project, which the principal Contractor will have to manage during the course of the works.  The Contractor should take this information into account when preparing his tender, and price accordingly.

A method statement and/or risk assessment is required from the Contractor, and should be included in your tender submission.

## Construction (Design and Management) Regulations 2015

The Contractor shall at all times comply with the requirements and provisions of the Construction (Design and Management) Regulations 2015.

A method statement and/or risk assessment is required by the Contractor, and should be included in your tender submission.

The Principal Contractor is responsible for developing and preparing the Safety File for this project.  The completed Safety File will be passed to the Employer at Practical Completion

The Principal Designer will be the Contract Administrator.

1.33	ASBESTOS

Working with Asbestos: When carrying out work of any kind on asbestos based materials particular attention is drawn to Ashford Borough Council’s Code of Practice, the Control of Asbestos Regulations 2012 and Statement of Policy on asbestos which will be strictly enforced and is available on request.

The employer will commission asbestos surveys where appropriate to identify and make the contractor aware of any Asbestos Containing Materials (ACM’s) so far as is reasonably practicable that might be disturbed by the works before they start. If there is any doubt as to the likely presence of any ACM’s then a survey will be requested. If there is very good reason to presume there are no ACM’s present (e.g. age of property or significant preceding negative surveys for similar properties) then no survey will be done for that property in advance.

In any event, the Contractor must be aware that ACM’s may be discovered during the course of the works. It is therefore essential that all operatives have received Asbestos Awareness Training in the last two years and are fully conversant with the Contractors RAMS in this regard. In particular all operatives must be aware of the emergency procedures should an ACM be disturbed AND likely to have released fibres above the control limit.

The Contractor will be required to submit his asbestos related RAMS and Asbestos Policy prior to the works starting together with records showing the asbestos training of operatives so that an assessment of their asbestos competency can be undertaken.

The employer expects the Contractor to be fully conversant with the types of ACM’s that are typically encountered with this type of work and in this archetype and the relative regulations ACoPs and HSE Asbestos Essentials Information sheets such that they are aware what work requires an asbestos licensed contractor and what work is notifiable to the HSE. The expectation is that the Contractor will use its own operatives to undertake any un-licensed non-notifiable works in a safe approved manner. If the Contractor chooses to use a licensed contractor for unlicensed non-notifiable works the employer will not entertain any claims for additional costs incurred. When pricing the SOR for removal and disposal of ceilings and floor tiles the Contractor is to presume these are ACM’s and allow for all additional costs in their price.

The contractor will be required to provide waste consignment notes and Plans of work for all ACM’s removed. In addition, where works are notifiable a copy of the ASB5 notice to the HSE will be required as well as Certificates for re-occupancy. The employer will provide the analyst to supervise licensed works, monitor air quality and complete the four stage clearance tests of enclosures.

The Employer required all notifiable works to be undertaken by a Licensed Asbestos Removal Contractor.

1.34	ENVIRONMENTAL POLICY

General building materials shall be sourced from a supplier holding ISO14001 certification, proving environmentally aware management systems.

The Contractor is responsible for recycling or disposing of waste at approved disposal sites and shall include the costs thereof within his tender.  Waste is to be cleared from dwellings at the end of the day.  On no account is waste to be stored in gardens, not even on a temporary basis.

Waste arising from works that is not recyclable is to be stored in enclosed, skips until full.  All full skips must be removed from site immediately. The Contractor is responsible for supplying all skips required and finding suitable locations for them.  The Contractor is also responsible for obtaining all licences and approvals required.

The Contractor will implement and observe the Employer's Code of Practice for noise and dust from construction sites.  If the works specified require the use of a substance and there is a choice available of two or more substances that are similarly priced then the Contractor will give preference to the substance which causes the least environmental harm and then the substance that is produced by the least environmentally damaging process. In particular the Contractor will avoid the use of peat of CFC blown insulation or packing and avoid the use of the most hazardous wood preservatives.

# 1.35	ENVIRONMENTAL STATEMENT

We are becoming more aware of the pressures we are putting our planet under, global warming and resource management are of the most concern. The Stern report and the Government reassure us "it’s good business to be “Green”, most believe the planet cannot sustain the human race unless we practice being “Green”.

1.36	DEFECTS LIABILITY

Upon completion of all specified Works the Contract Administrator shall issue a certificate of practical completion and the defects liability period will commence.  The defects liability period for the works shall be for a period of 12 months from the certified date of practical completion.

Any defects, shrinkages or other faults which arise and/or are identified and are notified by the Contract Administrator to the Contractor not later than 14 days after the expiry of the defects liability period, and which are due to defective materials and/or workmanship, shall be made good by the Contractor at no cost to the Employer. The Contract Administrator (with the consent of the Employer) reserves the right to elect not to have certain defects remedied and make appropriate deductions (to reflect the estimated saving to the Contractor) from retention monies held accordingly (see 1.38: Retention)

The Contractor will agree access with the tenant to rectify defective work giving reasonable notice. Any problems gaining access are to be reported immediately to the Contract Administrator.

Any defects or remedial work reported to the Contractor within the defects period are to be rectified as soon as possible and at the latest within 7 calendar days of the Contract Administrator informing the Contractor of the defect.  Defects of any emergency nature, i.e. water/gas leaks and electrical faults, etc., are to be rectified immediately including out of office hours.  If the Contractor cannot honour this obligation, the Employer may engage others to do the work and re-charge costs incurred to the Contractor.

1.38	RETENTION

The Employer shall be entitled to deduct a retention from monies due to the Contractor. This will be 5% of the value of completed work during the works. At Practical Completion half of this retention will be released (2.5%) with the remaining 2.5% being released at completion of Defects. The retention monies shall be released by  the Employer to the Contractor at the end of the defects liability period subject to all defects being satisfactorily rectified and the provisions of clause 1.37 (Defects Liability).

1.39	SUB-CONTRACTING AND ASSIGNING

The Contractor shall not sub-contract the Works or any part thereof without the prior written consent of the Contract Administrator.

Such consent to be given or refused at the absolute discretion of the Contract Administrator.

The Contractor shall not assign the Contract.

1.40 	INSURANCES

Injury to or death of persons

The Contractor shall be liable for and shall indemnify the Employer against any expense, liability, loss, claim or proceedings whatsoever arising under any statue or at common law in respect of personal injury to or death of any person whomsoever arising out of or in the course of or caused by the carrying out of the Works, except to the extent that the same is due to any act or neglect of the Employer or of any person for whom the Employer is responsible.  Without prejudice to his liability to indemnify the Employer the Contractor shall take out and maintain and shall cause any sub-contractor to take out and maintain insurance which, in respect of liability to employees or apprentices shall comply with the Employer's Liability (Compulsory Insurance) Act 1969 and any statutory orders made thereunder or any amendment or re-enactment thereof and in respect of any other liability for personal injury or death shall be such as is necessary to cover the liability of the Contractor or, as the case may be, or such sub-contractor.

Injury or damage to property

The Contractor shall be liable for, and shall indemnify the Employer against, any expense, liability, loss, claim or proceedings in respect of injury or damage whatsoever to any property real or personal (other than injury or damage to the Works) insofar as such injury or damage arises out of or in the course of or by reason of carrying out of the Works and to the extent that the same is due to any negligence, breach of statutory duty, omission or default of the Contractor, his servants or agents, or of any person employed or engaged by the Contractor upon or in connection with the Works or any part thereof, his servants and agents.  Without prejudice to his obligation to indemnify the Employer the Contractor shall take out and maintain and shall cause any sub-contractor to take out and maintain insurance in respect of the liability referred to above in respect of injury or damage to any property real or personal other than the Works which shall be for an amount not less than the sum stated below for any one occurrence or series of occurrences arising out of one event:

Insurance cover referred to above to be not less than £10,000,000 (Ten Million Pounds)

The Contractor shall upon request by the Contract Administrator submit evidence of the insurances referred to above.

1.41	EQUALITY ACT 2010

- The Contractor and any Sub-Contractor employed by the Contractor shall adopt a policy to comply with employers’ statutory obligations under the Equalities Act 2010 and, accordingly, will not discriminate directly or indirectly against any person because of their colour, race, nationality or national or ethnic origin in relation to decisions to recruit, train, promote, discipline or dismiss employees.

- The Contractor and any Sub-Contractor employed by the Contractor shall observe as far as possible the Commission for Racial Equality’s Code of Practice for Employment as approved by Parliament in 1983, which gives practical guidance to employers and others on the elimination of racial discriminations and the promotion of equality of opportunity in employment.

- In the event of any finding of unlawful racial discrimination being made against the Contractor or any Sub-Contractor employed by the Contractor during the contract period by any court of industrial tribunal, or of any adverse finding in any formal investigation by the Commission for Racial Equality over the same period, the Contractor shall inform the Council of this finding and of the steps taken to prevent repetition of the unlawful discrimination.

1.42	TERMINATION OF CONTRACT

If the contract is terminated we may offer the work to the tenderer who submitted the second most favourable tender provided they maintain the rates originally tendered.

1.43 	FREEDOM OF INFORMATION

- The Company acknowledges that the Council is subject to the requirements of the Freedom of Information Act 2000 (“the Act”) and the Environmental Information Regulations 2004 (“the Regulations”) and shall assist and co-operate with the Council (at the Company’s expense) to enable the Council to comply with Information disclosure requirements

- The Company shall and shall procure that its sub-contractors shall:

  - transfer the Request for Information to the Council as soon as practicable after receipt and in any event within two working days of receiving a request for information

  - provide the Council with a copy of all Information in its possession or power in the form that the Council requires within five working days (or such other period as the Council may specify) of the Council requesting that Information and

  - provide all necessary assistance as reasonably requested by the Council to enable the Council to respond to a Request for Information within the time for compliance set out in section 10 of the Act or regulation 5 of the Regulations

- The Council shall be responsible for determining at its absolute  discretion whether the Commercially Sensitive Information and/or any other Information:

  - is exempt from disclosure in accordance with the provisions of the Act or the Regulations

  - is to be disclosed in response to a Request for Information, and in no event shall the Company respond directly to a Request for Information unless expressly authorised to do so by the Council

  - The Company acknowledges that the Council may, acting in accordance with the Act or the Regulations be obliged to disclose information:

  - without consulting with the Company, or

  - following consultation with the Company and having taken its views into account

- The Company shall ensure that all information produced in the course of the contract or relating to the Contract is retained for disclosure and shall permit the Council to inspect such records as requested from time to time

- The Company acknowledges that any lists or schedules provided by it outlining Confidential Information are of indicative value only and that the Council may nevertheless be obliged to disclose Confidential Information

Definitions:

Commercially Sensitive Information: comprising the information of a commercially sensitive nature relating to the Supplier, its intellectual property rights or its business or which the Supplier has indicated to the Authority that, if disclosed by the Council, would cause the Supplier significant commercial disadvantage or material financial loss.

Confidential Information: any information, however it is conveyed, that relates to the business, affairs, developments, trade secrets, know-how, personnel and suppliers of the Supplier, including intellectual property rights, together with all information derived from the above, and any other information clearly designated as being confidential (whether or not it is marked as "confidential") or which ought reasonably to be considered to be confidential, including Commercially Sensitive Information.

Environmental Information Regulations: the Environmental Information Regulations 2004 together with any guidance and/or codes of practice issued by the Information Commissioner or relevant government department in relation to such regulations.

FOIA: the Freedom of Information Act 2000, and any subordinate legislation made under the Act from time to time, together with any guidance and/or codes of practice issued by the Information Commissioner or relevant government department in relation to such legislation.

Information: has the meaning given under section 84 of FOIA.

Request for Information: a request for information or an apparent request under the Code of Practice on Access to Government Information, FOIA or the Environmental Information Regulations.

Services: the services to be delivered by or on behalf of the Supplier under this agreement.

Sub-Contract: any contract or agreement or proposed contract or agreement between the Supplier and any third party whereby that third party agrees to provide to the Supplier the Services or any part thereof or facilities or services necessary for the provision of the Services or any part thereof or necessary for the management, direction or control of the Services or any part thereof.

Sub-Contractor: the third parties that enter into a Sub-Contract with the Supplier.

  - EQUALITY AND DIVERSITY

The Supplier shall:

(a) 	perform its obligations under this Agreement (including those in relation to the Services) in accordance with:

(i) 	all applicable equality Law (whether in relation to race, sex, gender reassignment, age, disability, sexual orientation, religion or belief, pregnancy, maternity or otherwise);

(ii) 	the Council’s equality and diversity policy as provided to the Supplier from time to time; and

(iii) any other requirements and instructions which the Council reasonably imposes in connection with any equality obligations imposed on the Council at any time under applicable equality Law; and

(b) 	take all necessary steps, and inform the Council of the steps taken, to prevent unlawful discrimination designated as such by any court or tribunal, or the Equality and Human Rights Commission or (any successor organisation).

# 1.45 	DATA PROCESSORS

The Company must;

(a) 	only process personal data on the Council's instructions (this must include only keeping the data for so long as the Council specifies)

(b) take appropriate technical and organisational measures against unauthorised or unlawful processing of personal data and against accidental loss or destruction of, or damage to, personal data (this must include secure disposal of data)

(c) 	provide the Council on request with particulars of the measures taken and immediately notify the Council of any unauthorised or unlawful processing and of any accidental loss or destruction of, or damage to, personal data

(d) 	supply the Council with such personal data as the Council may request in order to comply with a request from the individual concerned for such data

(e) 	not transfer any personal data outside the European Economic Area without the prior written consent of the Council

(f) 	indemnify the Council against all claims and proceedings made or brought against the Council by any person in respect of any loss, damage or distress to that person or in the exercise of that person's statutory rights resulting from the default and/or negligent acts or omissions of the third party in the disclosure, use or destruction of any personal data by the third party (except if the disclosure, use or destruction was pursuant to a specific written instruction by the Council)

  - THE BRIBERY ACT 2010

- The Company warrants and undertakes to the Council that:

- It will comply with applicable laws, regulations, codes and sanctions relating to anti-bribery and anti-corruption including but not limited to the Bribery Act 2010 and will not  give any fee or reward the receipt of which is an offence under sub-section (2) of Section 117 of the Local Government Act 1972.

- It will procure that any person who performs or has performed services for or on its behalf (‘Associated Person’) in connection with this Agreement complies with this Clause.

- It will not enter into any agreement with any Associated Person in connection with this Agreement, unless such agreement contains undertakings on the same terms as contained in this Clause;

- It has and will maintain in place effective accounting procedures and internal controls necessary to record all expenditure in connection with the Agreement;

- From time to time, at the reasonable request of the Council it will confirm in writing that it has complied with its undertakings under this Clauses and will provide any information reasonably requested by the Council in support of such compliance;

- It shall notify the Council as soon as practicable of any breach of any of the undertakings contained within this clause of which it becomes aware.

b)	Where the Company or Company’s employees, servants, sub-Contractors, suppliers or agents or anyone acting on the Company’s behalf, engages in conduct prohibited by the Bribery Act 2010 or the Local Government Act 1972 section 117(2) in relation to this or any other contract with the Council, the Council has the right to:

- terminate the Agreement and recover from the Company the amount of any loss suffered by the Council resulting from the termination, including the cost reasonably incurred by the Council of making other arrangements for the provision of the Services and any additional expenditure incurred by the Council throughout the remainder of the Term; or

- recover in full from the Company any other loss sustained by the Council in consequence of any breach of this clause, whether or not the Contract has been terminated.

### 1.47	ADJUDICATION

Both parties to this Contract shall use their best endeavours to resolve disputes within a period of fourteen days.

All disputes between the parties arising out of or connected with the Contract or the performance of the Work by the Contractor which remain unresolved after the above period of fourteen days shall be referred to an Adjudicator to be agreed upon by the parties or in default of such agreement to be nominated by the President or Vice-President of the Royal Institute of Chartered Surveyors or nominee of such a person.  The award of such Adjudicator shall be final and binding upon the parties.  If upon the reference to an Adjudicator of any dispute between the parties, the Arbitrator shall find that in the exercise of his powers, duties and discretions under this Contract the Contract Administrator has acted unreasonably in all circumstances in the issue of any notice, instructions or certificate or the giving or withholding of any consent, the Arbitrator shall have full power to make an award which has the effect of amending such notices, instructions, certification or decision to give or withhold consent in such manner as the Adjudicator may think fit.

Notwithstanding any reference to arbitration the Contractor shall continue to perform the Services as herein provided unless otherwise instructed by the Contract Administrator.

1.48	FORCE MAJEURE

(1)	If either party is by reason of Force Majeure occurring before or after the date of this Contract rendered unable wholly or in part to carry out its obligations under this Agreement, then upon notice in writing specifying the nature of such Force Majeure from the Party affected to the other Party as soon as possible after the occurrence of the cause relied on the Party affected shall be released from its obligations and suspended from the exercise of its rights hereunder to the extent to which they are affected by the circumstances of Force Majeure and for the period during which those circumstances exist:

PROVIDED THAT

(2)	(i)	the party affected shall use all reasonable endeavours to terminate or circumvent the circumstances or impact of the Force Majeure with all reasonable speed

(ii)	nothing in this Condition shall relieve either Party of its obligations (including obligations to make payments hereunder) accrued to the date of the Notice

(3)	The Events of Force Majeure shall be limited to the following:

- war, invasion, act of foreign enemy, hostilities, civil war, riots, insurrection or military power, blockade or embargo;

- any statute, rules, regulations, order or requisitions coming into force or issued after the date hereof by Parliament or any Government Department, or other duly constituted authority;

- shipwreck or other accident at sea, in the air or on the land other than due to the Contractor's negligence or

(iv)	failure, shortage or delay of power, fuel, transport or supplies otherwise  than due to the Contractor's negligence;

- stress of weather, flood, drought, tempest, fire, explosion, corrosion, ionising, radiation, radioactive contamination, earthquake, lightening or volcanic eruption or any consequence of such occurrence.

(4)	SAVE where the consequences of Force Majeure are dealt with elsewhere the Contractor hereby undertakes to use its reasonable endeavours to provide the Services during an event of Force Majeure providing that the Contractor shall not be under any obligation to incur additional cost in excess of £200 in respect of any such event.

  - CONTRACTORS CODE OF CONDUCT

This code of conduct is has been produced to ensure that contractors who carry out work on behalf of the Council do so in a professional and courteous manner. There is nothing onerous or complicated in this code and it is simply to insure that our tenants and their homes are treated with the level of respect that you would expect if someone were carrying out work in your home.

The majority of Contractors carry out the requirements of this code as part of their normal operations and this should not add any additional burden to the current method of working.

Contractors are requested not only to apply with the laid down requirements of this code but also with the spirit in which it has been produced.

- Contractors must keep all appointments made and turn up punctually. If there are likely to be any delays, the tenant must be kept informed. (reference should be made to the Councils access protocol)

- Contractors are required to wear an appropriate form of clothing, which should be clean and tidy, and clearly display the name of the Contractor.

- Contractors must display an identification card at all times. This should include:

- photograph of the operative

- The operatives name

- The Contractors name, address and telephone number

- Contractors are not to park cars/vans on paths and grassed areas as it causes obstruction and damages the surfaces. Cars and Vans should not be driven over such areas to deliver materials or clear debris. This action nearly always results in complaints being received from members of the public, which reflects badly on the Contractor and on the Council.

- On arrival the contractor should introduce him/herself and show their identification card to the tenant. If the tenant wishes to check the legitimacy of the operative with the Council, the operative must respect the tenant’s right to do this, and wait outside the property until the tenant is satisfied they are legitimate.

- All personnel working on site will be required to understand written English and be capable of communicating with the Contractor Administrator and tenants verbally, in English. This is essential for complying with the specification, amendments, tenant liaison and Health and Safety requirements of the contract.

- Before starting work the Contractor should explain to the tenant the nature of the work that is to be carried out, how long it is likely to take and areas of the property that will be affected and confirm that this is what the tenant was expecting. Any significant differences should be referred to the Council for clarification.

- Check with the tenant before turning off any electricity, gas or water supplies to ensure it is alright to do so as this may effect fridges, freezers, fish tanks, dialysis machines, stair lifts etc. Ensure that all services are restored as soon as the work is completed.

- Contractors should treat all tenants and their homes with respect, and ensure the removal of delicate or valuable items from the work area prior to work commencing and agree the arrangements for moving furniture etc. Protective covers are to be used where required.

- If the work affects more than one room in the property, every effort should be made to limit disruption to one room at a time.

- The Contractor must comply with all relevant Health and Safety legislation and ensure that the site is kept safe at all reasonable times. All fire exits, lifts, staircases, corridors and doorways must be kept clear at all times and not obstructed by the Contractors tools or materials. Do not prop open controlled access doors/fire doors during the course of the works.

- All necessary precautions should be taken to protect carpets and flooring with the use of clean dustsheets or other protective material as appropriate.

- Obtain the tenants permission before using sinks, toilets, electricity and other services in the property.

- If it becomes necessary to leave the property before the work is completed, for example to collect additional materials, the Contractor must inform the tenant when leaving the property and of the anticipated return time. The Contractor should also inform the tenant of the reason why it is necessary to leave the property before the work is completed. Make sure it is safe to leave the work incomplete while absent from the site.

- If the tenant requests additional work to that specified, the Contractor should contact the Council for advice before carrying out such work in accordance with the contract (V.O. thresholds).

- During the course of the works the Contractor must not:

- Smoke, eat, drink or play audio equipment in resident’s homes.

- Consume alcohol or take non-prescription drugs under any circumstances.

- Use the toilet, without the prior consent of the tenant.

- Carry out works in the home without the tenant being present, unless their express consent is obtained.

- Carry out works if only minors (e.g. children under 16) are present at the property.

- Empty any substances down drains that are likely to cause staining, blockages or pollute the system.

- Use foul or abusive language or threatening behaviour. Under no circumstances should contractors cause offence, inconvenience or personal harassment to a tenant. This includes unkind, embarrassing, suggestive and inflammatory or damaging words or gestures. Respect and sensitivity should be shown for all tenants, their relatives, friends and visitors and their home at all times.

- Express their own personal views regarding, the work, Ashford Borough Council, other contractors etc.

- The contractor is to ensure that all works are complete to a satisfactory standard and that all surplus material, equipment and rubbish are removed, leaving the property clean and tidy. All services that have been affected by the works should be tested and left in full working order on completion of the work (and at the end of each day if the work is not completed in one day).

- The Contractor must inform the tenant that the work is complete and ensure that they are happy with the final result. If necessary, depending on the type of work, instruct the tenant how to operate and maintain all new equipment installed and provide operation manuals if appropriate.

- Any private work undertaken by the Contractor for the tenant must be arranged separately to work carried out for the Council. The Council will not accept any involvement or responsibility for payment for this work. Contractors should note that it is the responsibility of the Tenant to obtain the Councils prior written approval to carry out works of a structural nature to the property, and contractors will be obliged to ensure that this approval has been granted prior to carrying out any work.

- The contractor must maintain the highest levels of confidentiality regarding any personal information that is supplied to them about the tenants by the Council, also including any other information they may acquire whilst working at the tenant’s home. Contractors must not discuss with the tenant the Council’s business, other tenants, other properties, previous workmanship or other contractors.

- The contractor should not under any circumstances accept gifts from tenants.

  - TENDER EVALUATION CRITIERA

(EXAMPLE based on 70%/30% ratio)

Note:  the following is an example, and does not necessarily reflect the weightings indicated for the project.  The process, for evaluation, is the same.

Tender submissions will be evaluated using the following weightings:

Price:  (tendered costs as calculated from Schedule of Rates)  	70%

and Matrix)

Added Value: (details supplied by tenderers)		  	  30%

PRICE

70 points will be allocated to the lowest tender and then other tenders will be evaluated as a percentage of the lowest price. This is then converted to a point score to reflect that this area carries 70% of the total score. An example of this procedure is shown in the example below.

| Tender | Price £ | Calculation | Convert to 70% | Points |
| --- | --- | --- | --- | --- |
| 1 | 500 | (425÷500) x 100 = 85 | (70 x 85) ÷ 100 | 59.5 |
| 2 | 622 | (425÷622) x 100 = 68.3 | (70 x 68.3) ÷100 | 47.8 |
| 3 | 425 |  |  | 70 |
| 4 | 440 | (425÷440) x 100 = 96.5 | (70 x 96.5) ÷ 100 | 67.6 |
| 5 | 625 | (425÷625) x 100 = 68 | (70 x 68) V 100 | 47.6 |

ADDED VALUE

This section will be evaluated using the following criteria and points will be allocated for each section. The tender with the highest point score will be used as the base line to calculate the relative scores for the other tenderers. This is then converted to a point score (out of 10) to reflect that this area carries 30% of the total score.

- The tenderer’s proposed management, supervision structure and personnel; 15%

- Proposed working methods; 5%

- Labour resources that would be deployed; 5%

- Value Engineering proposals included within; 5%

| Tender | Quality score | Calculation | Convert to 30% | Points |
| --- | --- | --- | --- | --- |
| 1 | 2 | (2÷7) x 100 = 28.6 | (30 x 28.6) ÷ 100 | 8.6 |
| 2 | 5 | (5÷7) x 100 = 71.4 | (30 x 71.4) ÷100 | 21.4 |
| 3 | 4 | (4÷7) x 100 = 57.1 | (30 x 57.1) ÷ 100 | 17.1 |
| 4 | 5 | (5÷7) x 100 = 71.4 | (30 x 71.4) ÷ 100 | 21.4 |
| 5 | 7 |  |  | 30 |

The winning tender is the one which scores the greatest overall mark once Price and Quality have been combined. The results from the above examples would be as follows:

| Tender | Points awarded for Price | Points awarded for Added Value | Points Total |  |
| --- | --- | --- | --- | --- |
| 1 | 59.5 | 8.6 | 68.1 |  |
| 2 | 47.8 | 21.4 | 69.2 |  |
| 3 | 70 | 17.1 | 87.1 |  |
| 4 | 67.6 | 21.4 | 89 | Winning Bidder |
| 5 | 47.6 | 30 | 77.6 |  |

Specification

Tenterden and District Museum

Station Road

Tenterden, TN30 6HN

External Redecoration and Associated Works

November 2017

Ashford Borough Council

Civic Centre, Tannery Lane, Ashford, Kent, TN23 1PL

Victoria Couper BSc (Hons)

Corporate Property & Projects

Telephone: 01233 330 815

email: victoria.couper@ashford.gov.uk

SPECIFICATION

| 1.00 |  | Heritage Statement |
| --- | --- | --- |
| 1.1 1.2 1.3 1.4 1.5 1.6 |  | Background: The Tenterden Museum was built in the 1850s and originally served as a coach house and stables; it is a timber framed, two storey building with a plain tiled roof on a weather boarded timber frame on a brickwork plinth. It is a Grade II listed building which lies within the Tenterden Town Council Conservation Area. The significance of the building is its historical value in serving as an industrial building along with its historical fabric intact. This Council owned property was established as the Tenterden Museum in the 1970s and operated by a Trust. Ashford Borough Council is responsible for the maintenance, repairs and upkeep of the exterior and structure of the building. Grade II Listed from 08/06/1972 English Heritage Building ID: 179833 Contractors were last appointed to carry out full external redecoration of the building in Autumn 2009. |  | £ | p |
|  |  | Total C/F to Collection £ |  |  |  |

| 2.00 |  | Description The Works |  | £ | p |
| --- | --- | --- | --- | --- | --- |
| 2.1 2.2 2.3 2.4 2.5 2.6 2.7 2.8 2.9 2.10 2.11 |  | Scaffolding / access: - Contractor is to supply and maintain appropriate access for the execution of the works. The Contractor shall fully assess the site, all access issues and existing ground levels and conditions and then price accordingly for the provision of access ACCESS: Supply and install and maintain for the full duration of the works all necessary scaffolding to provide clear, unhindered access to all areas requiring works; independent of the building to a height enabling full access to all parts. All tube ends must be capped and stopped a minimum distance of 50mm from the building to allow for repairs and repainting. Scaffolding must be inspected at seven day intervals and a log maintained. The Contractor should be aware that access to the rear is from a privately owned strip of land which also acts as the rear access to six houses, access to one end is via a privately owned front garden and due allowance for protecting the property and planting etc. must be taken. All scaffolding must be erected by a competent scaffolder and be adequately earthed. Where scaffolding is erected in gardens/along the shared footpath; Allow for protection of planting; maintaining access and all necessary making good. Movable items, particularly ladders, boards and sheeting, must be secured against wind and ladders must be secured against unauthorised/out of hours access The scaffold is to provide access and conform to all relevant health and safety regulations as listed by HSE, having regard to for example, platforms, guarding, loading, access for operatives and materials (i.e. mechanical hoisting) etc. The Contractor is to put in place and maintain for the duration of the works all measures to prevent unauthorised access to or onto the scaffolding Supply install and maintain in place for duration of works all necessary access, scaffolding and weather protection…………………………………………………………………..... Price for Provision and Use of Scaffolding only Please provide rate per additional week should project be extended for any reason. £………………………………/Week Contractor may choose to use a combination of scaffolding and mechanical/hydraulic access to carry out the works; Contractor to price here for using such combination: £…………………………… |  |  |  |
|  |  | Total C/F to Collection £ |  |  |  |
|  |  | Description |  | £ | p |
| 3.0 3.1 3.2 3.3 3.4 3.5 3.6 3.7 3.8 3.9 3.10 4.00 4.1 |  | TIMBER REPAIRS Weatherboarding Contractor to allow for the replacing rotten/damaged weather boarding (amounting to 90 linear meters; Contractor to refer to the elevations in Appendix A for indicative locations; All new weather boarding is to be exact and equal profile to match existing boarding and of pressure impregnated treated timber. All secured using stainless steel fixings; Contractor to allow for staggering cuts when replacing a number of timbers in the same area to prevent any weak points Once scaffolding is up the contractor is to carry out an inspection with the C.A to finalise the areas of weatherboarding that need replacing. Contractors are asked to price here their total inclusive price per additional metre length of weatherboarding – all as outlined above: £……………..per linear metre. Corner Trims Contractor to allow for replacing rotten/damaged corner trims in areas (amounting to 2.4 linear meters) All new corner trims to be exact and equal profile to existing trims and pressure treated impregnated treated timber. All to be secured using stainless steel fixings. On inspection, additional areas of trims may be identified as requiring replacement. Contractors are asked to price here for their total inclusive price per additional meter length of trims all as outlined above £……………………………. Windows Allow for cleaning back damaged felt drip edge on the window identified on the attached plan and price for dressing over the window with a new felt drip edge Contractor to allow for removing all loose and defective putties and replace with new linseed oil putty (after thoroughly cleaning and priming rebates) EXTERNAL REDECORATION The extent of the works to be redecorated comprises the Timber Cladding, all windows, doors and frames (windows, doors and frames are all timber). Timber elements of the building area to be cleaned, prepared and redecorated using products by Tor Coatings Limited. |  |  |  |
|  |  | Total C/F to Collection £ |  |  |  |

|  |  | Description |  | £ | p |
| --- | --- | --- | --- | --- | --- |
| 5.0 5.1 5.2 5.3 |  | PREPARATION All external museum signage, Town Council Crest affixed to the outside of the building are to be carefully removed and disposed of (new signage will be installed by others following completion of redecoration works). Allow for removal and reinstallation of other external fixtures and fittings to be retained. Treat all surfaces with 2Nr coats of Torkoil W Fungicidal Solution wash (by Tor Coatings Limited 0191 410 6611 enquiries@tor-coatings.com) |  |  |  |
| 5.4 6.0 |  | All applied and washed off in strict accordance with the manufacturers recommendations (contractor is advised that there is a mains water supply [tap located inside the building]. Unless the contractor chooses to arrange for separate provision of water he is advised to liaise with the Museum Trustees over possible use of existing supply). REPAINTING |  |  |  |
| 6.1 6.2 6.3 |  | Prepare surfaces. Prime surfaces where required. Apply 2Nr full coats of Architectural Solignum, colour ref White (By Tor Coatings Limited 0191 410 6611 enquiries@tor-coatings.com). See BBA Agrement Certificate Nr 87/1881 – Appendix D. All preparation and decoration works to be carried out in strict accordance with the manufacturer’s recommendations – outline information all as detailed in Appendix D. METALWORK |  |  |  |
| 6.4 6.5 7.0 |  | All existing external metalwork (already painted black) is to be cleaned, prepared and repainted using Smoothrite colour ref Black – all in full accordance with manufacturers recommendations Contractor to pay attention not to damage any galvanising, or restrict any moving parts. GUTTER REPAIRS |  |  |  |
| 7.1 7.2 |  | Contractor to allow for the cleaning out, realignment and sealing of all gutters and rainwater pipes. (On closer inspection should the guttering need to be fully replaced, black uPVC profile to match existing including all fittings, brackets, joints, hoppers, rainwater pipes etc. and connected to existing gulley) Contractor to price here for this alternative option £…………….) |  |  |  |
|  |  | Total C/F to Collection £ |  |  |  |

COLLECTION SHEET

|  | £ | p |
| --- | --- | --- |
| Page 30 |  |  |
| Page 31 |  |  |
| Page 32 |  |  |
| Page 33 |  |  |
| TOTAL CARRIED FORWARD TO FORM OF TENDER £ |  |  |

APPENDICES

APPENDIX A – Plans

APPENDIX B – Pre Construction Phase Health & Safety Plan

APPENDIX D - PS540 Solignum Architectural Water Based Data

APPENDIX D – Torkill Fungicidal Solution & Solignum Architectural OS

# Text boxes

Victoria Couper BSc (Hons)

Property & Development Surveyor

Corporate Property and Projects

Ashford Borough Council

Civic Centre

Tannery Lane

Ashford

Kent  TN23 1PL

November 2017

EXTERNAL REPAIRS AND REDECORATION

to

TENTERDEN & DISTRICT MUSEUM,

STATION ROAD,

TENTERDEN,

KENT, TN30 6HN