West Lancashire Borough Council INVITATION TO TENDER FOR CCTV MAINTENANCE CONTRACT 1.10.2019 – 30.9.2022 TENDER REFERENCE DN420921 Mrs Kim Webber Chief Executive West Lancashire Borough Council July 2019

INVITATION TO TENDER DOCUMENTS

CCTV MAINTENANCE CONTRACT 1.10.19 – 31.9.2022

| Section 1 | Instructions to Tenderers |
| --- | --- |
| Section 2 | Form of Contract |
| Section 3 | Specification |
| Section 4 | Form of Tender |
| Section 5 | Price questionnaire |
| Section 6 | Quality questionnaire |
| Section 7 | Evaluation process |

SECTION 1

INSTRUCTIONS FOR TENDERERS

1(i)	This tender exercise is being conducted as an tender exercise below the thresholds for the Public Contracts Regulations 2015 (as amended) which has involved the appearance in the Contracts Finder portal  www.contractsfinder.service.gov.uk and The Chest  www.the-chest.org.uk  of an appropriate Contract Notice.

(ii)	The West Lancashire Borough Council (the “Council”) invites tenders for the carrying out of the Contract for CCTV Maintenance Services for the period 1st October 2019 to 30th September 2022.

2	Tenderers must ensure that they are fully conversant with the nature and extent of the obligations to be accepted by them in accordance with the Contract Documents if their tenders are accepted and must, furthermore, satisfy themselves as to the sufficiency of their tender before they submit it for consideration by the Council.

3.	All information supplied by the Council in connection with this invitation to tender shall be treated as confidential by prospective tenderers except that such information may be disclosed so far as is necessary for the purpose of obtaining sureties, guarantees and quotations necessary for the preparation and submission of the tender.

4.	All documents requiring a signature shall be signed:

Where the tenderer is an individual, by that individual.

Where the tenderer is a partnership by two duly authorised partners.

Where the tenderer is a company by two directors or by a director and the secretary of the company, such persons being duly authorised for that purpose.

5..	Any company, organisation or individual who is invited by the Council to submit a tender but decides not to submit any tender must so notify the Council as soon as possible and in no case later than the date, detailed below, for the return of tenders.

6.	Any queries regarding this tender can be raised by using the messaging facility on messaging system for this specific project on The Chest portal www.the-chest.org.uk  prior to 24/7/2019 2.00pm.

All queries raised and all answers provided will be circulated to all tenderers.

7 	Tenderers are strongly advised to familiarise themselves with the environment of the Borough of West Lancashire in which the Contract Works will be carried out.

8.	Tenders must be submitted by uploading all required documents on to the specific project on The Chest portal www.the-chest.org.uk no later than 30/7/2019 2.00pm.

Alternative methods of tender submission, for example postal delivery of paper copies, will not be accepted.

9.	Tenders must remain open for acceptance for three months from the date set for submission of tenders.

10.	In evaluating tenders the following points will be taken into account:-

- All Bidders will be required to pass all pass / fail criteria in order for their Bid to be considered.  Each pass/fail question will be clearly marked and the criteria required for a pass will be detailed.

- Tenders will be marked out of 100 points as detailed in Section 7, based on

- 60 points based on price

- 40 points based on the answers to the Quality Questions in Section 5 using the scoring allocation method described in that section.

iv)	The tenderer with the highest score will be considered for acceptance. Prior to any tender being accepted, the favoured tenderer maybe be invited for a clarification meeting, the purpose of that meeting being to confirm the tenderer's suitability and clarify any aspects of their tender. Should the Council be of an opinion after a clarification meeting that any tenderer is unsuitable, that tender may be rejected or in less extreme circumstances their score may be amended.

v)     The Council reserves the right to require the tenderer to amplify or clarify any element of a tender at any time during the tender evaluation process.

11.	The Council is not bound to accept the lowest or any tender and no allowance will be claimable for the costs of preparation of same. The Council reserves the right to disqualify any tender which it considers at its sole discretion does not meet the quality requirements, regardless of score

12.	The successful tenderer will be required to execute a formal contract and until such execution, the successful tender together with the Council’s written acceptance shall form a binding agreement in the terms of the Contract Documents and where there is any discrepancy or difference between the tender and the (other) Contract Documents the latter shall prevail.

13.	The Council is currently operating in a challenging financial environment with anticipated reductions in government funding.  In such circumstances the Council expects its contractors and suppliers to assist it in realising monetary savings which will result in a total net reduction in Council expenditure.  Whilst the Council believes it can presently afford the services which are the subject of this contract, it may be that at some future date the Council requires to reduce its expenditure.  At such a time the Council will approach the contractor and ask him/her to propose innovation, new ways of working and monetary savings.  The Council expects its contractors to react positively to any such requests.

Appendix 1 to Section 1: TUPE

1.	The Council is of the opinion that this Contract does not comprise an undertaking under the terms of the Transfer of Undertakings (Protection of Employment) Regulations 2006 (as amended) (TUPE).

2.	Tenders are therefore invited on the basis that TUPE does not apply to the Contract.

3.	Should the Council at any time in the future seek tenders for the Contract Works, either in part or in full, and should the Council determine that such work may comprise an 'undertaking' under TUPE then the Contractor shall provide to the Council such details of the contracts of employment between the Contractor and his/her employees that it is necessary for tenderers to price their obligations under TUPE.  This information shall be provided by the Contractor within twenty-eight days of a request by the Council.

4.	In the event that the Contractor is required to provide to the Council the information details in paragraph 3 (above) then from the date that information is given by the Contractor to the Council the terms and conditions of employment of the Contractor's employees shall not be changed except insofar as that change is a result of a decision of an independent body established for the purposes of negotiating terms and conditions of employment and it is the Contractor's normal practice to comply with the decisions of that body OR where the Contractor's normal practice is to determine (using some internal mechanism) his/her employees terms and conditions of employment at a fixed time each year if that time occurs after the contractor has provided to the Council the information required by paragraph 3 (above) the Contractor will be permitted only to amend the rates of wages of his/her employees to reflect inflation as measured by the Retail Price Index.  Any such amendments to the terms and conditions of the employment of his/her employees, as described by the foregoing, shall be notified by the Contractor to the Council immediately that the Contractor becomes aware of them.

SECTION 2

FORM OF CONTRACT

See attachment for Section 2.

SECTION 3

SPECIFICATION

# GENERAL STATEMENT

West Lancashire Borough Council (the Council) is seeking to engage an experienced and suitably qualified Contractor to provide fully comprehensive maintenance, including all parts and labour, of the Council’s CCTV installations and Control Room equipment for the period 1.10.19 – 30.9.22.

The Council is committed to the use of CCTV in its widest application for enhancing community safety and reducing the fear of crime in our communities.

The Council operates 106 public open space cameras. They are monitored 24/7 365 days per year in a monitoring suite which was completed in April 2013.

The Contractor will be required to work in close partnership with the Council.

It is a fundamental requirement that the Contractor must approach the Contract Works with a spirit of positive liaison and to strive to continuously improve service delivery.

Similarly, the Council recognises the importance of a positive and constructive partnership/contractual relationship and the demands put on any Contractor who must provide an essential service. The Council will, therefore, work positively with the Contractor approaching all issues in a pragmatic manner but the overriding aim of both parties must be to ensure that the highest quality service is provided for the residents of West Lancashire.

Both the Council and the Contractor will approach all matters associated with the Contract with a reasonable attitude and neither will seek to take advantage of the other's reasonable approach to issues.

If either party fail to conduct themselves within the contractual relationship in accordance with the requirement set out in this 'General Statement' then it shall be considered a fundamental breach of that party's obligation under this Contract.

STATEMENT OF PURPOSE

The CCTV scheme will be operated within applicable law and only for the purposes for which it is established or which are subsequently agreed.

The scheme will be operated with due regard to the privacy of the individual.

The public interest in the operation of the scheme will be recognised by ensuring the security and integrity of operational procedures.

KEY OBJECTIVES

The objective of the CCTV scheme, which the Contractor must give full regard to when repairing and maintaining the system (including the suite equipment), is to provide a safe and secure public environment for the benefit of those who live, trade, visit, service and enjoy the facilities of the area.  This objective is achieved by the monitoring of the system, (by others), so as to:

- Reduce the fear of crime in the community.

- Assist in the detection of crime.

- Act as a deterrent to those who may potentially be involved in crime.

- Facilitate the apprehension and prosecution of offenders in relation to crime and public order.

- Improve communication and the operational response of police patrols in and around Ormskirk Town Centre and other outlying areas using appropriate communications equipment.

- Assist in developing community confidence.

SPECIFICATION

S1.	Requirement

This Contract is for the carrying out of a fully comprehensive maintenance (including all parts and labour) contract for the Council’s CCTV installations and control room equipment for the period 1st October 2019 to 30th September 2022 with the objective of ensuring that the whole system works to the standards defined within this Specification.

The relevant monthly sums inserted in the Priced Section shall include for everything needed to achieve the outcome set out in the above paragraph. The only exception is where equipment has been verified by the Supervising Officer as being beyond economic repair and not covered by existing warranties and in such a case the only extra cost recoverable will be the purchase price (paid by the Contractor) of the equipment plus 10% to allow for the Contractor’s overheads and profit. All other costs associated with the replacement of equipment shall be deemed to be included in the tendered monthly sum.

S2.	Background

The Council operates a comprehensive CCTV Surveillance System utilising a combination of fibre optic, fibre to the cabinet, microwave ethernet and broadband technologies.  Cameras are installed within Ormskirk town centre, car parks, play areas, shopping parades and in other selected locations across the Borough and are monitored from a central Monitoring Suite, located in Ormskirk.

The Contractors attention is drawn to the West Lancashire CCTV System Code of Practice which is available in Appendix 4.

S2.1	Current WLBC CCTV Scheme

The scheme currently comprises of 106 cameras, split as 90 fully functional Pan Tilt and Zoom and 16 being static. There are 71 360 Vision dome cameras, 14 360 Vision Predator cameras, 15 static Bosch cameras, 5 Bosch MIC 7000 PTZ's and 1 pinhole camera.

- 21 Ormskirk Town Centre cameras are on the Council’s private fibre digital network, 4 of which also use Silvernet wireless transmission on the final hop to the camera.

- 9 are on analogue BT RS1000 circuits (Burscough Industrial Estate).

- 10 are wired and encoded locally at the Council building.

- 51 are on Silvernet wireless transmission, 2 of which also use BT EPS9 local exchange circuits on the final hop to the camera (mainly Skelmersdale and Burscough Village).

- 7 are on fibre to the cabinet (VPN) transmission, 2 of which also use Silvernet wireless transmission on the final hop to the camera (rural cameras).

- 8 are on ADSL (VPN) transmission (rural cameras).

The system hub is currently an Avigilon Digital Virtual Matrix with 2 operator positions; each operator has an Avigilon desktop keyboard and control.

There are 8 display screens on the monitor wall configuration, each of which can be split to allow the display of numerous images and 3 spot monitors per operator.

All images, whether displayed on the spot monitors or not, are recorded 24/7. The images shown on the spot monitors can be set to display live or recorded images as per operator requirements.

Not all cameras are recorded/viewed at 25 frames per second. Each camera is configured according to its own transmission type. Cameras with limited bandwidth are recorded at lower frame-rates to save on bandwidth and cameras with reliable frame-rates are recorded at 25 frames per second. For example, all of the cameras connected via fibre are 25FPS at 4CIF, but cameras connected via ADSL/EPS or on otherwise limited bandwidth can be as low as 6FPS at CIF resolution. Night time (23:00-5:00) motion recording is enabled at some locations to save on storage space, where reference images are recorded at 1FPS unless motion is detected, when normal recording is resumed. This is at locations such as the Robert Hodge Centre, Skelmersdale and the internal office cameras.

Retrieval of recorded images and production of CD's for Police and other external services is carried out in the Viewing Room within the suite, which contains 1 monitor and access to all images.

The mix of products supported by this agreement may change by Variation to Contract over the lifecycle of the Contract.

S3	Cameras

The following information should be read in conjunction with Clause S2.1 and Appendices 2 & 3

The 106 CCTV cameras are grouped in the following categories.

- Ormskirk Town Centre,

- Burscough Industrial Estate

- Burscough village

- Skelmersdale

- Rural cameras (including Aughton, Parbold, Hesketh Bank, Tarleton, Banks, Rufford, Scarisbrick, Halsall, Mere Brow and DownHolland.

The majority of the cameras use pre-set tours or patrols.  These patrol positions have been agreed in conjunction with local Police to provide views of key areas / hot spots.  When a tour has been selected the camera will move to a preset position and dwell there for approximately 5 – 10 seconds before moving on to the next pre-set position.

S4.	Scheduled works

S4.1	The Contractor’s attention is drawn to Appendix 1 (Service Schedule). These works shall be carried out in accordance with the timetable provided in that appendix and proof of the completion of these works shall be demonstrated using the form at Appendix 2 (Planned Maintenance Schedule) (or a similar one approved by the Supervising Officer). One completed copy of Appendix 2 (or similar) shall be left at the CCTV suite and one further completed copy shall be provided to the Supervising Officer, following the Scheduled Works.

S5.	Contractor to Provide Everything Necessary for the Works

S5.1	The Contractor shall provide and bear the expense of all necessary parts, materials, transport, plant, telephones, labour, carriage and freightage, matters and things of every description that may be requisite for properly executing the Contract Works except only if equipment is “Beyond Economic Repair” and not covered by existing warranty agreements, the Contractor shall advise the Council of the parts/equipment needed to ensure the Contractor can repair the equipment and maintain the provision of the service and if necessary the Council can then issue an instruction under Condition 4 and an extra charge will be made by the Contractor as described at Clause S1.

S5.2	The Contractor shall immediately upon execution of this Contract provide the details of the means of reporting faults by the Council, which must be agreed in writing by the Council. The Contractor shall monitor this reporting mechanism so that any notification of a fault is received without undue delay. During the Contract Period the Contractor shall at all times be ready to receive and respond to communication from the Supervising Officer or CCTV monitoring staff in accordance with condition S.6.

S6. 	Execution of Work(s)

S6.1	The Contractor shall respond to the receipt of emails or phone calls from the Supervising Officer or CCTV monitoring staff in accordance with the following:-

| Response level | Circumstances/location | Response to site (working hours) | Target fix (working hours) |
| --- | --- | --- | --- |
| Level 1 | Routine faults for non-Ormskirk cameras | 16 | 32 |
| Level 2 | Routine faults for Ormskirk Town Centre cameras | 8 | 16 |
| Level 3 | Level 1 faults escalated by the Council for operational reasons. The Contractor to include for 12 per year | 8 | 16 |
| Level 4 | Major fault affecting 5 or more cameras | 4 | 12 |

N.B. The response time is an absolute whereas reasonable endeavours shall be used to ensure the target fix time is met.

S7.	Spare Parts

S7.1	The Council will purchase (and keep as a minimum) the following spare parts/equipment, which will assist the contractor with “first visit fix” maintenance.

| Quantity | Description |
| --- | --- |
| 2 | 360 Predator Camera |
| 2 | 360 PTZ Dome Camera |
| 2 | Axis Encoder |
| 1 | Fixed Dome Camera |
| 1 | Microwave A |
| 1 | Microwave B |
| 1 | Redwall detector |
| 1 | Monitor (large screen) |
| 1 | Gerrett Comm switch |
| 1 | Aviglon encoder |
| 1 | POE injector |
| 2 | Camera PSU |

S7.2	These spares shall be kept at the CCTV suite, unless in use, and only removed when necessary. Any time spares are used in this way, the contractor's staff must log the details in the spares register which is held in the CCTV suite. The minimum details to be recorded are; equipment used, job number, date, new location, reason for use, staff details and full details of the equipment’s return after the initial fault has been fixed.

S7.3	The contractor must advise the Council if further or replacement spares are necessary and provide appropriate justification for the requirement. The contractor shall order and arrange for delivery, to the CCTV suite, any necessary spares which have been agreed by the Supervising Officer.

S8.	Remote monitoring

S8.1	The Contractor must undertake all works necessary to permanently monitor the WLBC CCTV system remotely in order to predict, identify and where possible, repair faults remotely.

S9.	Contract Meetings

S9.1	If requested, the Contract Manager or nominated representative must attend Contract Meetings at the Council's offices. The date and time of these Contract Meetings will be set by the Council and notified to the Contractor. These meetings will be held at a maximum frequency of one every 2 months, during the duration of this contract and any subsequent Contract extensions, as per Condition 2.1.

#### S10.	Access

#### S10.1	Some of the CCTV equipment is contained within premises not belonging to the Council. Appointments will have to be arranged with the appropriate Authority/ Building Owner and in some instances Risk Assessments and Climbing Certificates will be required to carry out the work on such premises. Information regarding appropriate contacts for such access will be obtainable from the Supervising Officer or monitoring staff at the time.

S11.	Identification cards

S11.1	The Contractor shall at his own cost, issue to all working personnel employed by him or his Sub-Contractors and engaged upon the Contract Works, a form of identification card which must be produced on demand in order to identify the said employee, verify his authority to enter and execute works in the Council’s or any other premises.

S12.	Prevent trespass

S12.1	The Contractor shall not allow his operatives or Sub-Contractor’s operatives to trespass upon properties adjoining those in respect of where work is being carried out.  If the execution of work necessitates that workmen must enter upon adjoining property, the necessary permission from the occupier of the adjoining property must be first obtained by the Contractor who shall ensure that these provisions are carried out. The Contractor shall indemnify the Council against any claim or action for damages on account of any trespass or other misconduct of his employees, servants or agents. Operatives, plant and materials will be allowed only on such property of the Council as may be considered necessary by the Contract Administrator for execution of the Contract Works.

S13.	Warranties

S13.1	The Contractor shall ensure that all warranties for any new equipment purchased, in order to comply with this Contract, are passed on to the Supervising Officer within one month of any new equipment (which comes with a warranty) being purchased.

S14	Amendments to “as installed” manuals

S14.1	Where in the course of any Contract Works the resulting solution results in an amendment to the “as installed” manuals being necessary, the Contractor shall so notify the Supervising Officer shall be notified within 7 days to enable the Supervising Officer to update the manuals accordingly.

S15	Performance and reporting

S15.1	For each month within the Contract Period the Contractor shall provide a detailed report listing the faults referred to him/her, the time taken to arrive on site and the fix time, with full details provided of the solution implemented and any comments regarding possible further improvements to prevent future issues. Each report shall be provided no later than the 15th day of the month following the month in which the solution was implemented and where the fault notification was made in a different month to that in which the solution was implemented a monthly progress report shall be provided for every month commencing with the month on which the fault notification was made and ending the month immediately before the month in which the solution was implemented; these progress reports shall be provided no later than the 15th day of the month immediately following the respective month to which they relate.

### APPENDIX 1

APPENDIX 1- SERVICING SCHEDULE

- The following schedule shows the servicing regime to be followed for the CCTV installations.  Included in the price is provision for one visit each year to carry out this work.

1.1   In addition, one “clean only” visit shall be made to each of the appropriate      cameras, six months after the planned preventative maintenance visit above.

Cameras

| Fault Log Check |  |  |  |
| --- | --- | --- | --- |
| Purpose:- To ensure the PPM can be carried out effectively and outstanding faults are followed up. |
| ● | Ensure that there are no outstanding faults for the associated equipment |
| ● | In the event of any outstanding faults, follow up resolution and delay PPM |
| ● | Check previously reported faults for the associated equipment |
| ● | Confirm that none of the previously closed fault reports are in evidence |
| ● | If there's evidence of any previous faults, report the issue to the Service Desk |
| Performance Check |  |  |  |
| Purpose:- To confirm equipment still meets operational requirements and operational performance |
| is in line with expectations. |  |  |  |
| ● | Live image check |  |  |  |
|  | ○ | Note image quality and note any defects such as blocking, noise, poor focus, too bright, too dark |
|  | ○ | Ensure that the image still reflects the intended operational requirement |
|  | ○ | For PTZ cameras, check auxiliaries and ensure full range of pan, tilt, zoom and focus (if enabled) |
|  | ○ | Check all stored presets and guard tours can be recalled (if applicable) |
|  | ○ | Check any associated alarm responses such as PTZ on motion/PIR movement (if applicable) |
|  | ○ | Check stream settings of the live video |  |
| ● | Recorded image check |  |  |  |
|  | ○ | Note image quality for both night-time and day-time scenes |
|  | ○ | Ensure video is switching to mono at appropriate light level (if applicable) |
|  | ○ | Check stream settings of the recorded video |  |
|  | ○ | Ensure availability & reaping of previously recorded images meets operational requirements |
|  | ○ | For any protected recordings, check if they are to remain protected or can be unprotected |
| Physical Check |  |  |  |
| Purpose:- To check the physical condition of the equipment for defects and perform tasks that will |
| prolong and enhance the condition |  |  |
| ● | Physically check the camera |  |  |
|  | ○ | Check housing, movement (if PTZ) and fixings |  |
|  | ○ | Clean housing and glass |  |  |
|  | ○ | Check cables, connections and terminations within housing |
| ● | Physically check the associated equipment at the camera location |
|  | ○ | Check mounting equipment, including any associated cabinet or enclosure |
|  | ○ | Clean any associated cabinet or enclosure, inside and out |
|  | ○ | Check encoding equipment (if applicable) |  |
|  | ○ | Check power supplies, both LV and ELV |  |
|  | ○ | Check transmission & control equipment (if applicable) |
|  | ○ | Check cables, connections and terminations to associated equipment |
| ● | Physically check any associated equipment between the camera location and control |
|  | ○ | Check associated encoding/decoding (if applicable), including cables |
|  | ○ | Check associated transmission (if applicable), including cables |

IT and Racks

| Fault Log Check |  |  |  |
| --- | --- | --- | --- |
| Purpose:- To ensure the PPM can be carried out effectively and outstanding faults are followed up. |
| ● | Ensure that there are no outstanding faults for the associated equipment |
| ● | In the event of any outstanding faults, follow up resolution and delay PPM |
| ● | Check previously reported faults for the associated equipment |
| ● | Confirm that none of the previously closed fault reports are in evidence |
| ● | If there's evidence of any previous faults, report the issue to the Service Desk |
| Visual Check |  |  |  |
| Purpose:- To confirm equipment still meets operational requirements and operational performance |
| is in line with expectations. |  |  |  |
| ● | Check cabinets |  |  |  |
|  | ○ | Inspect ventillation and cooling for any build up in dirt or dust |
|  | ○ | Check operating temperatures are within safe limits |
|  | ○ | Check operational indicators for any obvious issues |
|  | ○ | Check cables & indentifications |  |  |
|  | ○ | Check noise levels are within expectations |  |
| ● | Check Servers & PC's |  |  |  |
|  | ○ | Inspect internal components |  |  |
|  | ○ | Check external interfaces & ports |  |  |
| ● | Check monitors |  |  |  |
|  | ○ | Check brightness, colour & contrast levels |  |
|  | ○ | Check cables & indentifications |  |  |
| Physical Check |  |  |  |
| Purpose:- To check the configuration of the equipment and perform tasks that will prolong and |
| enhance the condition |  |  |  |
| ● | Check cabinets |  |  |  |
|  | ○ | Look for signs of moisture ingress, rust & corrosion |
|  | ○ | Clean the equipment |  |  |  |
|  | ○ | Clean fans and vents |  |  |  |
|  | ○ | Test UPS operation and longevity |  |  |
| ● | Check servers |  |  |  |
|  | ○ | Note down versions and update if necessary |  |
|  | ○ | Check logs for any abnormalities |  |  |
|  | ○ | Check hard drives statuses |  |  |
|  | ○ | Check services and operational notifications |  |
|  | ○ | Check management interfaces and communication |
|  | ○ | Check for any protected recordings |  |  |
| ● | Check Workstations/Clients |  |  |
|  | ○ | Note down versions and update if necessary |  |
|  | ○ | Check basic operation and functionality |  |
|  | ○ | Check management interfaces and communication |

Wireless links

| Fault Log Check |  |  |  |
| --- | --- | --- | --- |
| Purpose:- To ensure the PPM can be carried out effectively and outstanding faults are followed up. |
| ● | Ensure that there are no outstanding faults for the associated equipment |
| ● | In the event of any outstanding faults, follow up resolution and delay PPM |
| ● | Check previously reported faults for the associated equipment |
| ● | Confirm that none of the previously closed fault reports are in evidence |
| ● | If there's evidence of any previous faults, report the issue to the Service Desk |
| Performance Check |  |  |  |
| Purpose:- To confirm equipment still meets operational requirements and operational performance |
| is in line with expectations. |  |  |  |
| ● | Link Status Check |  |  |  |
|  | ○ | Check alignment/signal strength from device webpage |
|  | ○ | Check TX/RX rates from device webpage |  |
|  | ○ | Perform interference analysis to ensure a clean channel is utilised |
| Physical Check |  |  |  |
| Purpose:- To check the physical condition of the equipment for defects and perform tasks that will |
| prolong and enhance the condition |  |  |
| ● | Physically check the wireless device |  |  |
|  | ○ | Check unit and fixings |  |  |
|  | ○ | Clean face of the wireless device, ensure it is free from guano |
|  | ○ | Check glands, cables, connections and terminations |
|  | ○ | Check mounting equipment, including any associated cabinet or enclosure |
|  | ○ | Check associated POE supply/switch |  |  |
|  | ○ | Clean any associated cabinet or enclosure, inside and out |

Access Control system

| Fault Log Check |  |  |  |
| --- | --- | --- | --- |
| Purpose:- To ensure the PPM can be carried out effectively and outstanding faults are followed up. |
| ● | Ensure that there are no outstanding faults for the associated equipment |
| ● | In the event of any outstanding faults, follow up resolution and delay PPM |
| ● | Check previously reported faults for the associated equipment |
| ● | Confirm that none of the previously closed fault reports are in evidence |
| ● | If there's evidence of any previous faults, report the issue to the Service Desk |
| Operational Check |  |  |  |
| Purpose:- To confirm equipment still meets operational requirements and operational performance |
| is in line with expectations. |  |  |  |
| ● | Check Access Control Unit |  |  |
|  | ○ | Check configuration details |  |  |
|  | ○ | Check performance of the backup battery |  |
|  | ○ | General checl of equipment |  |  |
| ● | Check Door / Reader Locations |  |  |
|  | ○ | Check operation of readers |  |  |
|  | ○ | Check operation of general door operation |  |
|  | ○ | Check operation of locks |  |  |
|  | ○ | Check operation of exit buttons |  |  |
|  | ○ | Check operation of emergency door releases |  |
|  | ○ | Check operation of fire interfaces |  |  |
|  | ○ | Check operation of PSU |  |  |
|  | ○ | Check operation of battery backup |  |  |
|  | ○ | Check operation of alarms |  |  |

Intercom

| Fault Log Check |  |  |  |
| --- | --- | --- | --- |
| Purpose:- To ensure the PPM can be carried out effectively and outstanding faults are followed up. |
| ● | Ensure that there are no outstanding faults for the associated equipment |
| ● | In the event of any outstanding faults, follow up resolution and delay PPM |
| ● | Check previously reported faults for the associated equipment |
| ● | Confirm that none of the previously closed fault reports are in evidence |
| ● | If there's evidence of any previous faults, report the issue to the Service Desk |
| Operational Check |  |  |  |
| Purpose:- To confirm equipment still meets operational requirements and operational performance |
| is in line with expectations. |  |  |  |
| ● | Check Intercom Stations |  |  |  |
|  | ○ | Check speaker works |  |  |  |
|  | ○ | Check microphone works |  |  |
|  | ○ | Check door interfaces work |  |  |
|  | ○ | Clean stations as necssary |  |  |
| ● | Check PC Control Locations |  |  |
|  | ○ | Check lock function works |  |  |
|  | ○ | Check unlock function works |  |  |
|  | ○ | Check that events are logged in the database |  |
|  | ○ | Take a copy of the database backup |  |  |

Appendix 2

Planned Preventative Maintenance Schedule

| Site: | West Lancashire Borough Council - Ormskirk |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

| Camera number | location | Camera type | Access method | PPM 1 date and initials | PPM 2 date and initials |
| --- | --- | --- | --- | --- | --- |
| 100 | Church St/Derby St | PTZ | Ladders |  |  |
| 101 | Park Pool | PTZ | 14M MEWP |  |  |
| 102 | Two Saints Car Park | PTZ | 14M MEWP |  |  |
| 103 | Kebab House | PTZ | 14M MEWP |  |  |
| 104 | Stiles Car Park | PTZ | 14M MEWP |  |  |
| 105 | Burscough Street | PTZ | 14M MEWP |  |  |
| 106 | Clock Tower | PTZ | 14M MEWP |  |  |
| 107 | Aughton Street | PTZ | 14M MEWP |  |  |
| 108 | Hutton Way | PTZ | 14M MEWP |  |  |
| 109 | Hants Lane Car Park | PTZ | 14M MEWP |  |  |
| 110 | Wheatsheaf Car/ Park | PTZ | 14M MEWP |  |  |
| 111 | Railway Road | PTZ | 14M MEWP |  |  |
| 112 | Bus Station | PTZ | 14M MEWP |  |  |
| 113 | Natwest Moor Street | PTZ | 14M MEWP |  |  |
| 114 | Moor Street | PTZ | 14M MEWP |  |  |
| 115 | Alpine | PTZ | 14M MEWP |  |  |
| 116 | Bridge st / Moorgate | PTZ | 14M MEWP |  |  |
| 117 | St Helens Rd / Park Rd | PTZ | 14M MEWP |  |  |
| 118 | St Helens Rd / Small Lane | PTZ | 14M MEWP |  |  |
| 119 | Edge Hill College- Side Entrance | PTZ | 14M MEWP |  |  |
| 120 | Edge Hill College- Main Entrance | PTZ | 14M MEWP |  |  |
| 121 | Car Park, 52 Derby Street | PTZ | 14M MEWP |  |  |
| 122 | Derby Street, Council Buildings | PTZ | 14M MEWP |  |  |
| 123 | Railway St Car Park | PTZ | 14M MEWP |  |  |
| 124 | Railway St Platform | PTZ | 14M MEWP |  |  |
| 125 | Fire Station Island | PTZ | 14M MEWP |  |  |
| 126 | Park Avenue | PTZ | 14M MEWP |  |  |
| 127 | Park Pool / Skate Park | PTZ | 14M MEWP |  |  |
| 128 | County Road A59 | PTZ | 14M MEWP |  |  |
| 129 | Scott Drive / Sephton Drive | PTZ | 14M MEWP |  |  |
| 130 | Scott Drive / Carroll Crescent | PTZ | 14M MEWP |  |  |
| 131 | Mawdsley Terrace | PTZ | 14M MEWP |  |  |
| 132 | Station Road | PTZ | 20M MEWP |  |  |
| 150 | Door Entry | Static | 5 Tread Steps |  |  |
| 151 | CCTV Airlock | Static | 5 Tread Steps |  |  |
| 152 | Customer Reception | Static | 5 Tread Steps |  |  |
| 153 | Customer Reception 2 | Static | 5 Tread Steps |  |  |
| 154 | Entrance / Foyer | Static | 5 Tread Steps |  |  |
| 155 | Stairwell WLBC | Static | 5 Tread Steps |  |  |
| 156 | Corridoor / Civic Reception | Static | 5 Tread Steps |  |  |
| 157 | Interview Rooms | Static | 5 Tread Steps |  |  |
| 201 | Ashurst - Health Centre | PTZ | 14M MEWP |  |  |
| 202 | Ashurst - Community Centre | PTZ | 14M MEWP |  |  |
| 204 | Library Skelmersdale | PTZ | Roof Access |  |  |
| 205 | Library Car Park Skelmersdale | PTZ | Roof Access |  |  |
| 206 | Hall Green Skelmersdale | PTZ | 14M MEWP |  |  |
| 207 | Sandy Lane Skelmersdale | PTZ | 20M MEWP |  |  |
| 208 | Flower Shop | PTZ | 14M MEWP |  |  |
| 209 | Shopping Centre Entrance | PTZ | 14M MEWP |  |  |
| 210 | Bet Fred Betting Shop | PTZ | 14M MEWP |  |  |
| 211 | Hair Design 1st Floor | PTZ | 14M MEWP |  |  |
| 212 | Sandy Lane Centre 1st Floor | PTZ | 14M MEWP |  |  |
| 213 | Sandy Lane Rear Car Park | PTZ | 14M MEWP |  |  |
| 214 | Tanhouse - Egerton Shops | PTZ | 14M MEWP |  |  |
| 215 | Birch Green - Opposite School | PTZ | 14M MEWP |  |  |
| 216 | Birch Green Rd - Skate Park | PTZ | 14M MEWP |  |  |
| 217 | Play Area Banksbarn | PTZ | 14M MEWP |  |  |
| 218 | Shop and Church Digmoor | PTZ | Winch |  |  |
| 219 | Beechtrees - Digmoor Rd | PTZ | Winch |  |  |
| 220 | Beechtrees - Underpass | Static | From Floor |  |  |
| 221 | Robert Hodge Centre | PTZ | 14M MEWP |  |  |
| 222 | Robert Hodge Centre | PTZ | 14M MEWP |  |  |
| 223 | Robert Hodge Centre | PTZ | 14M MEWP |  |  |
| 224 | Digmoor Parade Car park | PTZ | 14M MEWP |  |  |
| 225 | Digmoor Parade - Duck Pub | PTZ | 14M MEWP |  |  |
| 226 | Digmoor Parade Int | PTZ | 14M MEWP |  |  |
| 227 | Digmoor Parade Int | PTZ | 14M MEWP |  |  |
| 228 | Castlehey | PTZ | 20M MEWP |  |  |
| 229 | Castlehey camera 2 | PTZ | 20M MEWP |  |  |
| 230 | Acregate Little Digmoor | PTZ | 14M MEWP |  |  |
| 231 | Tanfields | PTZ | 14M MEWP |  |  |
| 300 | Burscough Village | PTZ | 14M MEWP |  |  |
| 301 | Spar Burscough | PTZ | 14M MEWP |  |  |
| 302 | Hylton Carpets | PTZ | 14M MEWP |  |  |
| 303 | Burscough Bridge Pub | PTZ | 14M MEWP |  |  |
| 304 | Beaufort and Guys | PTZ | 14M MEWP |  |  |
| 305 | Burscough Fencing | PTZ | 14M MEWP |  |  |
| 306 | Tollgate Crescent | PTZ | 14M MEWP |  |  |
| 307 | Ringtail place and garage | PTZ | 14M MEWP |  |  |
| 308 | Langley Road | PTZ | 14M MEWP |  |  |
| 309 | Baybutts | PTZ | 14M MEWP |  |  |
| 310 | Firwood Timber | PTZ | 14M MEWP |  |  |
| 311 | Hills Motors | PTZ | 14M MEWP |  |  |
| 312 | Bachy | PTZ | 14M MEWP |  |  |
| 313 | Parbold | PTZ | 14M MEWP |  |  |
| 314 | Richmond Park Burscough | PTZ | 14M MEWP |  |  |
| 400 | Christchurch Long Lane | PTZ | 14M MEWP |  |  |
| 401 | Moss Delph Lane Aughton | PTZ | 14M MEWP |  |  |
| 402 | Town Green Station | PTZ | 14M MEWP |  |  |
| 403 | Town Green Spar Shop | PTZ | 14M MEWP |  |  |
| 404 | Town Green Lane / Prescott Road | PTZ | 14M MEWP |  |  |
| 405 | Riding and School lane Downholland | PTZ | 14M MEWP |  |  |
| 406 | School Lane Park Downholland | PTZ | 14M MEWP |  |  |
| 407 | Halsall | PTZ | 14M MEWP |  |  |
| 408 | Morris Dancers Scarisbrick | PTZ | 20M MEWP |  |  |
| 409 | Gorsuch Lane | PTZ | 14M MEWP |  |  |
| 410 | Pool Hey Lane | PTZ | 14M MEWP |  |  |
| 500 | Rufford | PTZ | 20M MEWP |  |  |
| 501 | St Marks Square Tarleton | PTZ | 14M MEWP |  |  |
| 502 | Church Rd Tarleton | PTZ | 14M MEWP |  |  |
| 503 | A59 Junction at Tarleton | PTZ | 14M MEWP |  |  |
| 504 | The Gravel Mere Brow | PTZ | 14M MEWP |  |  |
| 505 | Sports Club Hesket Bank | PTZ | 14M MEWP |  |  |
| 506 | Station Road Hesketh bank | PTZ | 14M MEWP |  |  |
| 507 | Hoole Lane Banks | PTZ | 14M MEWP |  |  |
| 508 | Church Lane Banks | PTZ | 14M MEWP |  |  |

Appendix 3

Appendix 4

West Lancashire Borough Council CCTV System Code of Practice

SECTION 4

FORM OF TENDER

See attachment for Section 4.

Please complete and attach the Section 4 - Form of Tender to the response for question Q17.

SECTION 5

PRICE QUESTIONNAIRE

WEIGHTING 60 points

P1 The Bidder shall confirm the price is no greater than £150,000 exclusive of VAT for the three year contract period.

Pass/ Fail criteria

Pass - The Bidder must confirm the price is lower than £150,000 exclusive of VAT.

Bidder response

P2 The Bidder shall complete the attached Schedule of Rates.

See attachment for Section 5 – Schedule of Rates.

Bidder response Attach Schedule of Rates here

Weighting – 60 points

SECTION 6

QUALITY QUESTIONNAIRE

Please complete and return the attached quality questionnaire.

See attachment for Section 6 – Quality questionnaire.

SECTION 7

EVALUATION PROCESS AND CRITERIA

The bids will first be evaluated using the following stages:

Preliminary compliance review – The information supplied in the Bid will be checked for completeness and compliance

Evaluation of the Pass / Fail criteria – Bids will be evaluated against the pass / fail criteria

Evaluation of Scoring Criteria – Bids which have achieved pass / fail criteria will be assessed against scoring criteria by individual evaluators who will review the bid in the areas of their specialty and expertise.  Individual evaluators will determine their score for the response and will record their reasons for the score.

The weighting of the questionnaire are:

Price – 60%

Quality – 40%

Where an individual evaluator is a sole specialist evaluator in the field that they are evaluating their score will be used for the response they have evaluated, and this will feed into the overall weighted score for that bid.

For sections which are being evaluated by multiple evaluators, a moderation meeting will be called.

At the moderation meeting individual evaluator scores will be compared along with the reasons given for each score for each applicable tender response by those who have scored.  These scores will be discussed and a consensus for the score will be agreed.  The reasons for awarding the score will be recorded.  The score will be in line with the scoring criteria.  The consensus score will be the score fed into the overall weighted score for the bid.

The Council have scheduled into the process the opportunity to conduct an interview to resolve clarifications if required.

Following the completed evaluation and moderation process, the Bidder having passed the pass / fail criteria and with the highest combined score will be deemed to the successful Bidder by the evaluation panel.

| Evaluation Criteria |
| --- |
| Non-Price elements will be judged on a score from 0 to 5, which shall be subjected to a multiplier so criteria worth 20% will have a 0 - 5 score and a multiplier of 4. The 0 - 5 score shall be based on: |
| 5 | Excellent – The response is excellent in relation to the stated requirements of the question. The details provided demonstrate that the bidder’s approach fully meets the requirements of the question and provide a very high level of confidence of the bidder’s skills, expertise and understanding of the requirements. The response is exemplary and comprehensive, demonstrating that the requirement can significantly be exceeded. |
| 4 | Good – The response is good in relation to the stated requirements of the question. The details provided demonstrate the bidder’s approach fully meets the requirements of the question and provide a high level of confidence of the bidder’s skills, expertise and understanding of the requirements. No concerns were evident with the response. |
| 3 | Acceptable - The response is acceptable in relation to the stated requirements of the question. The details provided demonstrate the bidder’s approach meets the requirements of the question (with only minor omissions) but would benefit from being more detailed and demonstrating further added value and/or contains minor concerns. |
| 2 | Poor – The response is poor in relation to the stated requirements of the question. The response provides a low level of detail and provides little evidence that the bidder has the expertise to satisfy the requirements of the question with weaknesses apparent in some areas and/or demonstrates some misunderstanding of the requirements. |
| 1 | Very poor – The response is very poor in relation to the stated requirements of the question. The response provides a very low level of detail. There is a significant lack of evidence presented to demonstrate that the bidder has the expertise to satisfy the requirements of the question. |
| 0 | Unacceptable - The response is either unacceptable as it fails to provide any evidence whatsoever that the bidder can meet the requirements set out in the question or is entirely lacking in detail or no answer has been given. The response does not comply with or has failed to demonstrate an understanding of the stated requirements of the question. |

Price elements will be judged on a score from 0 to 5 A maximum of 60 points are available based on price, the methodology will be as follows:- The lowest Bid price which meets all pass / fail criteria will score 5 and will be multiplied by 12 to provide a score out of 60% Any other Bids which meet all pass / fail criteria will scored between 0 and 5 (on a pro rata basis in relation to the lowest Bid). The lowest score possible is 0. All scores will be multiplied by 12 to receive a score out of 60 points. For example Bid 1 Lowest Bid - £10,000 scores 5 x multiplier 12 = 60 points Bid 2 - £12,000 – differential of £2,000 (20% higher) score shall be 4 x multiplier 12 = 48 points Bid 3 - £15,000 – differential of £5,000 (50% higher) score shall be 2.5 x multiplier 12 = 30 points Bid 4 - £17,500 – differential of £7,500 (75% higher) score shall be 1.25 x multiplier 12 = 15 points Bid 5 - £20,000 – differential of £10,000 (100% higher) score shall be 0 x multiplier 12 = 0 points All prices shall be evaluated against the total price for years 1 to 3.