MINOR WORKS

STANDARD DESCRIPTION OF WORK COST SHEET

| Project Name: | Site Address: |
| --- | --- |

| Date of Issues: | Date to be Returned: |
| --- | --- |

| Proposed Start Date: | Proposed Finish Date: |
| --- | --- |

## Brief Description of Work

Building Works: This Project will be procured using the agreed schedule of rates as per the term contract. SITE VISIT: May be made by prior arrangement by contacting Dave Regan on 01925 443240 to arrange a joint visit. Before submitting a price for the works inspect the site to ascertain all factors relating to its location, access, ground conditions, working space and details of all matters concerning the nature of the site including the provision of adequate and suitable labour for the works and restrictions likely to affect the execution of the works. The contractor is to arrange for a site visit prior to providing a cost and is to satisfy himself as to quantities and any other issues which will be included in the costing. The contractor is to liaise with the surveyor to satisfy himself that all the information contained within this specification is adequate to enable a firm costing. The contractor is to include in his price all protective floor coverings, access equipment and removal of waste. WORKING HOURS: Property Hours:8:00am – 17:00pm – Access to be arranged with Dave Regan The contractor may use the current welfare facilities on the site. Schedule of works. The contractor is to allow for all items relating to Health & Safety with regards to the works. Detailed cost breakdown required. Please note if a detailed breakdown is not provided your submission will not be considered.

Scope of works; Refurbishment of slate roofs inc glazed roof lights, rainwater goods and fascia’s. Refurbishment of flat roofs inc roof lights, rainwater goods and fascia’s.

Asbestos R&D survey Access scaffolding for whole project Roof 1 - approx. 205 m2 Strip existing flat roof back to deck and repair as required Supply and fit new Bauder warm roof system complete Renew existing roof lights with Bauder dome lights x 8 Renew fascia and gutters to match existing as required Roof 2 - approx. 75 m2 Strip existing Welsh slate and dispose of site unusable material. Retain and reuse slates which are of suitable condition. Supply and fit new Penrhyn Blue welsh slate allow for a 50/50 supply and fit Strip out Georgian wire Sky light Supply and fit new treated slate baton 38mm x 25mm Insulation – Supply and fit 75mm TLX Gold Ltd insulation with integrated breathable membrane ensuring unventilated air layer below is maintained. Please refer to manufacture literature/details Supply and install a dry/mortar or lead ridge and hip system to match existing Re flash roof verge, flashings, box gutter, abutments, soakers etc in lead. Include for timber formers as required. Supply and fit new roof light glazing to match existing Fascia’s, soffits and guttering to be removed and replaced as required. All replacements to match existing. Roof 3 - approx. 355 m2 Strip existing Welsh slate and dispose of site unusable material. Retain and reuse slates which are of suitable condition. Supply and fit new Penrhyn Blue welsh slate allow for a 50/50 supply and fit Supply and fit new treated slate baton 38mm x 25mm Insulation – Supply and fit 75mm TLX Gold Ltd insulation with integrated breathable membrane ensuring unventilated air layer below is maintained. Please refer to manufacture literature/details Supply and install a dry/mortar or lead ridge and hip system to match existing Re flash roof verge, flashings, box gutter, abutments, soakers etc in lead. Include for timber formers as required. Fascia’s, soffits and guttering to be removed and replaced as required. All replacements to match existing. Roof 4 - approx. 100 m2 Strip existing Welsh slate and dispose of site unusable material. Retain and reuse slates which are of suitable condition. Supply and fit new Penrhyn Blue welsh slate allow for a 50/50 supply and fit Strip out existing glazing Supply and fit new treated slate baton 38mm x 25mm Insulation – Supply and fit 75mm TLX Gold Ltd insulation with integrated breathable membrane ensuring unventilated air layer below is maintained. Please refer to manufacture literature/details Supply and install a dry/mortar or lead ridge and hip system to match existing Re flash roof verge, flashings, box gutter, abutments, soakers etc in lead. Include for timber formers as required. Supply and fit new roof light glazing to match existing Fascia’s, soffits and guttering to be removed and replaced as required. All replacements to match existing. Roof 5 - approx. 40 m2 Strip existing flat roof back to deck and repair as required Supply and fit new Bauder warm roof system complete Renew fascia and gutters to match existing as required Roof 6 - approx. 7 m2 Strip existing Welsh slate and dispose of site unusable material. Retain and reuse slates which are of suitable condition. Supply and fit new Penrhyn Blue welsh slate allow for a 50/50 supply and fit Supply and fit new treated slate baton 38mm x 25mm Insulation – Supply and fit 75mm TLX Gold Ltd insulation with integrated breathable membrane ensuring unventilated air layer below is maintained. Please refer to manufacture literature/details Supply and install a dry/mortar or lead ridge and hip system to match existing Re flash roof verge, flashings, box gutter, abutments, soakers etc in lead. Include for timber formers as required. Fascia’s, soffits and guttering to be removed and replaced as required. All replacements to match existing. Roof 7 - approx. 220 m2 Strip existing flat roof back to deck and repair as required Supply and fit new Bauder warm roof system complete Renew existing roof lights with Bauder dome lights Renew fascia and gutters to match existing as required Roof 8 - approx. 415 m2 Strip existing Welsh slate and dispose of site unusable material. Retain and reuse slates which are of suitable condition. Supply and fit new Penrhyn Blue welsh slate allow for a 50/50 supply and fit Supply and fit new treated slate baton 38mm x 25mm Insulation – Supply and fit 75mm TLX Gold Ltd insulation with integrated breathable membrane ensuring unventilated air layer below is maintained. Please refer to manufacture literature/details Supply and install a dry/mortar or lead ridge and hip system to match existing Re flash roof verge, flashings, box gutter, abutments, soakers etc in lead. Include for timber formers as required. Fascia’s, soffits and guttering to be removed and replaced as required. All replacements to match existing. All Vent turrets to be redecorated

Electrical Works Electrical Disconnection / Reconnection / Service and Commissioning - Fire Alarm Box removal and reinstatement - Disconnection of existing roof light electrics / Reinstatement of new roof light electrics

Mechanical Works N/A

Specification Design Specification for attached welsh slate doc General guidance on design is given here based on the recommendations of BS 5534. For further detail, please refer to a full version of BS 5534 Code of Practice for Slating and Tiling.

Provisional Sums

TOTAL COST:

# Text boxes

Warrington Museum

Bold St,

Warrington

WA1 1DR

Warrington Museum and Library Roof refurbishment

TBC

TBC

TBC

TBC