‘Safe2Torch’ advice:

The application of torch-on materials to or in the vicinity of combustible deck materials does not conform to the recommendations of BS8217:2005, clause 7.3.2.1, paragraph 3, or the advice given in the ‘Safe2Torch’ document produced by the National Federation of Roofing Contractors. When encountering an area which contains combustible material a minimum 900mm deep zone of the flat area around the material and any detail flashing to the material itself there is a requirement for 'Torch-Free' detailing. In these instances an appropriate alternative Bauder self-adhesive membrane should be used as described in: 'TORCH-FREE' & 'SAFE TO TORCH' ZONES - ALTERNATIVE MEMBRANES AND APPLICATION. The ‘Torch-Free’ & ‘Safe to Torch’ zone detailing and method of application will be described in the Additional Items section and the 'Torch-Free' & 'Safe to Torch' zones section of this specification and further detailed in the Bauder 'Torch-Free' & Bauder Bituminous detail drawings.

For ‘TORCH-FREE‘ locations refer to the ‘TORCH-FREE ZONES REPORT‘ attached.

SYSTEM CONSTRUCTION

Waterproofing System: Bauder Total Roof System – Warm roof construction

Substrate: Felt Overlay

Roof Fall: 2°

It is imperative that should this information change for whatever reason, then Bauder should be contacted so that the specification can be amended accordingly.

FELT OVERLAY

Carefully remove all chippings, debris, etc.  Star cut and fully bond down all loose areas of the upper layer of felt.  All the existing waterproofing must be removed from upstands, edge details, outlets, etc. and the exposed areas prepared to receive the new waterproofing.  Cut and seal all loose areas of the remaining felt system i.e. blisters etc.

Where it has not been possible to ascertain whether there is existing insulation; should it be discovered that existing insulation is found within the ceiling void space, there may be a requirement for this to be removed to prevent interstitial condensation forming.  Please contact Bauder in order that the build-up and proposals are assessed before works commence/continue.

PRIMER

Bauder Primer-Activator (Canister), APR01-Black.  All areas receiving the new self-adhesive membranes to be thoroughly primed with Bauder Primer-Activator (Canister), APR01-Black.

Purpose: substrate primer to seal and prepare dry surfaces of a variety of common substrate material prior to the application of Bauder self-adhesive bitumen membranes.

Before application: All surfaces must be dry, clean and free from dust, dirt, oil, grease and loose material.

Application method: Spray Applied to provide even and full coverage.  Avoid pooling. Never attempt torching within 10 min of primer application, even if the surface appears dry.

Application rate:

- 300mm wide spray

- Coverage: Approx. 96 g/m²

- Two coats may be required for very porous substrates.

Application temperature: +5 - +30°C

Drying time: Approx.5 - 10 mins, dependent upon ambient temperature and material porosity.

Coats: Fully bond. Allow volatiles to dry off thoroughly between coats.

Re-application: Necessary after 4 hours exposure if waterproofing has not yet been applied, to maintain adhesion performance.

Caution: Use only outdoors in well ventilated areas or with respiratory apparatus and keep away from all sources of ignition. Take necessary precautions to avoid the solvent vapour from entering the buildings ventilation system.

# AIR AND VAPOUR CONTROL LAYER

BauderTEC KSD Mica, 2.5mm thick, aluminium lined, self-adhesive elastomeric bitumen air and vapour control layer, cold applied by removing the peel off release film. Side laps to be 100mm and head laps to be 100mm and staggered and sealed by hot air welding/torching and rolling (depending on ‘Torch-Free’ & ‘Safe to Torch’ zoning), to extrude a continuous bead of bitumen.  Care should be taken to ensure adhesion when the temperature is below +5ºC. At all abutments and details the bitumen bead must be extruded from the lap joints to ensure a seal.

For ‘Torch-Free’ zones the air and vapour control layer must be dressed up all upstands and to the full extent of the detail.  This is to ensure that the detail is fully encapsulated to reduce the risk of fire to exposed combustible materials. The contractor is also to form all details in such a way that a fully bonded 100mm lap is obtained between the air and vapour control layer and the underlayer – Please see Bauder ‘Torch-Free’ detail drawings.

# FA-TE INSULATION

Product: BauderPIR FA-TE

Description: aluminium faced, rigid urethane flatboard insulation.

Thickness: 120mm thick (to achieve 0.18 W/m²K ‘U’ Value)*.

Performance: Zero ODP, and a Green guide rating of ‘A’.

Application: Bonded to the upper surface of the air and vapour control layer using suitable Bauder Polyurethane Insulation Adhesive.  (Product selection assistance available from Bauder – It is not recommended to use Bauder PU Insulation Adhesive – Tin, for adhering two foil surfaces together).  The adhesive should be applied in strips following the direction of the board length giving 2 no. (increase to 3 no. at roof perimeter)** continuous and equally spaced adhesive beads within each 600 mm board width.  It is essential that the surface of the air and vapour control layer is clean, dry and free from dust etc., before applying the adhesive.  The boards are to be close butted and staggered.

Adhesive bead widths are stated on appropriate product label and datasheet.

Important Note: Foil to foil installation (e.g. FA-TE to FA-TE) must not be carried out using Bauder insulation adhesive from the 6.5 Kg tin.

*’U’ value available on request

**BS EN 1991-1-4 uses the following guidance to calculate perimeter zones. Buildings up to and including 10m in height have a perimeter zone of not less than 2m. Buildings over 10m, uses the calculation of 2 x the building height ÷ 10. These are general guidance rules and do not take into account all of the information used in a full wind uplift calculation, they are therefore superseded by a project specific calculation.

Note:-

The inclusion of flat board insulation will not improve upon the existing fall present within the roof area. If ponding water is considered undesirable, then consideration should be given to improving the fall. In the event of any queries Bauder Limited should be contacted.

UNDERLAYER

BauderTEC KSA DUO, 3mm thick, 200g/m² glass grille reinforced, self-adhesive elastomeric bitumen underlayer, fully bonded by removing the peel off release film. The side laps are to be 100mm and must be laid red over blue, and heat sealed/torched (depending on ‘Torch-Free’ & ‘Safe to Torch’ zones) and rolling with the Bauder Long Handled Lap Roller to extrude a continuous bead of bitumen.  Head laps to be 100mm and staggered, side laps to be 80mm and heat sealed/torched (depending on ‘Torch-Free’ & ‘Safe to Torch’ zones) to extrude a continuous bead of bitumen.  The underlayer must be taken up all upstands, edge details, in accordance with current British Codes of Practice, and fully heat sealed/torched (depending on ‘Torch-Free’ & ‘Safe to Torch’ zones) with the air and vapour control layer by a minimum 100mm.

CAPPING SHEET

Bauder K5K, 5mm thick, 250g/m² polyester reinforced, elastomeric bitumen capping sheet, charcoal grey slate finish, fully bonded to the underlayer by torching in the approved Bauder manner.  Head laps to be 100mm, side laps to be 80mm, torch sealed to provide a continuous bitumen bead extrusion.  A continuous bead of bitumen must extrude from all laps.

UPSTANDS AND DETAILING

Detail work to be carried out in Bauder K5K in accordance with current British Codes of Practice.  Side laps to be 80mm, head laps to be 100mm.  A continuous bead of bitumen must extrude from all laps.

The minimum recommended height for constructing waterproofing details is 150mm from the top of the waterproofing.  Special attention should be paid to all structures, such as rooflights, counter-flashings, window and door cills, etc.  These may have to be raised to enable a 150mm high waterproofing detail to be formed. Bauder cannot take responsibility for water ingress over waterproofing details insufficiently high.

Separate flashings must always be formed.  The capping sheet taken up a detail in one piece will not be permitted.

Level Thresholds: Acceptable, providing conforms to BS6229:2018 and current NHBC Standards, chapter, 7.1.

Requirements:

- Minimum 75mm upstand height.  (This must be taken from the waterproofing or top 	of the insulation if an inverted roof).

- Falls are directed away from the door cill.

- Waterproofing is dressed up and under the door cill.

- Door cill has a minimum 45mm overhang.

- Provision is made for emergency overflow to prevent water getting to the 	waterproofing and cill interface.

Any level threshold details not meeting this standard cannot be guaranteed by Bauder.

Note: Bauder recommends the installation of a linear drain (Bauder KH-60 linear drain is suitable for this purpose) in front of the access door threshold, to help prevent rainwater splash back and snow build-up.

ADDITIONAL FIXING OF BITUMEN MEMBRANES TO UPSTANDS

Torch Applied Capping Sheets: Upstand details in excess of 250 mm in height; the top leading edge of the capping sheet will need to be mechanically fixed using 5 no. fixings per sheet at 200mm centres, using screw fasteners as stated below.  Screw fix through into the underlying substrate, (for cold roofs, ensuring that the pressure plates lie flush within membrane surface), utilising a separate flashing of capping sheet to cover the lap and fixings.  In the event of doubt, Bauder should be consulted regarding any specific requirement.

Up to and including 250mm, it is permissible to use a Bauder Termination Bar to mechanically fix the top leading edge.  Please note: Termination bars are not suitable for brickwork substrates.

- Underlayers: Upstand details in excess of 500mm, provision should be made to mechanically fix through the underlayer using 5 no. fixings per sheet width at 200mm centres, using screw fasteners as stated below.  The underlayer will also need to be fixed every 500mm thereafter.

For insulated upstands, please use appropriate tube fasteners to prevent cold bridging from occurring.

Self-Adhesive Capping Sheets: The capping sheet will need to be mechanically fixed at 500mm in height and every 500mm thereafter using 5 no. fixings per sheet at 200mm centres, using screw fasteners as stated below.  Screw fix through into the underlying substrate, (for cold roofs, ensuring that the pressure plates lie flush within membrane surface), utilising a separate flashing of capping sheet to cover the lap and fixings.

Up to and including 250mm, it is permissible to use a Bauder Termination Bar to mechanically fix the top leading edge.  Please note: Termination bars are not suitable for brickwork substrates.

Note: It is not necessary to mechanically fix the underlayer when using Self-Adhesive Capping Sheets.

MECHANICAL FASTENER SUPPLIER

SFS Group Fastening Technology Ltd. 153 Kirkstall Road, Leeds, West Yorkshire. LS4 2AT

Tel: +44 (0)113 208 5500, Fax: +44 (0)113 208 5539, Email: uk.leeds@sfsintec.biz

Web: www.sfsintec.biz/uk

Mechanical Fasteners (Cold Roof Upstands):

Type: IWF-5.2x35 screws together with associated IFC/IW–82x40 galvanised pressed steel washer plates.

Mechanical Fasteners (Warm Roof Upstands):

Type: Respective tube washers to be used for both membrane and insulation.

Product reference: Tube fastener - Tube size and fastener type for both membrane and insulation as recommended by supplier specifically for project and installed in accordance to their fixing plan. Please note that insulation tubes (round) differ from membrane tubes (rectangular 80 x 40 mm).

‘TORCH-FREE’ & ‘SAFE TO TORCH’ ZONES - ALTERNATIVE MEMBRANES AND APPLICATION

- For detailing application in locations constructed from or within the ‘Torch-Free’ & ‘Safe to Torch’ zones to potentially combustible materials or otherwise where it is considered appropriate by the contractor necessary to minimise the potential risk.

- Primer: Bauder Primer-Activator (Canister), APR01-Black must be used when using Bauder self-adhesive membranes and a ‘Torch-Free’ application is required.

- Underlayers: it is permissible to use a Bauder self-adhesive membrane so long as this product is a recognised component of the system specified.

- Acceptable alternatives underlayers are listed below: -

  - Bauder G4E to be replaced with Bauder KSA Duo

- Capping sheets: Where appropriate, the installing contractor can use Bauder KSO-P SN / KSO SN self-adhesive capping sheet, applied using the hot air hand tools approved for use with bituminous systems.  Please note that Bauder Primer-Activator (Canister), APR01-Black must be applied to the underlayer prior to installation of the self-adhesive capping sheet.

Bauder KSO-P SN is only available in one colour – Charcoal Grey.

Bauder KSO SN is available in two colours – Natural Slate or Brown.

Self-adhered membranes - Mechanically fix the top leading edge of all upstand details at 300mm centres using appropriate fasteners, and suitable termination bar if required.

Approved Hot Air Equipment

- The Bauder KSO-P SN / KSO SN membrane must be applied using the approved hot air hand tools.  The list of permissible hot air electrical equipment suppliers for installing Bauder waterproofing membranes are stated below. These are available either for purchase or hire from the below companies:

HOT AIR WELDING EQUIPMENT

LEISTER

Contact: Welwyn Tool Group, Tel 01707 331 111, http://www.welwyntoolgroup.co.uk

SIEVERT

Contact: Lister Gas Pro, Tel 0800 801 046, ch300@lister.co.uk

NON-COMBUSTIBLE SURFACES - ALTERNATIVE DETAILING MEMBRANES

- For detailing to un-insulated abutment upstands, where the waterproofing is to be applied to rough or uneven non-combustible surfaces i.e. brickwork or concrete, it is permissible for the installing contractor to use the Bauder underlayer appropriate to the specified system where this product is considered to be better for application to these surfaces. For all other situations, and particularly to vertical insulation, the Bauder Self-Adhesive Underlayer appropriate to the specified system must be used.

TECHNICAL NOTES

- 50mm x 50mm BauderPIR angle fillets must be used at all right-angled upstands.  Angle fillets will need to be installed using Bauder insulation adhesive, or a suitable bitumen adhesive.  Under no circumstances must fillets of an alternative material be incorporated (i.e. timber, cork, fibre, etc.) as this would invalidate the guarantee.

- Against all insulation boards where the edge of the board is susceptible to mechanical damage, provision is to be made to supply and fix a timber protection batten 10mm thinner than the insulation.  This to be suitably mechanically fixed to the roof deck.  On internal details such as internal gutters/outlets it is permissible to use a metal hard edge angle.

- When the ambient temperature is below 5°C, care should be taken to ensure proper adhesion of the self-adhesive membranes.

- Any peculiarities or details discovered, which might affect the performance of the Bauder system, should be reported immediately to the specifier and Bauder Limited in order that they may assist in overcoming the problem.

- At the end of each working day, the new waterproofing should be terminated with a secure and waterproof temporary seal, which will be left in situ, utilising Bauder self-adhesive underlayer material (e.g. BauderTEC Sprint DUO) to create the seal. The Bauder self-adhesive underlayer should be extended onto the flat AVCL by a minimum of 200mm from the exposed edge of the insulation and heat activate to ensure a satisfactory seal.

To ensure that no moisture contamination of the system can occur between each working period, it is essential that the night seal is properly and securely bonded.

No mopping or loose covers will be permitted.

- Where building works are to be carried out by other trades, following completion of the waterproofing, the contractor must make adequate provision for supplying protection to prevent damage to the new membranes. The final inspection will not be carried out by the Bauder Site Technician until all associated trades are complete and the roof areas are clear from all debris and protection layers.

- All mechanical and electrical work to plant and equipment should be carried out by competent mechanical and electrical qualified tradesmen.  All plant is to be reinstated and recommissioned on completion of the roofing works in accordance with the client's detailed specification.

- If any items of plant/equipment are to be situated on the finished roof, a sacrificial layer of Bauder capping sheet is to be loose laid beneath.  This is to extend a minimum 25mm past the point of contact all round.  In the case of heavy items it may be necessary to introduce a load spreading slab, please contact Bauder for further advice.

DRAINAGE CHUTES

[1]	All chute liners must be examined for damage and proper fixing.  Any faults must be rectified.

[2]	The contractor must ensure that the waterproofing is firmly sealed to the chute liner.

[3]	The contractor must ensure that all chutes are unobstructed and hopper heads free from blockages during and at the completion of the contract.

[4]	The contractor is to provide suitable wire baskets to hopper heads on completion of the contract.

[5]	A sump must be created around all chutes by installing a minimum 30mm thick section of insulation board.

ADDITIONAL ITEMS

Provision should be made by the contractor to:-

- New Chase & suitable flashing to Brickwork Upstand (A01)

Cut new chases into brickwork upstands.  The chase is to be a minimum of 25mm deep and 150mm above the finished surface level.  Install suitable counter-flashing, this is to be base clipped and suitably plugged at 300mm centres. Lengths should not exceed 1.5 linear metres and laps should be not less than 150mm. All chases should be brushed clean and sealed using Bauder sealant primer prior to the application of Bauder sealant. All work should be carried out by competent tradesmen in accordance with current British Codes of Practice.

- Infill Recess at Abutment Upstand (A14)

Infill the recess at the abutment upstand using a combination of timber and plywood to provide a flush fitting vertical upstand suitably prepared to receive the new waterproofing.

- Dress Waterproofing up Behind Pitched Slates/Tiles (A15)

Remove sufficient courses of slates/tiles and thoroughly inspect the area around the upstand and clear out any combustible material that may have accumulated there. Install the new waterproofing to be dressed up a minimum distance of 200mm (and a minimum vertical height of 150mm from the finished surface level) behind the slates/tiles. Care should be taken on the replacement of the slates/tiles. Any existing under slating must be lifted clear and secured. Tile battens should be temporarily removed for this purpose. Self-adhesive membranes must be used in this area to avoid the risk of fire. Should the existing support to the slope be insufficient, provide or extend the lay board as necessary. Reinstate battens (taking care that any rotten or defective timbers are replaced) and tiles ensuring that the under slating felt laps over the new waterproofing and that any damaged or degraded under slating is renewed.  Any broken, missing or damaged tiles/slates must be replaced.

- Raise Perimeter Kerbs (B07)

Raise all perimeter kerbs so as to provide a height of at least 50mm above the finished surface level. Method of raising the kerb to be confirmed in the client’s detailed specification. On external faces, allowance must be made for new fascia’s or cladding due to the increased depth of kerb. The first layer of membrane must be self-adhesive and dressed to the full extent of the detail using Torch-Free methods. This is to ensure that the detail is fully encapsulated to reduce the risk of fire to exposed combustible materials.

- Discard Cappings Apply New Trim (D03)

Remove all existing metal capping’s and discard.  Prepare the parapet wall by mechanically fixing 19mm exterior grade plywood to the horizontal surface.

Bituminous Membranes:

-	The first layer of membrane must be self-adhesive and dressed to the full 	extent of the detail using Torch-Free methods. This is to ensure that the detail 	is fully encapsulated to reduce the risk of fire to exposed combustible 	materials.

-	Dress the underlayer up and over the perimeter detail to provide a 25mm 	overhang.

Please refer to Bauder standard detail drawings.

Trim:

-	Setting out: 3 mm (minimum) clear from walls, fascia and abutting lengths 	of trim.

-	Fasteners: Screw fasteners of type appropriate to kerb or deck substrate. 	Nail fixing is not permitted.

-	Fixing: 30mm from ends and at 300mm (maximum) centres, stagger fixed.

- 150mm deep trims – 3no. additional fixings per length of trim.  The fixings are to be face fixed with screws and positioned 75mm down from the top edge, one fixing 100mm in from each end and one in the centre and capped with coloured matched plastic weathering caps.

-	Jointing sleeves / bridging piece: All lengths should be close butt jointed 	using an internal jointing sleeve.  This must be provided to each joint.

-	Corner pieces: Purpose made.

Completion:

-	Contact surfaces: Prime with Bauder Primer-Activator (Canister), 	APR01-Black.

-	Joints: Cover with 200mm long pads of bitumen membrane, bonded to 	trim.

Completion of bitumen membrane:

-	Top layer/ Capping sheet: Butt joint to rear edge of trim.

-	Cover strip: Fully bond to trim and top layer/ capping sheet of bitumen 	membrane. Carry over roof edge upstand and lap 100 mm onto roof. The 	capping sheet is to be dressed tightly into the top lip of the trim, ensuring 	a bead of bitumen extrudes at the edge.

Wall / kerb joints: The new trim must cover any open joint that may exist at the top of the kerb or wall, by a minimum distance of 20mm.

- Temporarily Remove Cladding (G01)

Temporarily remove the existing cladding so as to allow the waterproofing to be dressed up the upstand to a minimum height of 150mm. Thoroughly inspect the area around the upstand and clear out any combustible material that may have accumulated there.  Flammable sarking materials should be carefully lifted clear and secured. Damaged sarking membrane should be replaced/repaired. Self-adhesive membranes that can be installed using Torch-Free methods to avoid the risk of fire must be used in this area. All cladding is to be inspected for damage or degradation and repaired/renewed where necessary and is to be securely replaced on completion. It should be noted that provision may have to be made for the cladding to be modified.

- Splash Pads (H09)

Supply and fix a 300mm x 300mm piece of Bauder capping sheet beneath all rainwater downpipes and overflows.  This to be fully bonded to the previous capping sheet layer using Torch-Free methods to avoid the risk of fire.

- New Lead Liner to Chute Outlets Through Perimeter Detail (J11)

Supply new Code 4 lead chute liners to all drainage chutes.  All chute liners are to be site fabricated to suit the individual details with all joints being lead burned. The chute liner should be manufactured to provide a minimum of 100 mm bonding area for the cap sheet waterproofing to lap onto the lead.  The flange of the lead sleeve must be positioned between the underlayer and capping sheet to ensure best security.  On completion, the lead liner must be turned down and dressed into the hopper head and the ears returned back and chased into the outer wall.

- Modify Downpipes (J17)

Modify the existing downpipes where required, to accommodate the new surface levels imposed by the new system, ensuring that appropriate angled shoes are fitted to the bottom of each pipe with sufficient clearance from the completed system.

- Gutter Sole Piece (J18)

Supply and fix a layer of Bauder capping sheet so as to run lengthways along the gutter detail forming a continuous sole piece.  All adjacent waterproofing is to be dressed down onto the sole piece to avoid water checks.

- Construct Flatboard Insulated Gutters Between Outlets (J22)

Construct a gutter detail within the insulation between the rainwater outlets.

-        	The minimum gutter width as recommended in the current codes of 	practice BS 8217:2005 is 500mm, however Bauder recommends a 	width of 600mm to utilise the insulation boards efficiently.

-        	At the lowest point install a minimum thickness of insulation to 	achieve a 	maximum U-Value of 0.35 W/m²K.

-        	The gutter bed should be designed to 1:40 to achieve minimum 	finished falls of 1:80 to comply with drainage requirements of BS 	6229:2018 and current codes of practice BS 8217:2005, this may be 	achieved by utilising existing falls created within the deck or tapered 	insulation.

Note: Constructing gutters that do not have a finished minimum fall of 1:80 do not follow guidance in BS6229:2018.

#### Temporarily Disconnect And Re-Route Cables Using Felt Straps (P05)

Temporarily remove all service cables so as to facilitate the installation of the new 	waterproofing system.  Consultation should be undertaken with the client to 	determine the best way in which this can be approached.  The cables are to be 	replaced on completion and re-routed as necessary. They should be fixed using 	150mm x 75mm pieces of Bauder capping sheet fixed at 1m centres using 	suitable heating methods.

- A suitable new flashing detail will need to be formed beneath the existing structural glazing.

- A new weathering cravat is to be installed to the pipe penetraions.

- Two gutters will need to be formed from the lead gutters to the chutes within the insulation.

WORKMANSHIP

[1]	The Bauder System must only be laid by properly certified operatives, who have been trained by Bauder Limited or approved by Bauder Limited and hold the certificate of approval.

[2]	The Bauder System must be laid with the use of roll bars, and Long Handled Lap Rollers as provided by Bauder Limited.

[3]	Workmanship that is incorrect and not to Codes of Practice BS 8217:2005, will  not be permitted, even if the system is watertight. The client will be told that all  such faults must be remedied, before the Guarantee is issued.

[4]	Any building work which is the responsibility of the roofing contractor and has a bearing on the life of the Bauder Total Roof System must be carried out by  properly trained tradesmen.

[5]	Consideration must be given by the contractor at all times to the aesthetic  appearance of the roof, ie. alternate head laps to be in line and no unnecessary short pieces of capping sheet are to be used.

HEALTH & SAFETY INFORMATION – ROOFING WORK

[1]	Follow the advice shown in the “Safe2Torch Checklist” produced by the National Federation of Roofing Contractors.

[2]	Suitable precautions must be taken to prevent accidents occurring when roofing

systems are being installed.

[3]	The contractor must ensure that adequate measures are taken to effectively

prevent injury to members of the public, contractors and any other persons who

may be affected by the works including the public

[4]	Where microwave equipment is installed at roof level, care must be taken to

prevent persons working on the roof from being exposed to large doses of microwave radiation.

[5]	Similarly, the contractor should liaise with the client to ensure that there are no

extract outlets situated on the roof where noxious or harmful emissions could affect persons working. Suitable precautions will be necessary to prevent exposure where this situation arises.

[6]	The contractor is responsible for providing adequate fire fighting equipment in the form of extinguishers during work on the roof. These should be kept in easily accessible locations and be suitably signed.

[7]	Whenever possible, access to the roof should be made via internal staircases

rather than by temporary means. Where this is not available, it is the responsibility of the contractor to ensure a safe means of access, egress and a safe workplace.

As far as roofs are concerned, edge protection in the form of scaffolding or a fixed structure should be in place to a height of 1.1 metres in accordance with the Workplace (Health, Safety and Welfare) Regulations 1992.

Failing this, the hierarchy of controls should be applied from the Work at Height Regulations 2005. Means of access should be by fixed ladder, passenger hoist or scaffolding.

[8]	The contractor must ensure that suitable written method statements and risk

assessments are available for the work being undertaken. ln particular, it is essential that manual handling methods be fully assessed as roofing materials are heavy and can cause serious injury.

[9]	The contractor must ensure that suitable information about the roof covering is

provided to the Client at the end of the work to ensure that work in future can be carried out safely. This information will form part of the Safety File.

[10]	All persons working on the roof should be provided with, and wear, suitable

personal protective equipment and wet weather gear. Training must be provided to all contract staff on the safe use of the equipment.

[11]	The installer must observe Product Safety Datasheets, relevant to the materials

being used as well as completing and complying with COSHH risk assessments

[12]	We draw your attention to your duties under the Construction (Design and Management) Regulations 2015.  Regulation 4, Client’s duties in relation to managing projects states that the client must make suitable arrangements for managing a project, including the allocation of sufficient time and other resources.  Regulation 5, Appointment of the Principal Designer and the Principal Contractor states that where more than one contractor will be working on a project at any time, the client must appoint a Principal Designer and a Principal Contractor.

Please note that although Bauder will assist with the roof waterproofing system design, we will not undertake the role of Principal Designer.

[13]	It is always the responsibility of the contractor to carry out a risk assessment on all aspects of the contract. The ‘Safe2Torch’ checklist is solely for guidance for the safe installation of torch-on reinforced bitumen membranes and use of gas torches in the workplace.

[14]	No work must be carried out on fragile roofs or where there are skylights unless

suitable precautions have been taken to prevent persons falling through fragile roofs and openings. In particular, the following are likely to be fragile:

- Non reinforced fibre cement sheets e.g. asbestos

- Corroded metal decking

- Woodwool slabs

- Rotten chipboard or similar

- Stramit

- Slates or tiles

- Old roof lights

- Glass (including wired)

Specifying non fragile rooflights will help reduce the risk of falls from height. A non-fragility rating is required by the HSE (Health and Safety Executive) in order to comply with CDM (Construction Design and Management) Regulations 2015.

[15]	HSE guidance must be followed when carrying out any work involving interference with asbestos.

IMPORTANT NOTE:

On sites where asbestos has or has possibly been detected, it is to be treated in accordance with the Control of Asbestos Regulations 2012.

Bauder specification documentation is subject to any revisions necessary pending the findings from the above.

GUARANTEE

A 20 year system product, workmanship and design (including consequential loss) guarantee is to be provided upon completion following a Final Inspection by Bauder. Details regarding the full terms and conditions are available separately from Bauder Ltd upon request. This system must be installed by a Bauder Approved Contractor, to be eligible for guarantee.  The system comprises the waterproofing membranes, insulation, air and vapour control layer, and attachment of these products.

IMPORTANT NOTE

It is imperative that  the contractor conforms with the workmanship criteria as listed above. Any deviation from this will result in the contract being considered unguaranteeable by our insurers.

CONTACT INFORMATION

For further information contact Bauder Limited.

Head office:	T:  01473 257671       E:  technical@bauder.co.uk

Area Technical Manager:	Chris Rea – T: 07825 795280

Site Technician: Anthony Symondson – T: 07741 311273

Bauder reserves the right to amend information and product specifications without prior notice. All reasonable care has been taken to ensure that the information is current and correct at the time of issue.  Please note that any future regulation changes could result in this specification requiring an update.  In the case of a previous roof survey a new survey will be necessary to establish if the condition has further deteriorated. The specifier is responsible for ensuring that this specification information is still current prior to issue, as Bauder Ltd can accept no liability for any resulting errors or omissions.