Contents to include:

1.	Brief Description

A brief description of the scheme to include:

-	A Project Team & manager responsible

-	An overview of the output from the Design team

-	Architect overview

-	Structural engineer overview

-	Surveyor overview

-	List of who’s who

-	Any other details felt necessary

2.	Residual Hazards

Details of any residual hazards which remain and how they have been dealt with (for example surveys or other information concerning asbestos; contaminated land ; water bearing strata; buried services etc.)  To also include details of any known flood risk for the site.

3.	Key Structural Principles

Details of key structural principle (for example, bracing, sources and substantial stored energy – including pre-or post-tensioned members)and safe working loads for floors and roofs, particularly  where these may preclude  placing scaffolding or heavy  machinery there.

4.	Hazardous Materials

Details of any hazardous materials used(for example, lead paints, pesticides, special coatings which should not be burnet off, etc.)

5.	Plant/Equipment

Information necessary regarding  the removal and dismantling of installed plant and equipment (for example, any special arrangements for lifting, order or other special instructions for dismantling, etc.)

6.	Provided maintenance & cleaning equipment – key information

Health & safety information about equipment provided for cleaning and maintaining for structure.

7.	Services

Details of the nature, location, and markings of significant services including underground cables, gas supply equipment, fire fighting services, etc.

8.	As-built Drawings

Information and as-built drawings of the structure, its plant and equipment (for example, the means of safe access to and form service voids, fire doors and compartmentalisation, etc.)