**Section Six**

**PERFORMANCE DATA**

The tenderer is to complete the following information to evaluate Lift Performance, Handling Capacity and Ride Comfort.

|  |  |  |  |
| --- | --- | --- | --- |
| **Detail** | |  | |
|  | Full door opening time. |  | Secs |
|  | Full door closing time. |  | Secs |
|  | Door dwell time. |  | Secs |
|  | Is advanced door opening included? | Yes / No | |
|  | Acceleration from zero to full speed. |  | Secs |
|  | Deceleration from full speed to zero. |  | Secs |
|  | Floor to floor flight times [door open to door open] for: |  |  |
|  | [i] Single floor run |  | Secs |
|  | [ii] Two floor run |  | Secs |
|  | iii] Three floor run |  | Secs |
|  | Jerk rate initial setting. |  | Secs |
|  | Adjustment in jerk rate. |  | Secs |
|  | Vibration |  | Secs |
|  | Noise Levels |  | Secs |