| Site Name: Parmiters Sports Ground Site Address: Nelson Rd, London E4 9AS |  |  |  | Price (Ex VAT) |
| --- | --- | --- | --- | --- |
| Ladies Toilet | X1 Sink, X1 Toilet Basin, X1 Shower |  | Decorate throughout, refurbishment of flooring, new toilet, sink & shower & upgrade lighting, |  |
| Kitchen | X1 Sink, 3 Taps |  | Decorate throughout, new or refurbishment of floor, new sink, cupboards and worktop with serving hatch, upgrade of lighting. |  |
| Officials Changing | X1 Sink, X1 Toilet Basin, X1 Shower Dimension – 2.4m x 3m |  | Decorate throughout, new/refurbishment flooring new shower, sink & toilet, upgrade lighting. |  |
| Changing Room 1 | 12 Shower & Changing Area Dimensions Changing Area – 4.2m x 3.6m Dimensions Shower Area – 3m x 4.2m Changing area & Showers split over two level |  | Decorate throughout, new showers, refurbishment of flooring, upgrade lighting, replace showers, drainage gulley, repaint existing benches. |  |
| Changing Room 2 | Changing Area Dimensions – 6m x 4.41 |  | Decorate throughtout, refurbish flooring, repaint of exisiting benches, upgrade lighting. |  |
| Changing Room 3 | Changing Area & 12 Showers Dimensions – Changing Area 4.2m x 4.4m Dimensions – Shower Area 4.2m x 3m Changing area & Showers split over two level |  | Decorate throughout, new showers, refurbishment of flooring, upgrade lighting, replace showers, drainage gulley, repaint existing benches. |  |
| Toilets | 4 Sinks, 3 Toilet Basins, 1 Urinal Trough Dimension – 3.13m x 5.15m |  | Decorate throughout, upgrade existing lighting, replace sinks, & toilets. Deep clean of urinal trough, replacement of sink gulley. |  |
| Club Room |  |  | Decorate throughout, and paint floor. Upgrade existing lighting. |  |

Additional Notes:

Decoration requires full preparation, undercoat, and topcoat (colour to be agreed with client)

Paint should be to a specification that is hard wearing, maintainable (suitable for wiping or washing down). Materials for intended use should be described in the tender and product sheets provided for review and evaluation.

Method statements should be supplied with the tender including any chemicals or processes used for deep cleaning, and all painting and decoration works.

Site visits can be arranged in advance