# AppendixA

# SCHEME ADDRESS:  LOT 4 – MOSS REMOVAL & DRAIN CLEARANCE

| AREA | TASK | PERFORMANCE STANDARD | FREQUENCY |
| --- | --- | --- | --- |
| Sites as listed | Moss removal. | Spray affected areas with biocide, rinse with water, brush or jet wash. Debris to be cleared from site and disposed appropriately. | Bi-annually |
| Sites as listed | Drain Clearance - Outlet discharge points, surface water collection points. | Clear debris to enable system to discharge content without causing damage to the structure or endangering the health and safety of people in and around the building. | Bi-annually |

Please note the following: -

- The contractor shall provide, run and maintain suitable machinery & tools in accordance with the manufacturer’s instructions and health and safety recommendations for safe use, for cleaning services, at no additional cost.

- The contractor shall provide appropriate cleaning products and consumables.

- The contractor will be required to submit Health and Safety monitoring sheets for each visit which will be submitted with  monthly invoices for works undertaken, each equal to 1/12th of the annual contract value ( + the cost of any additional works approved by the Property Services Team).

- Appropriate protection and signage to be in place whilst works are in progress to ensure the health and safety of staff, contractor’s operatives and the general public where applicable.

- Fuel for machinery should be included in the quotation figure, and the contractor will ensure safe storage and transport of any fuels in accordance with health and safety guidelines.

- All additional work is to be authorised in advance by the Property Services Department and the Estate Management Department, invoiced separately along with the normal monthly charge.

- All chemicals used must be non-hazardous to animals and people and used according to manufacturer’s instructions, COSHH documentation and control measures must be provided prior to any works being undertaken.

- All work is to be carried out in accordance with the Mid Devon District Council Code of Conduct.

# Text boxes

STANDARD SPECIFCATION FOR CLEANING SERVICES